| **GI No.** | **Queue**  **No.** | **Application Received** | **Location** | **Size (MW)** | **Proposed In Service** | **Type** | **Interconnection Service Requested** | **Proposed I/C Location** | **Status** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GIA-7 | FS-1 | 2/23/06 | Atchison County, MO | 400 | 12/31/2012 | Wind | Energy Resource | New 345 kV Switching Substation on the MINT line. | FS Complete. GIA Executed. GIA Terminated 4/2/2012. |
| GIA-18 | FS-2 | 3/19/07 | Clinton & DeKalb County, MO | 201 | 5/15/2010 | Wind | Energy Resource | Lathrop 161 kV Bus. | Withdrawn Request 5/24/2010 |
| GIA-8 | FS-3 | 2/23/06 | Atchison County, MO | 300 | 12/31/2012 | Wind | Energy Resource | Maryville 161 kV Bus. | Withdrawn Request  2/14/2011 |
| GIA-21 | FS-4 | 6/07/07 | Schuyler County, MO | 50 | 9/30/2011 | Wind | Energy Resource | New High Prairie Substation on Queen City to Lancaster 69 kV line. | FS Complete. GIA Executed.  GIA Terminated 7/07/2011 |
| GIA-22 | FS-5 | 10/23/07 | Clinton County, MO | 99 | 12/31/2010 | Wind | Energy Resource | Lathrop 161 kV Bus | GIA Withdrawn. |
| GIA-27 | FS-6 | 11/19/07 | Osage County, OK | 150 | 11/1/2011 | Wind | Energy Resource | New substation on the 138 kV Fairfax to Fairfax Tap point (on the Shidler to Osage 138 kV line). | FS Complete. GIA Executed |
| GIA-29 | FS-7 | 5/13/08 | Osage County, OK | 150 | 12/1/2011 | Wind | Energy Resource | New substation on the Shidler to Osage 138 kV line near the Fairfax Tap. | GIA Withdrawn |
| GIA-36 | FS-8 | 4/17/09 | Nodaway County, MO | 100 | 10/1/2011 | Wind | Energy Resource | Maryville 161 kV Bus | Withdrawn Request  4/21/2011 |
| GIA-37 | FS-9 | 6/17/09 | Clinton & DeKalb County, MO | 201 | 5/15/2010 | Wind | Energy Resource | Osborn 161 kV Bus | GIA Withdrawn. |
| GIA-47 | FS-10 | 1/19/2012 | Osage County, OK | 151 | 12/1/2014 | Wind | Energy Resource | Remington Substation | GIA Withdrawn. |
| GIA-49 | FS-11 | 6/24/2013 | Sullivan County, MO | 77.5 | 6/1/2014 | Wind | Energy Resource | Hickory Creek to Locust Creek 161 kV line | GIA Withdrawn. |
| GIA-50 | FS-12 | 12/18/2014 | Atchison County, MO | 300 | 12/1/2016 | Wind | Energy Resource | Cooper-Fairport 345 kV line | GIA Withdrawn. |
| GIA-51 | FS-13 | 3/20/2015 | Dekalb & Clinton County, MO | 200 | 11/15/2016 | Wind | Energy Resource | Obsorn 161 kV bus | GIA Withdrawn |
| GIA-52 | FS-14 | 11/21/2016 | Osage County, OK | 144 | 12/1/2018 | Wind | Network Resource | Remington Substation | In Study |
| GIA-56 | FS-15 | 12/7/2016 | Sullivan County, MO | 77.5 | 12/1/2019 | Wind | Energy Resource | Humphreys Substation | In Study |
| GIA-57 | FS-16 | 12/19/2016 | Osage County, OK | 200 | 11/30/2018 | Wind | Energy Resource | Burbank Substation | Withdrawn |
| GIA-53 | FS-17 | 12/19/2016 | Nodaway County, MO | 238 | 12/1/2019 | Wind | Network Resource | Maryville Substation | In Study |
| GIA-58 | FS-18 | 12/29/2016 | Kingfisher County, OK | 200 | 10/01/2018 | Wind | Network Resource | Ramsey Substation | Withdrawn |
| GIA-59 | FS-19 | 5/12/2017 | Osage County, OK | 158.6 | 12/1/2018 | Wind | Network Resource | Remington to Shidler 138 kV | In Study |