## Instructions
Instructions for Data Request Spreadsheet
This workbook is set up for a single delivery point and a single Transmission Provider. If you have more than one delivery point or more than one transmission provider, please make copies of the “Peak Data” worksheet as needed. The information for your electricity source(s), is entered on the “Resources” worksheet. If you have more than one resource for any specific delivery point, please make copies of the Resources Data worksheet as necessary.
The peak load data is the load after demand-side management, conservation or other load control devices have been applied. The forecast is what can be expected as your metered peak load.
PEAK DATA
Firm Peak Load data is the maximum firm load served each month. Historical data for 2017 is requested. For future years 2018-2029, Firm Peak Load data is load that is expected to be served at the time of the monthly peak load.
The peak load forecasts should assume the average or expected value forecast for such factors as economic, demographic, and customer trends. The peak load forecast should assume average weather conditions, that is, have a 50% probability of not being exceeded (expected peak load). This load forecast is commonly referred to as the 1-in-2 peak load forecast. You should maintain documentation regarding the assumptions, methodologies, and the manner in which forecast uncertainties are addressed in your forecasts. This information will be helpful in understanding forecast discontinuities and deviations from actual-year peak loads.
If you have any Interruptible Peak Demand, Direct Response, Demand Reduction, Conservation or Demand Side Management programs, please check the box immediately under the Firm Peak Load data entries. The CUS participants will provide you with the applicable data entry spreadsheet for these types of load.
MINIMUM DATA
Firm Minimum Load data is the historical/forecasted minimum firm load served each month. Historical data for 2017 is requested. For future years 2018-2029, Firm Minimum Load data is load that is expected to be served at the time of the monthly minimum load.
RESOURCE DATA
The table lists the 1-year historical and 10-year forecasted monthly generation values on a per plant basis. The table should be copied as necessary for each generating plant. Note that the sum of the source(s) of your generation should equal your load plus reserves you carry.
RESERVATION DATA
The table lists the 1-year historical and 10-year forecasted monthly transfer values on a per path basis. The table should be copied as necessary for each contract path.
SCENARIO SUGGESTIONS
The table lists suggestions for uncertainty scenarios to be considered for evaluation. Please include as much detail as possible. All scenarios will be considered and a final list of selections will be agreed upon by the stakeholders in the 2nd quarter meeting. An example scenario is provided.

## Peak Data
Peak Data (MW) by year and month
Delivery Point: | [6 empty] | Transmission Provider:
Voltage: | [6 empty] | Power Factor or Type of Load: (See Instructions)
Year | Firm Peak Load | Jan | Feb | Mar | Apr | May | June | July | Aug | Sep | Oct | Nov | Dec | Comments
2017 | Monthly Peak | [12 empty] | Historical Data
2018 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2019 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2020 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2021 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2022 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2023 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2024 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2025 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2026 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2027 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2028 | Monthly Peak | [12 empty] | Forecast Monthly Peak
2029 | Monthly Peak | [12 empty] | Forecast Monthly Peak
[5 empty] | YES |  | NO
If you have either Interruptible Peak Demand programs or Direct Control Load Management programs, check the 'Yes' box.

## Minimum Data
Minimum Data (MW) by year and month
Delivery Point: | [6 empty] | Transmission Provider:
Voltage: | [6 empty] | Power Factor or Type of Load: (See Instructions)
Year | Firm Minimum Load | Jan | Feb | Mar | Apr | May | June | July | Aug | Sep | Oct | Nov | Dec | Comments
2017 | Monthly Minimum | [12 empty] | Historical Data
2018 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2019 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2020 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2021 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2022 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2023 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2024 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2025 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2026 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2027 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2028 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum
2029 | Monthly Minimum | [12 empty] | Forecast Monthly Minimum

## Resource Data
Resource Table (MW)
Generating Unit | [6 empty] | Transmission Path (If applicable):
Designated Network Resource (Yes/No)? | [6 empty] | Base load?
Unit Data Supplied to TP (Yes/No)?
Year | Jan | Feb | Mar | Apr | May | June | July | Aug | Sep | Oct | Nov | Dec | Comments
2017 | [12 empty] | Historical Value | Specific Generator
2018 | [12 empty] | Forecast Monthly Value | Import into NWE's Control Area
2019 | [12 empty] | Forecast Monthly Value
2020 | [12 empty] | Forecast Monthly Value
2021 | [12 empty] | Forecast Monthly Value
2022 | [12 empty] | Forecast Monthly Value
2023 | [12 empty] | Forecast Monthly Value
2024 | [12 empty] | Forecast Monthly Value
2025 | [12 empty] | Forecast Monthly Value
2026 | [12 empty] | Forecast Monthly Value
2027 | [12 empty] | Forecast Monthly Value
2028 | [12 empty] | Forecast Monthly Value
2029 | [12 empty] | Forecast Monthly Value

## Reservation Data
Reservation Table
POR: | [6 empty] | POD:
Point-to-Point (PTP) or Network (NET) ?
Year | Jan | Feb | Mar | Apr | May | June | July | Aug | Sep | Oct | Nov | Dec | Comments
2017 | [12 empty] | Historical Value | Specific Generator
2018 | [12 empty] | Forecast Monthly Value | Import into NWE's Control Area
2019 | [12 empty] | Forecast Monthly Value
2020 | [12 empty] | Forecast Monthly Value
2021 | [12 empty] | Forecast Monthly Value
2022 | [12 empty] | Forecast Monthly Value
2023 | [12 empty] | Forecast Monthly Value
2024 | [12 empty] | Forecast Monthly Value
2025 | [12 empty] | Forecast Monthly Value
2026 | [12 empty] | Forecast Monthly Value
2027 | [12 empty] | Forecast Monthly Value
2028 | [12 empty] | Forecast Monthly Value
2029 | [12 empty] | Forecast Monthly Value

## Scenario Suggestions
Uncertainty Scenario Suggestions
Project Type | Project Description | In-Service Date | Scenarios To Be Evaluated | Modeling data included?
Example:
Generation | 50 MW wind farm connected to the Barber Creek 230 kV bus | October 2021 | 2021 Peak and 2021 Off-Peak | Yes