ATTACHMENT K

TRANSMISSION PLANNING PROCESS

# 1.0	Introduction

This Attachment K addresses the rights and obligations of Transmission Customers, Affected Generators, other relevant stakeholders and the Transmission Provider related to Transmission Planning. Specifically, Attachment K addresses: (a) the Mid-Continent Area Power Pool (“MAPP”) regional planning process adopted by the Regional Transmission Committee (“RTC”) Members of MAPP in the RTC Region, as those terms are defined by the MAPP Restated Agreement; and (b) the Transmission Provider’s local planning process for local facilities not covered by the MAPP regional planning process. Attachment K discusses both planning processes.

The MAPP Regional Plan integrates the transmission plans developed by individual MAPP Members through the RTC’s Transmission Planning Subcommittee (“TPSC”) and by subregional planning groups (“SPGs”), in order to meet the transmission needs in the MAPP Region of Members and interested parties on a consistent, reliable, environmentally acceptable and economic basis. Additional detail on the Regional and Subregional Planning Processes are provided in the MAPP Regional Transmission Planning Procedures Manual and the MAPP TPSC SPG Guidelines. The MAPP Regional Plan shall be consistent with applicable standards and requirements established by the MAPP Members Reliability Criteria and Study Procedures Manual and by the North American Electric Reliability Council (“NERC”) and Midwest Reliability Organization (“MRO”) Planning Standards.

Corn Belt Power Cooperative (“Corn Belt” or “CBPC”) fully participates in the MAPP planning process, as discussed in this Attachment K, even though it is not a FERC-jurisdictional public utility.  Corn Belt does not waive its rights as a non-public utility by including this Attachment K as part of its tariff.  Instead, its Attachment K is provided for informational purposes, in the event anyone has any questions as to how Corn Belt plans its transmission system and coordinates with area utilities in its region with regard to transmission planning.

# 2.0	Definitions

2.1	Host Transmission Owner (“Host TO”)

The transmission owner on whose transmission system a proposed Economic Network Upgrade is to be located. The Host TO shall conduct all related project management activities associated with the Economic Network Upgrade. If facility upgrades are required on more than one transmission owner’s transmission system for a given set of transmission facilities comprising an Economic Network Upgrade, the affected Host TOs shall provide a single joint Facilities Agreement to the Subscription Rights buyers.

2.2.	Affected Generator

A generator owner whose existing or proposed generating unit(s) is directly affected by a proposed Economic Network Upgrade as demonstrated in the study analysis performed in conjunction with Section 11, Economic Planning Studies.

2.3	Affected System

The transmission owner’s system, including the Host TO, that is affected by the allocations in an economic benefits study performed by the MAPP RTC in accordance with Section 11 of this Attachment K.

2.4	Affected System Operator

The transmission owner/operator that operates an Affected System.

2.5	Economic Network Upgrade

A project, or set of projects, that is designed to relieve a constrained facility by providing additional transmission capacity, and which has been identified to be: (a) a local economically beneficial project within a single transmission owner’s system; or (b) an economically beneficial project classified as a Regionally Beneficial Project in the MAPP Plan, and defined by an Economic Planning Study authorized by the MAPP RTC in Section 11 of this Attachment K as having project benefits exceeding project costs.

2.6	Physical Transmission Rights

Rights held by a party to a Facilities Agreement to schedule transmission service across a defined portion of a NERC flowgate or other transmission facility and/or to collect revenue credits, if applicable, against transmission service charges. Physical Transmission Rights will exist for the life of the facility if the holder is an owner, or for the term stated in the Facilities Agreement. The facility’s capabilities that are to be allocated as Physical Transmission Rights, shall be consistent with the owner’s or joint-owners’ methodologies for determining facility ratings, system operating limits and, if applicable, TTC and ATC in accordance with NERC standards.

2.7	Renewable Energy Zone

A geographic region recognized by the TPSC that has limited or constrained ability to transport electric energy from generating units that had such units been in production they would have utilized renewable resources for the production of electric energy.

2.8	Subscription Rights

Contractual rights to use the transmission capacity associated with an Economic Network Upgrade defined in a Facilities Agreement with the Host TO in exchange for payments to the Host TO for facility charges and continuing operation and maintenance charges.

2.9	Other Defined Terms

All other terms will have the meanings set forth in the MAPP Restated Agreement, the TPSC procedures, and the SPG guidelines.

# 3.0	MAPP Regional Transmission Planning

3.1	Member Plans

As part of the MAPP regional transmission planning process, each RTC Member that has transmission facilities under MAPP’s Restated Agreement shall prepare and maintain a plan for its transmission facilities (“Member Plan”). Such Member Plans shall conform to applicable reliability standards and requirements, and to applicable methods and assessment practices and other transmission planning standards and requirements established by the RTC. Each Member Plan shall adhere to Local Transmission Planning Standards set forth in Section 13 of this Attachment K. Such plans shall take into account:

(a)	the RTC Member’s current and anticipated requirements for transmission to provide all-requirements and partial requirements service and service to its end-use loads;

(b)	the current and anticipated requirements for transmission to provide network transmission service to those entities for which the RTC Member provides such service;

(c)	the RTC Member’s other contractual and tariff obligations to provide firm transmission service;

(d)	any other contractual obligations of the RTC Member affecting the use of its transmission facilities;

(e)	any requirements for future transmission service of a Member or interested party communicated to the RTC Member under procedures, standards and requirements established by the RTC;

(f)	the coordination of the RTC Member’s transmission plan with the transmission plans of neighboring systems, and in particular any coordination parameters or requirements identified by the relevant subregional working groups used by the RTC; and

(g)	the obligation of the RTC Member under FERC requirements, the MAPP Restated Agreement, and applicable standards and requirements established by the RTC to provide transmission service to other entities on a basis comparable to its own use of its transmission facilities.

3.2	Availability of Plans and Information

The RTC Members’ transmission plans, along with the information on which the plans are based, shall be made available to the RTC on a regular basis as established by the RTC. Each RTC Member shall make its transmission plan available upon request to any other RTC Member, independent Regional Transmission Organization or relevant non-MAPP neighboring transmission owning utilities. Sufficient additional information should be made available to enable the requesting entity to perform planning analyses on the same basis as the RTC Member providing the information. Such information shall be provided in accordance with the MAPP Critical Energy Infrastructure Information (“CEII”) policy and the Commission’s Standards of Conduct regulations.

3.3	Planning Procedures and Requirements

The RTC shall establish procedures and requirements for:

(a)	The communication to an RTC Member by Members and interested parties of their bona fide requirements for transmission service;

(b)	The utilization of SPGs for the coordination of RTC Members’ transmission plans and the resolution of subregional transmission planning issues on an informal, collaborative basis, which working groups shall be open to any interested RTC Member or other interested party, and shall maintain such records as shall be required by the RTC;

(c)	The incorporation of asserted bona fide requirements for transmission service into RTC Member, subregional, and regional transmission plans; and

(d)	The development of integrated transmission plans by the subregional working groups, and the integration of the subregional plans into a transmission plan for the MAPP RTC Region.

3.4	The MAPP Regional Plan

No less often than biennially, the RTC shall develop and approve a coordinated transmission plan, including alternatives, for the ensuing 10 years, or other planning period specified by NERC, for all transmission facilities in the MAPP RTC Region at a capacity of 115 kV or greater. The MAPP Regional Plan shall integrate the transmission plans developed by individual RTC Members and by subregional working groups, for the purpose of enabling the transmission needs in the MAPP RTC Region of Member and interested parties to be met on a consistent, reliable, environmentally acceptable and economic basis.

The MAPP Regional Plan shall avoid unnecessary duplication of facilities or the imposition of unreasonable costs on any RTC Member, shall take into account the legal and contractual rights and obligations of all Members, may provide alternative means for meeting transmission needs in the MAPP RTC Region, and shall differentiate proposed transmission projects from projects for which a definitive commitment of resources has been made e.g., projects under the Subscription Rights process or under a Facilities Agreement.

The MAPP Regional Plan shall be consistent with standards and requirements established by the applicable reliability entity. The RTC shall develop policies and procedures for updating or modifying the Plan between biennial planning cycles as may be appropriate. Any Member, Regulatory Participant, or interested party may attend any meeting of the RTC or any of its subcommittees dealing with the MAPP Regional Plan.

# 4.0	MAPP Regional Planning Process

4.1	MAPP Regional Plan Development Process

The TPSC, the RTC Subcommittee responsible for planning in the MAPP region, shall collect the individual Member Plans of the MAPP Members and integrate these Member Plans utilizing Subregional Planning Groups into four coordinated Subregional Plans. All MAPP Members are obligated to submit their transmission Member Plans to the TPSC under the MAPP Restated Agreement. These Members Plans are to include the needs of all stakeholders in the Member’s service area. The Subregional Plans primarily address local load serving needs and subregional issues, but are not precluded from providing for regional transmission needs.

The TPSC collects these Subregional Plans and integrates them into a single coordinated preliminary MAPP Regional Plan. The TPSC assesses the adequacy and security of the preliminary MAPP Regional Plan to meet the local, subregional, regional and inter-regional reliability and market needs, and where required, identifies and evaluates alternatives and recommends preferred plans to address deficiencies. The final MAPP Regional Plan is submitted to the RTC for approval. The appropriate Transmission Owning Members of MAPP, as that term is defined in the MAPP Restated Agreement, are responsible for designing, constructing and placing into service the various transmission projects comprising the MAPP Regional Plan, after satisfying applicable regulatory requirements.

The TPSC initiates several activities as part of a planning process to produce the MAPP Regional Plan. These activities included collection of planning input data, preparation of study models, the formation of SPGs to collect and coordinate individual Member Plans, collaboration with regulatory agencies, and a procedure to study and evaluate the effectiveness of proposed enhancements in addressing regional and inter-regional problems.

4.2	Process Steps for MAPP Regional Plan Development

The TPSC shall prepare the MAPP Regional Plan as set forth in the MAPP Restated Agreement and this Attachment K and as detailed in the TPSC procedures. The TPSC uses milestone dates as established in the MAPP Regional Transmission Planning Procedures Manual for the following items:

4.2.1	TPSC Data Collection from Members (Annually)

(a)	Ongoing studies of the SPG Member and Working Group.

(b)	Subregional Plan Addendum report submitted to TPSC.

4.2.2	Data Analysis by TPSC (during the MAPP Regional Plan year):

(a)	Analyze history of constrained interface performance.

(b)	Analyze history of transmission loading relief requests.

(c)	Review of reliability assessment studies and reports.

4.2.3	TPSC Model Preparation:

(a)	Select base case models from appropriate MRO Model Series.

(b)	Add Member and SPG plans to models.

(c)	Solicit input from stakeholders including additions or changes to transmission, generation, and demand resources, in developing base-line assumptions and models.

(d)	Validate firm transactions, major new loads, transmission and new generation.

4.2.4	TPSC Study Procedures:

(a)	Evaluate base system with Member/SPG planned additions (local plans).

(b)	Identify and evaluate alternative plans to meet regional and inter-regional reliability and market requirements (assess impacts on local plans).

(c)	Utilize an appropriate combination of technical analysis and engineering judgment to determine preferred solutions when competing solution options proposed to meet system needs are received from a SPG.  Technical analysis may include, but is not limited to, load flow (steady state, contingency and loss analysis), transient stability, voltage stability, small signal stability and economic analysis as deemed necessary by the SPG Members.  Engineering judgment may include such factors as the extent to which proposed alternative solutions meet applicable planning criteria and other regulatory requirements, expected levels of public acceptance and projected environmental impacts.

(d)	Perform cost analysis.

4.2.5	Regulatory Collaboration

(a)	Regulatory participation at SPG and TPSC meetings.

(b)	Regulatory input at preliminary planning stages.

(c)	Process to address “why project needed” and “why it is better than other alternatives considered” through SPG Meeting process.

4.2.6	MAPP Regional Plan Report and Approval

(a)	Submit MAPP Regional Plan Report to the RTC for approval of the MAPP Regional Plan year.

4.3	Updating the MAPP Regional Plan

The TPSC shall update or modify the MAPP Regional Plan between biennial planning cycles in accordance with the procedures below. This update to the MAPP Regional Plan shall be issued to the RTC for approval. The established SPGs shall remain active in the planning process for their respective subregions. Individual utility Member Plans and detailed documentation should be submitted to the SPGs.

In order to accomplish this update process, the SPGs shall:

(a)	review the individual utility Member Plans;

(b)	coordinate the individual utility Member Plans within their subregion;

(c)	evaluate the impacts of the individual Member Plans on their subregion and possibly require additional evaluation or study work;

(d)	identify to the TPSC the proposed solution alternatives included in individual Member Plans or proposed by stakeholders in instances where there is no SPG consensus on a preferred alternative; and

(e)	submit subregional plan modifications to the TPSC each off-year.

The TPSC shall:

(a)	evaluate the subregional plan modifications for their impact on the MAPP Regional Plan;

(b)	provide feedback to the SPGs regarding the regional impacts;

(c)	 Utilize an appropriate combination of technical analysis and engineering judgment to determine preferred solutions when competing solution options proposed to meet system needs are received from an SPG.  Technical analysis may include, but is not limited to, load flow (steady state, contingency and loss analysis), transient stability, voltage stability, small signal stability and economic analysis as deemed necessary by the SPG Members.  Engineering judgment may include such factors as the extent to which proposed alternative solutions meet applicable planning criteria and other regulatory requirements, expected levels of public acceptance and projected environmental impacts, and

(d)	approve or deny all final modifications to the MAPP Regional Plan each off-year.

Modifications to the MAPP Regional Plan may include: (a) commitments to new generation; (b) new transmission facilities; (c) changes in construction schedules; or (d) changes in project scope. All approved MAPP Regional Plan modifications must be included in the MRO Model building process and should be submitted to the MRO Model Building Subcommittee by the responsible transmission owning entity.

4.4	Identification of Transmission Requirements

The following process is used to communicate to the TPSC the transmission requirements identified by the Member and interested parties:

(a)	Interested parties may contact the Member transmission provider in the area where service is required. If it is unclear as to who is the appropriate transmission provider, the interested parties should contact any member of the TPSC.

(b)	The Member is required to take both the Member Plans and interested parties’ plans to the appropriate SPGs. The SPG Guidelines indicate the required format Members are to use to submit the data.

(c)	The SPGs must prepare coordinated subregional plans incorporating the member and interested parties’ needs.

(d)	The SPG plans are forwarded to the TPSC.

(e)	The TPSC develops a coordinated MAPP Regional Plan addressing SPG, regional and inter-regional needs.

(f)	The TPSC forwards the MAPP Regional Plan to the RTC for approval.

The TPSC will establish liaisons with existing neighboring regional planning entities to facilitate addressing inter-regional transmission issues.

# 5.0	The Transmission Planning Subcommittee

5.1	Procedures for Conduct of TPSC Meetings

5.1.1	TPSC Role

The MAPP TPSC, under the direction of the RTC, shall develop the MAPP Regional Plan. The TPSC shall utilize the following procedures in developing the MAPP Regional Plan. Costs incurred related to regional planning activities shall be recovered under the provisions of the MAPP Restated Agreement and related RTC policies.

5.1.2	TPSC Representatives

The TPSC shall be constituted as defined by the MAPP Restated Agreement. In accordance with the MAPP Restated Agreement, such Representatives shall be elected by the RTC, and the RTC sets the size, duties and responsibilities of the TPSC. The TPSC Representatives shall elect the TPSC Chair and Vice-Chair.

5.1.3	TPSC Meeting Notification

The notice of a TPSC meeting shall state the time and place of the meeting and shall include an agenda sufficient to notify an interested party of the substance of the matters considered at the meeting. The TPSC meeting notice and agenda shall be sent at least 10 days prior to the meeting. All meeting notices are communicated electronically through MAPP e-mail distribution lists, and subsequently posted at www.mapp.org. All meeting notices shall be publicly available.

5.1.4 	TPSC Meeting Agenda Development

The TPSC agenda shall include the time and place of its meetings. An interested party shall submit a request to the Chair and the Secretary of the TPSC to have an item considered at the next TPSC meeting at least fifteen (15) days in advance, subject to any limitations set forth in the TPSC procedures manual. The Chair of the TPSC has authority to determine action items for the meeting agenda. All action items shall be shown and communicated clearly so that any interested party can determine what is being acted upon.

The TPSC meeting agenda shall be posted at www.mapp.org and sent via the TPSC e-mail distribution list at least ten (10) days prior to the meeting. The TPSC will make the best effort attempt to communicate all supporting information for the meeting agenda at least ten (10) days prior to the meeting. The supporting information shall be posted on the www.mapp.org after communicating it via the e-mail distribution list, unless the information has been deemed CEII.

5.1.5	TPSC Action

The publication of an agenda of actions to be voted upon by the TPSC shall include the wording of any proposed motion, and a brief discussion, as needed, of the reasons for the motion to be offered and voted. The member of the TPSC or other entity sponsoring the motion shall provide the wording of the motion and the discussion points. A best effort attempt shall be made by those sponsoring items on a TPSC meeting agenda to have background material, and the action to be voted, distributed with the meeting agenda in a timely manner. In general, an action may not be brought to a vote of the TPSC unless it is noticed on a published agenda at least ten (10) days prior to the meeting date upon which action is to be voted. This requirement for a 10-day notice may be waived either by the approval of the TPSC Chair or by 90% affirmative vote of the TPSC's voting members present at a TPSC meeting at which a quorum has been established, subject to any limitations set forth in the TPSC procedures.

5.1.6	TPSC Meeting Procedures

The TPSC shall utilize Robert’s Rules of Order for guidance regarding conduct of subcommittee meetings. A quorum is necessary to conduct TPSC business. A quorum is established when 50 percent or more of TPSC Representatives are present as currently stated in the MAPP Restated Agreement. A vacant position on the TPSC does not count towards the quorum requirement. All interested parties can attend TPSC and working group meetings subject to signing a MAPP non-disclosure agreement.

5.1.7	Affirmative Votes.

Actions or decisions by a subcommittee requires an affirmative vote of two-thirds of both the TPSC Transmission Owning Members and the Transmission Using Members as set forth in the MAPP Restated Agreement.

5.1.8	TPSC Meeting Minutes

All TPSC meetings shall be recorded through accurate and timely meeting minutes. Draft TPSC meeting minutes shall be distributed to TPSC Representatives ten (10) business days following the meeting date for review and comment. The TPSC will attempt to approve their previous meeting’s minutes at their next meeting. Once the meeting minutes are approved by the TPSC, the minutes are sent to the TPSC and RTC e-mail distribution lists and posted at www.mapp.org.

5.1.9	Review of TPSC Action

An RTC Member or Regulatory Participant may request a review of TPSC actions, in accordance with the MAPP Restated Agreement.

5.2	TPSC Responsibilities

The TPSC shall:

(a)	develop and recommend for approval by the RTC the biennial MAPP Regional Plan required by the MAPP Restated Agreement;

(b)	develop procedures and policies for updating and modifying the MAPP Regional Plan between biennial planning cycles, and approve modifications to the MAPP Regional Plan;

(c)	develop and approve procedures, standards and requirements for the communication of the future transmission requirements of Members and interested parties to the appropriate Transmission Owning Members, and for the inclusion of bona fide requirements in the transmission Member Plans of the Transmission Owning Members, and in the MAPP Regional Plan.

(d)	establish procedures, standards and requirements for the coordination of the transmission Member Plans of the Transmission Owning Members with the plans of neighboring transmission systems, including establishing of subregional planning groups for resolution of subregional planning issues on a cooperative basis;

(e)	establish procedures, standards, and requirements for making available Member Plans and the information on which the Member Plans are based, as required by the MAPP Restated Agreement;

(f)	establish procedures, standards and requirements for public input, including input from Regulatory Participants, in the development of the MAPP Regional Plan;

(g)	determine, subject to RTC approval, the appropriate Member or Members to construct and own, or to receive Rights Equivalent to Ownership in, transmission facilities;

(h)	coordinate with the subcommittees of the RTC, the MRO and Adjacent Systems pertinent to reliability issues, standards, requirements, procedures, models and studies, and conduct or request the MRO to conduct such studies as appropriate to carry out the responsibilities of the TPSC;

(i)	conduct appropriate transmission economic planning studies;

(j)	conduct appropriate transmission cost allocation analysis for new projects;

(k)	assume responsibility for submission of FERC Form 715 information for MAPP;

(l)	conduct transmission adequacy and security assessments as appropriate, including assessments of the intra- and inter-regional transfer capability of the MAPP system; and

(m)	oversee the duties and responsibilities of Working Groups.

(n)	utilize an appropriate combination of technical analysis and engineering judgment to determine preferred solutions when competing solution options proposed to meet system needs are received from a SPG.

5.3	Transmission Customer Responsibilities

Transmission Customers in the RTC region shall provide annually to the Transmission Provider the following types of information:

(a)	Generators: all planned additions or upgrades (including status and expected in-service date), planned retirements, and environmental restrictions.

(b)	Demand Response Resources: existing and planned demand resources and their impacts on demand and peak demand.

(c)	Network Customers: forecast information for load and resource requirements over the planning horizon and identification of demand response reductions.

(d)	Point-to-Point Transmission Customers: projections of need for service over the planning horizon, including transmission capacity, duration, and receipt and delivery points.

(e)	Transmission Customers should provide the Transmission Provider with timely written notice of material changes in any information previously provided relating to its load, its resources, or other aspects of its facilities or operations affecting the transmission provider’s ability to provide service.

# 6.0 	Sub-regional Planning Groups

6.1	Current SPGs

The TPSC has established and recognized the following SPGs to carry out the task of coordinating transmission plans among Members:

(a)	Northern MAPP

(b)	Missouri Basin

(c)	Iowa Transmission Working Group

(d)	Nebraska

6.2	Establishment of SPGs

The TPSC can establish new or recognize additional SPGs to carry out the task of coordinating transmission plans among Members. The TPSC may also recognize and coordinate its MAPP Regional Plan with existing or future transmission planning study groups concerned with transmission facilities located outside the MAPP region.

6.3	SPG Membership

Membership in a SPG is open to any interested party and any actual or potential user of the relevant transmission facilities. Participation in any SPG meeting is open to any interested party who has signed the MAPP Non-Disclosure Agreement. A MAPP Non-Disclosure Agreement (NDA) is obtained by contacting the Secretary of the TPSC. Neighboring transmission owning utilities and regulatory participants are eligible and encouraged to join the SPG to promote joint planning between MAPP and its neighboring regions.

6.4	SPG Guidelines

The Subregional Planning Groups, to the extent possible, should:

(a)	develop a coordinated Subregional Plan, the SPG Biennial Plan, including alternatives, for the ensuing ten years, for all transmission facilities in the subregion at a voltage of 115 kV or greater;

(b)	review and comment on proposed Member Plans for additions and modifications to the subregional transmission system;

(c)	incorporate proposed Member load-serving plans to the subregional transmission system into the SPG Biennial Plan;

(d)	incorporate Member Plans for new generator connections and associated network upgrades into the SPG Biennial Plan as soon as practicable;

(e)	coordinate the Subregional Plans of the SPG with the Subregional Plans of neighboring SPGs;

(f)	update the SPG Biennial Plan as deemed necessary by the SPG or the TPSC;

(g)	form technical study task forces as required to carry out the subregional planning responsibilities;

(h)	encourage non-MAPP member participation to ensure that the TPSC and the SPGs learn of facility changes outside MAPP’s system to ensure the impact of parallel path flows are considered in the planning studies;

(i)	encourage participation by stakeholders so that the SPG can consider and incorporate the future transmission needs of the stakeholder into the Subregional Plan;

(j)	ensure SPG studies meet NERC/MRO Planning Standards and requirements; and

(k)	promote stakeholder and Regulatory Participant review and comment on the Subregional Plan and its development.

6.5	Submission of Member Plans to SPG

Each Transmitting Utility Member, as that term is defined in the MAPP Restated Agreement, shall submit its transmission plans to the SPG in which its system is geographically located, or SPGs in situations where its system crosses several SPG boundaries. The TPSC requires that all Members submit their individual Member Plans to the appropriate SPG. Each SPG member must be willing to participate in joint SPG studies to assess the adequacy of proposed Member Plans to best meet the needs of the subregion. The TPSC will not be in a position to support the transmission Member Plans of any Member who does not make such Member Plans available to the SPG.

6.6	Network Upgrades Out of Planning Cycle

When planned transmission upgrades are identified by a Member outside the timing requirements of the Regional Plan (including any network upgrades needed for generation interconnection or transmission service):

    - The Member will submit information about the upgrades at the next SPG meeting and the next TPSC meeting to make every reasonable effort to allow for stakeholder input on such upgrades before those upgrades go in-service.

    - The Member will include those upgrades in their next Member Plan.

6.7	SPG Meetings

Each SPG should meet at least twice annually to review plans and determine what changes, if any, need to be made to coordinate Member Plans among Members. Participation in any SPG meeting is open to any interested party who has signed the MAPP Non-Disclosure Agreement. Meeting notices are posted on the MAPP calendar at www.mapp.org. Recommendations carried forward to the TPSC by the SPG should reflect a consensus of the SPG members. However, a SPG member also has the right to reflect a minority opinion in any report to the TPSC. The notice of SPG meetings are to be sent out by the SPG TPSC liaison person, the SPG Chair, or SPG Secretary to the SPG Membership via the SPG and TPSC exploder email list. Other stakeholders, such as interested parties, that request meeting notification shall also be sent a meeting notice. In addition, the meetings are posted on the MAPP website under the calendar of MAPP meetings. The notice shall state the time and place of the meeting, and shall include an agenda sufficient to notify Members of the substance of matters to be considered at the meeting. Additionally, the appropriate subregional Regulatory Participants, who are not SPG Members or may not be subscribed to the SPG and TPSC exploders list, are to be sent a meeting notice.

6.8	TPSC/SPG Communication

Each recognized SPG shall appoint a liaison to the TPSC to facilitate communication of the planning process. The liaison person can be any SPG member including an elected TPSC member. The form of communication the TPSC expects from the SPG includes: (a) SPG Meeting Agendas; (b) SPG final approved Meeting Minutes; and (c) SPG liaison status reports to the TPSC at the scheduled meetings. The SPG meeting agendas and approved minutes should be electronically sent to the TPSC Secretary for posting on the MAPP website in the RTC/TPSC area. The SPG status reports are given by the TPSC liaison at the scheduled TPSC meetings.

6.9	SPG Planning Responsibilities

The SPG shall develop a coordinated subregional transmission plan (the SPG Plan), including alternatives, for the ensuing ten years, for all transmission facilities in the subregion at a capacity of 115 kV or greater. This SPG Plan shall be submitted to the TPSC biennially, each even numbered or MAPP Regional Plan year. The SPG shall update and modify the SPG Plan, as required, between biennial planning year cycles and submit these modifications to the TPSC for approval. The Subregional Plan should: (a) identify load serving problems in the subregion; (b) identify constrained interface problems within the subregion and with neighboring subregions and regions; (c) identify transmission needs for new generation; (d) propose and study transmission expansion alternatives to address these problems and needs; (e) recommend the preferred alternatives which best address the subregional requirements to the TPSC; (f) ,forward alternative proposed solutions to the TPSC for the evaluation and determination of preferred plan options for inclusion in the MAPP Regional Plan in the absence of consensus agreement by a SPG on the selection of preferred plan options; (g) address subregional deficiencies identified in the MAPP Regional Plan; and (h) provide feedback assessment of impacts of the published MAPP Regional Plan on the subregion.

6.10	Planning Criteria

The MAPP Restated Agreement states that each Member’s plan shall conform to applicable reliability standards and requirements, and to applicable methods and assessment practices and other transmission planning standards and requirements established by the RTC. In this context, the Subregional Plan shall conform to the requirements of the MAPP Members Reliability Criteria and Study Procedures Manual and the NERC and MRO Planning Standards. In instances where these Standards are different, the more stringent Standard shall be adopted. Such criteria and standards are available at www.mapp.org.

6.11	SPG Study Models

Whenever possible, the SPGs shall adopt the most current approved regional model series to develop their base case study models. Each series provides near term, five-year and ten-year models representing summer peak, summer off-peak and winter peak system conditions. The SPG shall determine the appropriate load conditions (summer peak, summer off-peak, winter peak, etc.) and generation schedules for the SPG studies. The SPG shall verify that the load data, new generation data, and all existing firm transactions in the subregion are included and correct. In developing the base case load flow models to be used for the SPG studies, the SPG shall document all modifications required to load flow cases. The SPGs may add underlying transmission detail to these models as required. The SPG shall solicit input from stakeholders including additions or changes to transmission, generation, and demand resources, in developing base-line assumptions and models used in developing the SPG Plan.  The SPG may, if appropriate, adopt other models to conduct its studies.  However, the SPG shall develop and provide the TPSC with appropriate files to facilitate incorporation of the Subregional Plan study data into the next regional model series that will be used by the TPSC.

6.12	SPG Studies and Reports

A report summarizing the results of the Member and SPG Working Group studies shall be provided for review and consensus approval of the SPG, prior to adopting the plans of Members or the SPG study groups into the Subregional Plan. The SPG shall require its Members or its SPG Study Groups to perform system studies to demonstrate that the performance of the proposed Member and Subregional Plans meets the planning standards defined above. These studies may include, but not necessarily be limited to load flow (steady state, contingency and loss analysis), transient stability, voltage stability, small signal stability and economic analysis as deemed necessary by the SPG Members.

6.13	Subregional Plan Report to the TPSC

The Subregional Plan, or modifications to the SPG Plan, shall be provided to the TPSC each year. A report shall be provided describing the Subregional Plan. This report shall include the following information: (a) an executive summary (to be incorporated into the MAPP Regional Plan report); (b) a description of needs being addressed; (c) a description of the alternatives considered; (d) recommendations as to which alternatives should be included in the MAPP Regional Plan; (e) a description of alternative plan options in the absence of consensus SPG agreement on preferred solutions; (f) a brief description of the SPG studies, including costs, supporting the recommendations, with reference to the detailed SPG study report; (g) a description of the new facilities; and (h) a description of the Public Input/Review Process.

# 7.0 	Public Input Process

7.1	Stakeholder Participation

The TPSC shall invite Members, interested parties, any actual or potential users of the relevant transmission facilities, and neighboring transmission owning utilities (referred to collectively as “stakeholders”), as well as Regulatory Participants, to be part of the planning process. The SPG shall invite such stakeholders to SPG meetings as part of the public input process into the Subregional Plan. The SPG shall:

(a)	identify and maintain a list of stakeholders involved in the review and comment on additions to the Transmission System in their subregion;

(b)	add stakeholders to the appropriate SPG email exploder lists following their requests to MAPPCOR planning staff to participate;

(c)	verify that stakeholders have signed the NDA for attendance at the meetings where CEII material is discussed;

(d)	identify comparable contacts from interconnected NERC regions;

(e)	coordinate with stakeholders as to the process required, areas of needs, and possible solutions;

(f)	review the solutions with stakeholders to identify the best options from a transmission and regulatory basis for that subregion to include in the Subregional Plan; and

(g)	report to the TPSC and include in the Subregional Plan documentation of the public process completed for the Subregional Plan such as dates of meetings, number of stakeholders, highlights of key comments and SPG consideration of those comments. The SPG shall include in their Subregional Plan report to the TPSC a listing of the suggestions for economic planning studies that they received from their stakeholders during the year.

7.2	Regulatory Participation

The TPSC shall encourage and facilitate input from Regulatory Participants, in the development of the MAPP Regional Plan. The SPGs, as part of the formal process for regulatory participation, shall:

(a)	Maintain a list of Regulatory Participants involved in the review and approval of additions to the Transmission System in their subregion.

(b)	Maintain a list of comparable contacts from interconnected regions.

(c)	Coordinate with the Regulatory Participants as to the process required, areas of needs, and possible solutions. Review the solutions with such participants to identify the best options from a transmission and regulatory basis for that subregion to include in the MAPP Regional Plan.

(d)	Describe in the Subregional Plan how the proposed facilities address the needs, and identify the Regulatory Participants involved in the Subregional Plan development and what future regulatory approvals are required for development of facilities in the Subregional Plan.

The TPSC, as part of the formal process for the regulatory participation, shall:

(a)	maintain a list of Regulatory Participants involved in the review and approval of additions to the Transmission System for each SPG;

(b)	report in the MAPP Regional Plan the input of the Regulatory Participants obtained in developing the MAPP Regional Plan;

(c)	present the results of the MAPP Regional Plan and the needed facilities to the RTC;

(d)	work with the Members and SPGs on final approvals for needed projects as required and coordinate any regional information that needs to be disseminated;

(e)	make the MAPP Regional Plan available to the public and regulatory community subject to applicable CEII restrictions; and

(f)	as required, sponsor information seminars to facilitate regulatory and public acceptance of the MAPP Regional Plan.

# 8.0	Inter-regional Planning Coordination

The TPSC shall coordinate on planning issues with: (1) the subcommittees of the RTC; (2) the MRO; (3) relevant non-MAPP neighboring transmission owning utilities and Regional Transmission Organizations (“RTOs”).

The TPSC will select a TPSC member who will be responsible for reporting on the relevant activities of the MAPP RTC, MRO and RTO subcommittees at each TPSC meeting. The TPSC liaison may attend the MAPP RTC, MRO and neighboring RTO subcommittee meetings or employ other effective means to obtain the required information.

8.1	Coordination Principles

The MAPP Regional Plan shall be developed in accordance with the principles of interregional coordination through collaboration with representatives from neighboring regions, or their applicable sub-regions, including adjacent transmission providers or regional transmission organizations, or their designated regional planning organization(s).

8.2	Joint Planning Committee

MAPP shall participate in a Joint Planning Committee (“JPC”) with representatives of adjacent transmission providers or regional transmission organizations, or their designated regional planning organizations(s) (“Regional Planning Coordination Entities” or “RPCEs”). The JPC shall be comprised of representatives of MAPP and the RPCE(s) in numbers and functions to be identified from time to time. The JPC may combine with or participate in similarly established joint planning committees amongst multiple RPCEs or established under joint agreements to which MAPP is a signatory, for the purpose of providing for broader and more effective inter-regional planning coordination. The JPC shall have a Chairman. The Chairman shall be responsible for: the scheduling of meetings; the preparation of agendas for meetings; the production of minutes of meetings; and for chairing JPC meetings. The Chairmanship shall rotate amongst MAPP and the RPCEs on a mutually agreed to schedule, with each party responsible for the Chairmanship for no more than one planning study cycle in succession. The JPC shall coordinate planning of the systems of the Transmission Provider and the RPCEs, including the following:

8.2.1	Coordinate the development of common power system analysis models to perform coordinated system planning studies including power flow analyses and stability analyses. For studies of interconnections in close electrical proximity at the boundaries among the systems of MAPP and the RPCEs, the JPC or its designated working group will coordinate the performance of a detailed review of the appropriateness of applicable power system models.

8.2.2	Conduct, on a regular basis, a Coordinated Regional Transmission Planning Study (“CRTPS”), which shall be reviewed by stakeholders, as set forth in Section 8.4.1.

8.2.3	Coordinate planning activities under this section 8, including the exchange of data and developing necessary report and study protocols.

8.2.4	Maintain an Internet site and e-mail or other electronic lists for the communication of information related to the coordinated planning process. Such sites and lists may be integrated with those existing for the purpose of communicating the open and transparent planning processes of MAPP.

8.2.5	Meet at least semi-annually to review and coordinate transmission planning activities.

8.2.6	Establish working groups as necessary to address specific issues, such as the review and development of the regional plans of the RPCE and MAPP, and localized seams issues.

8.2.7	Establish a schedule for the rotation of responsibility for data management, coordination of analysis activities, report preparation, and other activities.

8.3 	Data and Information Exchange

MAPP shall make available to each RPCE the following planning data and information. Unless otherwise indicated, such data and information shall be provided annually. MAPP shall provide such data in accordance with the applicable CEII policy, and maintain data and information received from each RPCE in accordance with their applicable confidentiality policies.

8.3.1	Data required for the development of power flow cases, and stability cases, incorporating up to a ten year load forecasts as may be requested, including all critical assumptions that are used in the development of these cases.

8.3.2	Fully detailed planning models (up to the next ten (10) years as requested) on an annual basis and updates as necessary to perform coordinated studies that reflect system enhancement changes or other changes.

8.3.3	The regional plan documents, any long-term or short-term reliability assessment documents, and any operating assessment reports produced by MAPP and the RPCE.

8.3.4	The status of expansion studies, system impact studies and generation interconnection studies, such that MAPP and the RPCE have knowledge that a commitment has been made to a system enhancement as a result of any such studies.

8.3.5	Transmission system maps for MAPP and the RPCE bulk transmission systems and lower voltage transmission system maps that are relevant to the coordination of planning between or among the systems.

8.3.6	Contingency lists for use in load flow and stability analyses, including lists of all contingency events required by applicable NERC or Regional Entity planning standards, as well as breaker diagrams, as readily available, for the portions of the MAPP and the RPCE transmission systems that are relevant to the coordination of planning between or among the systems. Breaker diagrams to be provided on an as requested basis.

8.3.7	The timing of each planned enhancement, including estimated completion dates, and indications of the likelihood that a system enhancement will be completed and whether the system enhancement should be included in system expansion studies, system impact studies and generation interconnection studies, and as requested the status of related applications for regulatory approval. This information shall be provided at the completion of each planning cycle of MAPP, and more frequently as necessary to indicate changes in status that may be important to the RPCE system.

8.3.8	Quarterly identification of interconnection requests that have been received and any long-term firm transmission services that have been approved, that may impact the operation of MAPP or the RPCE system.

8.3.9	Quarterly, the status of all interconnection requests that have been identified.

8.3.10	Information regarding long-term firm transmission services on all interfaces relevant to the coordination of planning between or among the systems.

8.3.11	Load flow data initially will be exchanged in PSS/E format. To the extent practical, the maintenance and exchange of power system modeling data will be implemented through databases. When feasible, transmission maps and breaker diagrams will be provided in an electronic format agreed upon by the Transmission Provider and the RPCE. Formats for the exchange of other data will be agreed upon by MAPP and the RPCE.

8.4	Coordinated System Planning

MAPP shall agree to coordinate with the RPCEs studies required to assure the reliable, efficient, and effective operation of the transmission system. Results of such coordinated studies will be included in the Coordinated System Plan. MAPP shall agree to conduct with the RPCEs such coordinated planning as set forth below.

8.4.1	Stakeholder Review Processes.

MAPP, in coordination with coordinating RPCEs shall review the scope, key modeling assumptions, and preliminary and final results of the CRTPS with impacted stakeholders, and shall modify the study scope as deemed appropriate by MAPP in agreement with the coordinating RPCEs, after receiving stakeholder input. Such reviews will utilize the existing planning stakeholder forums of the coordinating parties including as applicable joint Sub Regional Planning Meetings.

8.4.2	Single Entity Planning

MAPP shall engage in such transmission planning activities, including expansion plans, system impact studies, and generator interconnection studies, as necessary to fulfill its obligations under the MAPP Restated Agreement and any other MAPP transmission planning procedures. Such planning shall conform to applicable reliability requirements of NERC, applicable regional reliability councils, and any successor organizations thereto. Such planning shall also conform to any and all applicable requirements of Federal or State regulatory authorities. MAPP will prepare a regional transmission planning report that documents the procedures, methodologies, and business rules utilized in preparing and completing the report. MAPP shall agree to share the transmission planning reports and assessments with each RPCE, as well as any information that arises in the performance of its individual planning activities as is necessary or appropriate for effective coordination among MAPP and the RPCEs on an ongoing basis. MAPP shall provide such information to the RPCEs in accordance with the applicable CEII policy and shall maintain such information received from the RPCEs in accordance with their applicable confidentiality policies.

8.4.3 	Analysis of Interconnection Requests

In accordance with the procedures under which a MAPP Transmission Provider provides interconnection service, MAPP will agree to coordinate with each RPCE the conduct of any studies required in determining the impact of a request for generator or merchant transmission interconnection.  Results of such coordinated studies will be included in the impacts reported to the interconnection customers as appropriate. Coordination of studies shall include the following:

8.4.3.1	When a MAPP Transmission Provider receives a request under its interconnection procedures for interconnection, it will determine whether the interconnection potentially impacts the system of a RPCE. In that event, the MAPP Transmission Provider will notify the RPCE and convey the information provided in the interconnection queue posting. The MAPP Transmission Provider will provide the study agreement to the interconnection customer in accordance with applicable procedures.

8.4.3.2	If the RPCE determines that it may be materially impacted by an interconnection on the MAPP Transmission Provider System, the RPCE may request participation in the applicable interconnection studies. The MAPP Transmission Provider will coordinate with the RPCE with respect to the nature of studies to be performed to test the impacts of the interconnection on the RPCE System, and who will perform the studies. The MAPP Transmission Provider will strive to minimize the costs associated with the coordinated study process undertaken by agreement with the RPCE.

8.4.3.3	Any coordinated studies associated with requests for interconnection to the MAPP Transmission Provider’s system will be performed in accordance with the study timeline requirements and scope of the applicable generation interconnection procedures of the MAPP Transmission Provider.

8.4.3.4	The RPCE may participate in the coordinated study either by taking responsibility for performance of studies of its system, if deemed reasonable by the MAPP Transmission Provider, or by providing input to the studies to be performed by the MAPP Transmission Provider. The study cost estimates indicated in the study agreement between the MAPP Transmission Provider and the interconnection customer, will reflect the costs, and the associated roles of the study participants including the RPCE. The MAPP Transmission Provider will review the cost estimates and scope submitted by all participants for reasonableness, based on expected levels of participation, and responsibilities in the study.  If the RPCE agrees to perform any aspects of the study, the RPCE must comply with the timelines and schedule of the MAPP Transmission Provider’s interconnection procedures.

8.4.3.5	The MAPP Transmission Provider will collect from the interconnection customer the costs incurred by the RPCE associated with the performance of such studies and forward collected amounts, no later than thirty (30) days after receipt thereof, to the RPCE. Upon the reasonable request of the RPCE, the MAPP Transmission Provider will make their books and records available to the requestor pertaining to such requests for collection and receipt of collected amounts.

8.4.3.6	The MAPP Transmission Provider will report the combined list of any transmission infrastructure improvements on either the RPCE and/or the MAPP Transmission Provider’s system required as a result of the proposed interconnection.

8.4.3.7	Construction and cost responsibility associated with any transmission infrastructure improvements required as a result of the proposed interconnection shall be accomplished under the terms of the applicable tariff under which transmission service is provided, Transmission Service Guidelines, controlling agreements, and consistent with applicable Federal or State regulatory policy and applicable law.

8.4.3.8	Each transmission provider will maintain separate interconnection queues. The JPC will maintain a composite listing of interconnection requests for all interconnection projects that have been identified as potentially impacting the systems of MAPP and coordinating RPCEs. The JPC will post this listing on the Internet site maintained for the communication of information related to the coordinated system planning process.

8.4.4	Analysis of Long-Term Firm Transmission Service Requests

In accordance with applicable procedures under which the MAPP Transmission Providers provide long-term firm transmission service, the MAPP Transmission Provider will coordinate the conduct of any studies required to determine the impact of a request for such service. Results of such coordinated studies will be included in the impacts reported to the transmission service customers as appropriate. Coordination of studies will include the following:

8.4.4.1	The MAPP Transmission Provider will coordinate the calculation of ATC values, if any, associated with the service, based on contingencies on their systems that may be impacted by the granting of the service.

8.4.4.2	When a MAPP Transmission Provider receives a request for long-term firm transmission service, it will determine whether the request potentially impacts the system of the RPCE. If the MAPP Transmission Provider determines that the RPCE system is potentially impacted, and that the RPCE would not receive a transmission service request to complete the service path, the MAPP transmission provider will notify the RPCE and convey the information provided in the posting.

8.4.4.3	If the RPCE determines that its system may be materially impacted by granting the service, it may contact the MAPP Transmission Provider that received the request and request participation in the applicable studies. The MAPP Transmission Provider will coordinate with the RPCE with respect to the nature of studies to be performed to test the impacts of the requested service on the RPCE system, and will strive to minimize the costs associated with the coordinated study process. The JPC will develop screening procedures to assist in the identification of service requests that may impact systems of the JPC members other than the transmission provider receiving the request.

8.4.4.4	Any coordinated studies for request on a MAPP Transmission Provider’s system will be performed in accordance with the study timeline and scope requirements of the applicable transmission service procedures of the MAPP Transmission Provider.

8.4.4.5	The RPCE may participate in the coordinated study either by taking responsibility for performance of studies of its system, if deemed reasonable by the MAPP Transmission Provider or by providing input to the studies to be performed by the MAPP Transmission Provider. The study cost estimates indicated in the study agreement between the MAPP Transmission Provider and the transmission service customer will reflect the costs and the associated roles of the study participants. The MAPP Transmission Provider will review the cost estimates and scope submitted by all participants for reasonableness, based on expected levels of participation and responsibilities in the study.

8.4.4.6	The MAPP Transmission Provider will collect from the transmission service customer, and forward to the RPCE, the costs incurred by the RPCE with the performance of such studies.

8.4.4.7	The MAPP Transmission Provider receiving the request will identify any transmission infrastructure improvements required as a result of the transmission service request.

8.4.4.8	Construction and cost responsibility associated with any transmission infrastructure improvements required as a result of the transmission service request shall be accomplished under the terms of the applicable the applicable tariff under which transmission service is provided, Transmission Service Guidelines, controlling agreements, and consistent with applicable Federal or State regulatory policy and applicable law.

8.4.5	Coordinated Transmission Planning

MAPP agrees to participate in the conduct of a periodic Coordinated Regional Transmission Planning Study (“CRTPS”). The CRTPS shall have as input the results of ongoing analyses of requests for interconnection and ongoing analyses of requests for long-term firm transmission service. The Parties shall coordinate in the analyses of these ongoing service requests in accordance with sections 8.4.3 and 8.4.4. MAPP, in coordination with coordinating RPCEs, shall review the scope, preliminary results and final results of the CRTPS with impacted stakeholders, in accordance with section 8.4.1 and this section. The results of the CRTPS shall be an integral part of the expansion plans of each Party. Construction of upgrades on the Transmission System of the MAPP Transmission Providers that are identified as necessary in the CRTSP shall be under the terms of the applicable MAPP or MAPP Transmission Provider documentation applicable to the construction of upgrades identified in the expansion planning process. Coordination of studies required for the development of the Coordinated System Plan will include the following:

8.4.5.1	Every three years, MAPP shall participate in the performance of a CRTPS. Sensitivity analyses will be performed, as required, during the off years based on a review by the JPC of discrete reliability problems or operability issues that arise due to changing system conditions.

8.4.5.2	The CRTPS shall identify all reliability and expansion issues, and shall propose potential resolutions to be considered by MAPP and the coordinating RPCEs.

8.4.5.3	As a result of participation in the CRTPS, neither MAPP nor its members are obligated in any way to construct, finance, operate, or otherwise support any transmission infrastructure improvements or other transmission-related projects identified in the CRTPS. Any decision to proceed with any transmission infrastructure improvements or other transmission-related projects identified in the CRTPS shall be based on the applicable reliability, operational and economic planning criteria established for MAPP as applicable to the development of the MAPP Regional Plan and set forth in this Attachment K.

8.4.5.4	As a result of participation in the CRTPS, the RPCEs are not entitled to any rights to financial compensation due to the impact of the transmission plans of MAPP upon the RPCE system, including but not limited to its decisions whether or not to construct any transmission infrastructure improvements or other transmission-related projects identified in the CRTPS.

8.4.5.5	The JPC will develop the scope and procedure for the CRTPS. The scope of the CRTPSs performed over time will include evaluations of the transmission systems against reliability criteria, operational performance criteria, and economic performance criteria applicable to MAPP and the RPCEs.

8.4.5.6	In the conduct of the CRTPS, MAPP and the coordinating RPCEs will use planning models that are developed in accordance with the procedures to be established by the JPC. Exchange of power flow models will be in a format that is acceptable to the coordinating parties.

# 9.0 	Member Plans

The procedures, standards and requirements for making available Members’ transmission plans (“Member Plans”) and the information on which the Member Plans are based, as required by the MAPP Restated Agreement. Members may submit information to the TPSC individually, but submittals through the SPGs are preferred. The SPGs provide a forum for members to continue their long-term joint planning relationships with their neighbors, and involve regulatory staff. The Member Plans will be integrated into the SPG Subregional Plan.

The Subregional Plan reports, and subsequent updates, are submitted to the TPSC as part of the MAPP Regional Plan. Additionally, the MAPP Regional Plan will provide an executive summary report of the Member and SPG plans showing the anticipated transmission expansions in the region. Detailed Member planning reports are referenced in the Subregional Plan. Such reports typically provide details of economic evaluations, extensive alternative evaluations and supporting technical studies and minority opinions if consensus is not reached.

# 10.0	Dispute Resolution

All substantive and procedural disputes related to the MAPP Regional Planning Process shall be resolved in accordance with the dispute resolution procedures set forth in the MAPP Restated Agreement. Disputes related to local planning issues shall be resolved in accordance with the dispute resolution procedures set forth in this Tariff.

# 11.0	Economic Planning Studies

The TPSC shall evaluate limitations on MAPP transfer capability through historical Transmission Loading Relief (“TLR”) analysis associated with the defined flowgates in the MAPP region. The TPSC shall utilize these comprehensive reviews to determine transmission constraints in the region. The TPSC shall also support economic studies necessary to review the integration of large proposed generation facilities to the regional grid and shall develop concept plans as part of regional study efforts.

The TPSC may also commission SPGs and joint SPGs to address highly constrained regional flowgates and to develop proposed plans for increasing inter-regional transfer capability. SPGs may also perform regional transfer capability analysis and develop exploratory transmission expansion plans to address the most limiting flowgates within their SPG region. The TPSC may also coordinate and support other joint exploratory economic planning efforts within and adjacent to the RTC Region.

In addition to these types of studies, stakeholders, through the TPSC, may request that the TPSC perform economic planning studies to evaluate potential upgrades or other investments that could reduce congestion or integrate new transmission, generation or demand resources and loads on an aggregated or regional basis The TPSC shall review such proposals and select a certain number for study each year.

The TPSC may cluster or batch requests for economic planning studies so the TPSC can perform the studies in the most efficient manner. Requests for studies shall be submitted to the chairman of the TPSC. All such requests will be collected over a 12 month period ending January 1 of each year. The TPSC (with stakeholder input) will commit and engage to address up to five requests per year. The TPSC will attempt to combine the scope of such requests such that the scope of actual study work will adequately address multiple requests, so as not to exceed three studies. Requesting parties would be required to submit essential data for their requested study.

As part of this process, the TPSC may also consider economic studies of upgrades to MAPP flowgates. The flowgates studied will be selected among those determined to have recurring congestion, as evidenced by a high number of hours per year with no available firm Available Flowgate Capacity (“AFC”) or a high number of historical hours per year under Transmission Loading Relief (“TLR”). Along with stakeholder input, the TPSC will use these or similar metrics to determine which MAPP flowgates are most congested and warrant study of the economic benefits of proposed flowgate upgrades. Any economic planning study, which identifies a new MAPP region transmission facility or the upgrade of an existing transmission facility as a proposed Economic Network Upgrade, shall identify the proposed upgrade subject to the cost allocation principles set forth in Section 12 of this Attachment K. Such economic study shall also include a benefit allocation analysis based on one or more of the following principles: (a) reductions in projected congestion costs; (b) reductions in projected energy costs; or (c) reductions in projected transmission losses.

The economic planning studies performed by the TPSC shall include sensitivity analyses representing various generation price scenarios; however, the TPSC shall study the cost of congestion only to the extent it has information to do so. If a stakeholder requests that a particular congested area be studied, it must supply relevant data within its possession to enable the TPSC to calculate the level of congestion costs that is occurring or is likely to occur in the near future.

# 12.0	Cost Allocation

12.1	Categories of Projects

The TPSC will identify cost responsibility on a regional and subregional basis for Network Upgrades identified in the MAPP Regional Plan for reliability and economic projects subject to any grandfathered project provisions from pre-existing agreements. There will be three categories of projects:

12.1.1	Baseline Reliability Projects (BRP)

BRPs are Network Upgrades identified in the base case as required to ensure that the Transmission System is in compliance with applicable NERC and MRO Reliability Standards.

12.1.2	New Transmission Access Projects

New Transmission Access Projects are defined as Network Upgrades identified in Facilities Studies and agreements pursuant to requests for transmission delivery service or transmission interconnection service under a member Transmission Provider’s Tariff. New Transmission Access Projects include projects that are needed to accommodate the incremental needs associated with requests for new transmission or interconnection service, as determined in Facilities Studies associated with such requests. New Transmission Access Projects are either Generation Interconnection Projects or Transmission Service Projects.

12.1.2.1	Generation Interconnection Projects

Generation Interconnection Projects are New Transmission Access Projects that are associated with either the interconnection of new generation, or an increase in the generating capacity of existing generation, under a Transmission Provider’s Tariff.

12.1.2.2	Transmission Service Projects

Transmission Service Projects are New Transmission Access Projects that are needed to provide for requests for new Point-To-Point Transmission Service, or requests under a member Tariff for Network Service or a new designation of a Network Resource(s).

12.1.3	Regionally Beneficial Projects (RBP)

A RBP is a transmission network upgrade that shall be: (a) proposed in accordance with the MAPP Planning Process; (b) found to be eligible for inclusion in the MAPP Regional Plan; (c) determined not to be a New Transmission Access Project; and (d) found to have regional benefits. RBPs may include projects that expand the scope of a project that would otherwise qualify as a Baseline Reliability Project.

12.2	Cost Allocation

The allocation rules for these projects are as follows:

12.2.1	Allocation of Baseline Reliability Project Costs

Each transmission owner is obligated to construct and/or upgrade those BRP facilities required to meet NERC and MRO Reliability Standards associated with serving its native load customers and to meet its firm transmission commitments. Costs associated with a single transmission provider shall be recovered through that transmission provider’s rate recovery method. Costs associated with BRP involving multiple transmission owners shall be shared among the affected transmission owners in accordance with this principle, subject to those transmission owners’ respective interconnection agreements.

12.2.2	New Transmission Access Projects

New Transmission Access Projects may consist of a number of individual facilities that constitutes a single project for cost allocation purposes. Cost allocation methods applicable to specific requests for interconnection and transmission service under the Tariff shall be used for new Transmission Access Projects.

12.2.3	Allocation Rules for RBPs

The MAPP Regional Plan shall classify transmission projects as described above. Any economic planning study authorized by the MAPP RTC for a RBP and performed in compliance with Section 11 of this Attachment K, which identifies the need for a new MAPP region transmission facility or the upgrade of an existing transmission facility as a proposed Economic Network Upgrade, shall treat such proposed facility upgrade(s) as commercial transmission.

This procedure (“Auction Procedure”) describes the process by which the MAPP transmission owner on whose transmission system the Economic Network Upgrade is located (Host TO) shall solicit participation for the proposed Economic Network Upgrade. The MAPP transmission owner shall have the right to elect to be an Affected System and not serve as the Host TO, provided that the MAPP RTC identifies another qualified transmission owner, including a consortium of transmission owners and/or independent transmission owners, as the Host TO. A transmission owner that has protested a project as causing undue burden, which has not been satisfactorily resolved, has the option to decline participation.

12.2.3.1	Applicability

This Auction Procedure is applicable to MAPP-Region transmission owners and Eligible Transmission Customers, including but not limited to Affected Generators and MAPP-Region Load-Serving Entities (“LSEs”), collectively referred to as “Eligible Participants.”

12.2.3.2	First Call Offer of Subscription Rights

The Contractor (i.e., MAPPCOR acting on behalf of the Host TO) shall submit an offer to participate in the Economic Network Upgrade to all Eligible Participants and to any Affected System Operators participating on a reciprocal basis in accordance with the benefit allocation defined on a cost causation basis in the economic planning studies performed in compliance with Section 11 of this Attachment K, in exchange for Subscription Rights to the new transmission capacity.

The Contractor shall offer, on OASIS on a non-discriminatory, basis to all Eligible Participants the opportunity to participate in the Economic Network Upgrade by purchasing a portion of the Subscription Rights made available by such Auction Procedure. If an Eligible Participant accepts the subscription offer for participation in the Economic Network Upgrade, the subscription shall be granted to such Eligible Participant as a Subscription Rights buyer. If demand for the Subscription Rights offered exceeds the number of Subscription Rights available, the Contractor shall offer such Subscription Rights to the interested Eligible Participants on a pro rata basis, based on each Eligible Participant’s designated level of transmission capacity megawatts requested in its submitted offer to participate to the total transmission capacity megawatts requested. Each participating interested Eligible Participant shall have 60 days to accept such an offer for pro rata Subscription Rights.

12.2.3.3	Second Round Offer of Subscription Rights

Within 30 days following the close of the above first call offer of Subscription Rights, the Contractor shall release any Subscription Rights that remain unsubscribed to all Eligible Participants. The Contractor shall allow thirty (30) days for recipients of the second round offer to indicate interest in acquiring the residual Subscription Rights. If the Subscription Rights offered are acquired by an Affected System Operator’s transmission business unit, the revenue requirements will be rolled into the Affected System Operator’s rate structure and the acquired transmission capacity shall be available under the Affected System Operator’s open access transmission tariff (“OATT”). The Affected System Operator, including the Host TO, shall adjust the point-to-point and network service charges to reflect the addition of any revenue requirements to the Affected System Operator’s OATT embedded cost rates, provided that any such Affected System Operator subject to the jurisdiction of the Commission shall obtain approval of the Commission prior to causing such rate adjustment to be effective. Furthermore, any subscribing Eligible Participant may roll the revenue requirements associated with the acquired Subscription Rights into the Affected System Operator’s rate structure, as approved by the Commission, if the subscribing Eligible Participant makes the acquired transmission capacity available under the Affected System Operator’s OATT.

12.2.3.4	Resale and Reassignment of Subscription Rights

The MAPP transmission providers shall provide resale and reassignment provisions for Subscription Rights on the same basis as provided in the pro forma OATT for firm point-to-point transmission service.

12.2.3.5	Failure to Obtain Subscriptions

If, after the first and second rounds of the Auction Procedure have concluded, Subscription Rights sufficient to cover the total cost of the Economic Network Upgrade project have not been successfully subscribed, the Contractor shall notify subscribing Eligible Participants of the Subscription Rights shortfall. Such notice shall be in writing, include the amount of available Subscription Rights and provide thirty (30) days for such subscribing Eligible Participant to increase its Subscription Rights election. At the end of the expiration of the thirty (30) day notice period, the proposed project may be cancelled if it is still not fully subscribed. The Host TO or another Affected System Operator may choose to fund the remaining portion of the necessary subscription rights and roll those costs into their transmission revenue requirements. If a project is cancelled under such circumstances, the Contractor shall notify all of the subscribers in writing within thirty (30) days of its decision to terminate. If an Economic Network Upgrade is terminated for lack of subscriptions or for defaults on subscriptions, the project shall be deemed to have insufficient economic benefit to market participants, and the project shall not qualify for reconsideration as an Economic Network Upgrade until the latter of a) the next biennial MAPP Regional Plan planning cycle, or b) two years from the date of notice of cancellation.

12.2.3.6	Facilities Agreement

If the Economic Network Upgrade is fully subscribed, the Host TO shall offer the subscribers a Facilities Agreement within sixty (60) days of full subscription.

12.2.3.7	Defaulting Subscribers

If any of the subscribers fail to execute the Facilities Agreement within thirty (30) days of receipt of such agreement, the Contractor shall use its best efforts to award the non-signing subscriber’s Subscription Rights to all Eligible Participants. If the Contractor is unable to secure an alternative subscriber, the Host TO shall pursue resolution with the non-signing/defaulting subscriber(s) pursuant to Article 9, Dispute Resolution, of the MAPP Restated Agreement. Any dispute that has not been resolved through the MAPP Article 9 Dispute Resolution process shall be resolved through the appropriate regulatory or jurisdictional dispute resolution proceedings. A party seeking to invoke FERC jurisdiction over a Dispute shall file with the Commission the Facilities Agreement unexecuted by the non-signing/defaulting subscriber. The Commission shall determine the obligations of the non-signing/defaulting subscriber. If, as a result of the dispute resolution process the non-signing/defaulting subscriber is relieved of its obligations, the Host TO may cancel the project with no further obligations to the remaining subscribers, except to notify all of the subscribers in writing within thirty (30) days of its decision to terminate.

12.2.3.8	Post-Auction Host Owner Option

In the event the defined Economic Network Upgrade is not fully subscribed after the Auction Procedure described in Sections 12.2.3.2-12.2.3.7 is exhausted, the Host TO may, of its own accord, elect to perform such Economic Network Upgrade, and roll the upgrade costs into the next update of its transmission revenue requirements.

12.2.3.9	Conversion of Subscription Rights to Physical Transmission Rights

The Facilities Agreement associated with an Economic Network Upgrade shall convert the Subscription Rights allocated pursuant to Sections 12.2.3.2, 12.2.3.3, 12.2.3.5 and 12.2.3.7 above, to Physical Transmission Rights. Subscription Rights and Physical Rights shall be the same transmission capability rights with the principal distinction merely being the stage of project commitment. Subscription Rights shall be associated with a good faith expression of intent, albeit still based on non-binding estimated planning costs, to invest in the Economic Network Upgrade. Upon signing a Facilities Agreement, the Eligible Participant’s expression of intent to invest as a holder of Subscription Rights becomes a binding contractual commitment with the prescribed Physical Rights to the discrete transmission capability defined in the Facilities Agreement. The additional transmission capability achieved by the project shall be allocated to the Subscription Rights holders as Physical Transmission Rights in proportion to their respective payment for the network upgrade. The Physical Transmission Rights do not in themselves convey a form of transmission service under Part II or Part III of the Tariff. The holder of the Physical Transmission Rights may use those rights in conjunction with a specific application of transmission service under Part II or Part III of the Tariff of the Host TO, or the holder may sell or assign the Physical Transmission Rights to another party. Physical Transmission Rights may be used by a generator owner to secure firm transmission service and/or provide a hedge against potential congestion charges.

12.2.3.1	Completion of Economic Network Upgrades

Once an Economic Network Upgrade is fully subscribed and Facilities Agreements are in place for all subscribers, the Host TO shall apply good faith efforts to obtain approvals for, design, construct, own, operate and maintain the proposed Economic Network Upgrade facilities under the terms and conditions set forth in the Facilities Agreement(s).

12.2.3.1	Inter-Regional Coordination

This Procedure may be applied for inter-regional Economic Network Upgrades demonstrating inter-regional economic benefits. MAPP Transmission Owners may use this Procedure to fulfill any requirements of reciprocal obligations for inter-regional transmission upgrades identified by the planning processes of adjacent regional entities, including but not limited to the Midwest ISO Transmission Expansion Plan. This Procedure shall also be available to transmission owners in adjacent regions that may be invited to participate in a subscription rights offering from a MAPP Transmission Owner, based on demonstrations of benefits under Section 11 of this Attachment K.

12.2.3.1	Transmission Projects for Renewable Energy Zones

The Subscription Rights procedures of Sections 12.2.3.3 through 12.2.3.7 above may also be applied to a regional transmission project that is designed to develop deliverability from Renewable Energy Zones to a market in the same manner that the Subscription Rights procedures are applied for Economic Network Upgrades. However, this procedure shall not be an alternative for requirements of Transmission Access Projects under Parts II and III of the Tariff, or for the obligations of Attachment I, “Standard Large Generator Interconnection Procedures (LGIP)”. The Renewable Energy Zone transmission project must be included in the MAPP Regional Plan or in the transmission plan of an adjacent region that has been coordinated with the MAPP Regional Plan.

12.3	Existing Cost Allocation Methodologies

The cost allocation methodology set forth in this Section 12.0 shall not modify or be inconsistent with (a) existing mechanisms to allocate costs for projects that are constructed by a single transmission owner and billed under existing rate structure, or (b) existing cost allocation methods applicable to specific requests for interconnection or transmission service under the pro forma OATT. Further, the cost allocation methodology set forth in this Section 12.0 shall not supersede cost-allocation, cost-sharing or joint-investment obligations to which an individual Host TO or Affected System may be subject.

# 13.0	Local Planning Process

  - PURPOSE

The purpose of this guideline refers to the system simulations and associated assessments that are periodically needed to ensure reliable systems are developed to meet specified performance requirements with sufficient lead time, and continue to be modified or upgraded as necessary to meet present and future system needs.  Four conditions or categories are assessed:

1.) Category A – normal conditions (no contingency),

2.) Category B – following loss of a single bulk electric system element (BESE), (single contingency),

3.) Category C – following loss of two or more BESEs (double contingency), and

4.) Category D – following extreme events resulting in the loss of two or more BESEs.

  - BACKGROUND

    - Qualified personnel from the Engineering & System Operations Department shall abide to this guide.

    - Corn Belt utilizes Siemens PTI, Power System Simulator for Engineering, PSS/E Version 29 or later, to analyze Corn Belt’s Transmission System.  PSS/E is a system of programs and structured data files designed to handle the basic functions of power system performance simulation work.

    - Corn Belt’s Transmission System is interconnected with Alliant Energy, Mid-American Energy, Western Area Power Association (WAPA), and Dairyland Power Cooperative’s transmission system.

    - Corn Belt’s Regional Reliability Organization is the Midwest Reliability Organization (MRO).

    - Corn Belt has the following transmission lines that are greater than 100 kV:

Black Hawk, 161 kV -- Floyd, 161 kV

Buena Vista, 161 kV -- Sac, 161 kV

Buena Vista, 161 kV-- Spencer, 161 kV

Burt, 161 k V -- Hope, 161 kV

Emery, 161 kV – Sheffield, 161 kV

Hampton, 161 kV -- Franklin, 161 kV

Hancock, 161 kV  -- Burt, 161 kV

Hope, 161 kV -- Webster, 161 kV

Osgood, 161 kV  -- Spencer, 161 kV

Osgood, 161 kV -- Burt, 161 kV

Sheffield, 161 kV – Hampton, 161 kV

  - PLANNING COORDINATOR

    - The Mid-Continent Area Power Pool’s (MAPP’s) acts as Corn Belt’s Planning Coordinator for the region.

    - In the MAPP Region, the studies’ are conducted on a regional basis, so Corn Belt does not have direct responsibility.  Upon request Corn Belt support the Region’s efforts by providing data, updating the MAPP power flow models, and reviewing studies and reports with regards to impact on Corn Belt’s transmission system.

    - MAPP has several groups, which satisfies the requirements for Categories B, C, and D.

      - The current MAPP Regional Plan is based from previous MAPP Regional Plan.

      - MAPP’s Transmission Planning Subcommittee (TPSC) submits the MAPP Regional Plan to the Regional Transmission Committee (RTC) to fulfill the MAPP Restated Agreement requirement.

      - Based on plans from the MAPP Transmission Planning Subcommittee, the MAPP Reliability Studies Subcommittee (RSS) annually conducts reliability assessment of the future MAPP transmission system up to 10 years into the future.  The RSS studies address compliance with NERC reliability standards.

      - The RSS posts the results of the reliability assessment and corrective plans to the Midwest Reliability Organization on MAPP’s member website, www.MAPP.com, Regional Studies Subcommittee folder.

      - Specific projects associated with accreditation of new generating capacity, or transfer of power across the region is specifically reviewed by the MAPP Design Review Subcommittee (DRS) for compliance with the NERC and MAPP Planning Standards.  Such studies are focused on demonstrating that the reliability of the MAPP system is maintained following the change and include detailed features of physical design parameters, the performance of certain control features, and planned operating procedures associated with the particular new facility.

      - The Iowa Transmission Working Group (ITWG) focuses on the planning aspects of the sub-region of the MAPP system.  It facilitates the development of the MAPP Regional Plan and provides a forum for the resolution of sub-regional transmission planning issues on a coordinated basis.  The primary focus is on transmission system reliability and the load serving needs of the Iowa sub-region for the ten year planning horizon.

      - The Transmission Reliability Assessment Working Group (TRAWG) performs a voltage stability analysis.  The ITWG provides input and support to the TRAWG for the Iowa region.

  - CORN BELT TRANSMISSION PLANNING

    - Corn Belt’s Transmission Planner shall demonstrate through a valid assessment that Corn Belt’s interconnected transmission system is planned such that, with all transmission facilities in service and with normal (pre-contingency) and contingencies modeled, the network can be operated to supply customer demands and projected Firm (non-recallable reserved) Transmission Services at all demand levels over the range of forecast system demands.

    - Corn Belt participates in separate annual planning meetings with Alliant Energy and Mid-American Energy to discuss upgrades and network modifications in the respective areas that may or may not impact each other’s transmission system.

    - Corn Belt participates in joint studies with Alliant Energy and Mid-American Energy as they benefit or impact both, or, in some cases, all three parties.  These joint studies may also include other utilities in the MAPP Region, such as, Western Area Power Association, Basin Electric, Central Iowa Public Cooperative, Dairyland, and Northern Iowa Power Cooperative.

    - Corn Belt utilizes the Siemens PTI Power System Simulator for Engineering, PSS/E Version 29 or later, to analyze the system performance of Corn Belt’s transmission system, 161 kV and 69 kV.  The program allows generation (MW), load (MW), switched shunt (MVAR), transformers, and transmission lines elements of the system to be modeled for power flow studies.

    - The majority of the power flows are based on summer peak loading.   The current series of the MAPP base cases is downloaded from the website, www.mapp.org, that represents the summer peak loading and the expected network design for five years in the future.

    - The MAPP base case contains 100 kV and above transmission including Corn Belt’s 161 kV system.  For the 2009 Series MAPP base cases, Corn Belt submitted their 69 kV and above transmission system for the summer peak and off-peak base cases.

    - Initial Power Flow Modeling Process

      - Corn Belt’s system peaks in the summer.

      - Corn Belt’s 69 kV transmission details are added to the MAPP summer peak base case by deleting the power flow loops and moving the loads modeled on the 161 kV buses to Corn Belt’s distribution buses.  Once the 2009 Series MAPP base cases are approved, Corn Belt’s 69 kV transmission details will be updated to reflect new construction and loads in the Corn Belt system that have arisen since the MAPP submittal.

        - Corn Belt’s transmission system contains industrial, non-industrial, and municipal loads.  The industrial loads are not scaled.  The non-industrial loads and the municipal loads are scaled in accordance to system load forecasts obtained by Corn Belt, and North Iowa Municipal Electric Cooperative Association (NIMECA), respectively.

      - The power flow model is verified to insure the accuracy of the line impedances, loading, generation and substation/line connections.

      - The power flow model is solved using a combination of Newton Solutions resulting in the fixed slope decoupled full Newton-Raphson with stepping tap adjustment, disabling area interchange control, applying the Var limits automatically, and adjusting the DC taps and the switched shunts.

      - Every year, once the new MAPP Series has been posted on their website, Corn Belt updates their power flow model utilizing the latest summer-peak base case.

    - Corn Belt insures the network system has no pre-conditioned contingencies satisfying Category A, System Performance Under Normal (no contingencies) Conditions.

    - Upon request, single contingencies are identified for planned outages in conjunction with Operations to study the impact on system reliability.

    - Power flows are performed to support Operations’ blackstart drills and training for the Operators.

    - Long Range Transmission Planning – Corn Belt analyzes and identifies system network upgrades and/or modifications in support of future load growth and Corn Belt’s member-cooperative’s needs and/or requests with the inclusion of good utility practices regarding reconductoring.

      - The study looks at five and ten years into the future with the anticipation one solution could resolve many individual voltage violations.

      - Recommended upgrades and/or modifications in response to current and long-range system needs are presented to management.