## COA 1-10
COA 1-10
ACCOUNT 352 - STRUCTURES AND IMPROVEMENTS BALANCE
2019 FERC FORM 1, PAGE 207, LN 49
company_id | gl_account_id | utility_account_id | asset_id | long_description | property_group_id | long_description | long_description | activity_cost | selected_month
3 | 101010 | 35200 | 6717134 | Light RAMOS RIVER CROSSING TOWER AVIATION LIGHTING UPGRADE - 11000001773/ D2 WHITE STROBE SYSTEM W/PC | 40 | Light | L117 - Bayou Vista to Ramos | 48522.87 | 12/2019
3 | 101010 | 35200 | 1335949 | STONE; STONE/ROCK 6' X 6', Cur_Asset: 0000077717 | 40 | Stone | L178 - Hartburg to Mount Olive 500KV | 49095.18 | 12/2019
3 | 101010 | 35200 | 41152 | STONE; IN BIN STONE REVETMENT, PO #S2097522; MONCLA RIVER BANK STABILIZATION AT; RIVER CROSSING OF L159, MARKSVILLE; TO BEAVER CREEK, Cur_Asset: 0000056728 | 40 | Stone | MARKSVILLE SUB TO BEAVER CRK LINE | 23541.98 | 12/2019
3 | 101010 | 35200 | 41153 | STONE; 2934-TON CIN STONE REVETMENT ON RED; RIVER, Cur_Asset: 0000013931 | 40 | Stone | MONCLA ROCK REVETMENT STRUCTURE #69 | 49042.19 | 12/2019
3 | 101010 | 35200 | 64210 | FOUNDATION; FOUNDATION, Cur_Asset: 0000013930 | 40 | Foundation | PERKINS GSU SUB FENCE & FOUNDATION | 13794.82 | 12/2019
3 | 101010 | 35200 | 41154 | GATE; 976 FT. 5' HIGH FENCE W/ 1-20' GATE, Cur_Asset: 0000013929 | 40 | Gate | PERKINS GSU SUB FENCE & FOUNDATION | 3184.49 | 12/2019
3 | 101010 | 35200 | 10186 | BUILDING; 6-8' X 20' PORTABLE STEEL CONSTRUC-; TION BUILDINGS, Cur_Asset: 0000013914 | 40 | Building | PINEVILLE SERVICE CENTER | 27344.17 | 12/2019
3 | 101010 | 35200 | 41139 | BUILDING; 8' X 12' METAL BUILDING, Cur_Asset: 0000013916 | 40 | Building | PINEVILLE SERVICE CENTER | 22161.04 | 12/2019
3 | 101010 | 35200 | 41138 | BUS - SUPPORT; 3 19' 230KV BUS SUPPORTS, Cur_Asset: 0000013917 | 40 | Support | PINEVILLE SERVICE CENTER | 1259.94 | 12/2019
3 | 101010 | 35200 | 15841875 | Gate; Gate for access to Birkland Dr/Ball Cutoff Rd Property | 40 | Gate | ROW-Cenla Transmission - Fence/Gate | 2485.57 | 12/2019
3 | 101010 | 35200 | 15841896 | Road; Limestone Driveway to Birkland Dr/Ball Cutoff Rd Property | 40 | Road | ROW-Cenla Transmission - Fence/Gate | 9267.18 | 12/2019
3 | 101010 | 35200 | 55333 | INSULATOR - STATION POST; STATION POST INSULATORS; TRANSFERRED 10 OF 40 AT SHERWOOD; SUB T019 TO DERIDDER SUB T013, Cur_Asset: T069561168 | 40 | Insulator | T013 - DERIDDER SUB | 3975.84 | 12/2019
3 | 101010 | 35200 | 64211 | BUS - PEDESTALS; 3- 27' TALL BUS PEDESTALS, Cur_Asset: 0000013925 | 40 | Pedestal | T019 - SHERWOOD SUB | 1800 | 12/2019
3 | 101010 | 35200 | 41156 | BUS - PEDESTALS; 9 27' BUS PEDESTIALS 230 KV, Cur_Asset: 0000013926 | 40 | Pedestal | T019 - SHERWOOD SUB | 11554.44 | 12/2019
3 | 101010 | 35200 | 41141 | BUS - PEDESTALS; BUS PEDESTALS, 138KV, 27' HIGH -; 3 TRANSFERRED FROM ASSET 16633; 12/94, Cur_Asset: T129416633 | 40 | Pedestal | T019 - SHERWOOD SUB | 3227.99 | 12/2019
3 | 101010 | 35200 | 14748 | BUS - PEDESTALS; BUS PEDESTALS, 20', Cur_Asset: T019616367 | 40 | Pedestal | T019 - SHERWOOD SUB | 1466.72 | 12/2019
3 | 101010 | 35200 | 58987 | BUS - PEDESTALS; BUS PEDESTALS, 230KV 1PH, 27' HIGH, Cur_Asset: 0000024364 | 40 | Pedestal | T019 - SHERWOOD SUB | 2740.29 | 12/2019
3 | 101010 | 35200 | 53419 | BUS - PEDESTALS; BUS PEDESTALS, 230KV SINGLE PHASE; NOTE: TRANSFERRED FROM T063 TO; T019 AS SPARES., Cur_Asset: 0000015291 | 40 | Pedestal | T019 - SHERWOOD SUB | 3206.98 | 12/2019
3 | 101010 | 35200 | 11885 | BUS - PEDESTALS; BUS SUPPORT PEDESTALS; NOTE: TRANSFERRED FROM T063 TO; T019 AS SPARES., Cur_Asset: 0000015142 | 40 | Pedestal | T019 - SHERWOOD SUB | 2629.81 | 12/2019
3 | 101010 | 35200 | 64213 | BUS - PEDESTALS; SET 12' PEDESTALS, Cur_Asset: 0000013920 | 40 | Pedestal: Bus | T019 - SHERWOOD SUB | 1955.87 | 12/2019
3 | 101010 | 35200 | 41140 | INSULATOR - STATION POST; STATION POST INSULATOR; 40 OF ORIGINAL 73 AT T045 WERE; TRANSFERRED TO SHERWOOD SUB. (T019), Cur_Asset: T129461168 | 40 | Insulator | T019 - SHERWOOD SUB | 11927.49 | 12/2019
3 | 101010 | 35200 | 55801 | INTERRUPTER - CIRCUIT SWITCHER; CIRCUIT SWITCHER, 230KV 1600A 3-; POLE GROUP OPER., TYPE-G, Cur_Asset: T593019488 | 40 | Interrupters | T019 - SHERWOOD SUB | 9688.74 | 12/2019
3 | 101010 | 35200 | 14746 | INTERRUPTER - CIRCUIT SWITCHER; CIRCUIT SWITCHER, 230KV 1600A, Cur_Asset: T593019514 | 40 | Interrupters | T019 - SHERWOOD SUB | 14675.87 | 12/2019
3 | 101010 | 35200 | 55800 | INTERRUPTERS FROM CIRCUIT SWITCHER; CIRCUIT SWITCHER, 138KV 3-POLE GANG; OPER. INTERRUPTERS, Cur_Asset: T593019953 | 40 | Interrupters | T019 - SHERWOOD SUB | 6360.86 | 12/2019
3 | 101010 | 35200 | 11263 | INTERRUPTERS FROM CIRCUIT SWITCHER; CIRCUIT SWITCHER, 138KV 3-POLE GANG; OPER. INTERRUPTERS, Cur_Asset: T593019954 | 40 | Interrupters | T019 - SHERWOOD SUB | 6360.85 | 12/2019
3 | 101010 | 35200 | 41146 | INTERRUPTERS; INTERRUPTERS (S/N'S 1292, 1293, &; 1294) WERE REMOVED FROM CIRCUIT; SWITCHER AT T017 BAYOU VISTA AND; STORED HERE AT T019 SHERWOOD AS; SPARES. COST OF INTERRUPTERS; REMOVED REPRESENTS 44% OF ORIGINAL; COST OF CIRCUI, Cur_Asset: T029423965 | 40 | Interrupters | T019 - SHERWOOD SUB | 2236.42 | 12/2019
3 | 101010 | 35200 | 41144 | INTERRUPTERS; INTERRUPTERS (S/N'S 1292, 1293, &; 1294) WERE REMOVED FROM CIRCUIT; SWITCHER AT T017 BAYOU VISTA AND; STORED HERE AT T019 SHERWOOD AS; SPARES. COST OF INTERRUPTERS; REMOVED REPRESENTS 44% OF ORIGINAL; COST OF CIRCUI, Cur_Asset: T0394A3965 | 40 | Interrupters | T019 - SHERWOOD SUB | 2236.42 | 12/2019
3 | 101010 | 35200 | 54316 | INTERRUPTERS; INTERRUPTERS (S/N'S 1292, 1293, &; 1294) WERE REMOVED FROM CIRCUIT; SWITCHER AT T017 BAYOU VISTA AND; STORED HERE AT T019 SHERWOOD AS; SPARES. COST OF INTERRUPTERS; REMOVED REPRESENTS 44% OF ORIGINAL; COST OF CIRCUI, Cur_Asset: T0394B3965 | 40 | Interrupters | T019 - SHERWOOD SUB | 2236.42 | 12/2019
3 | 101010 | 35200 | 54319 | INTERRUPTERS; INTERRUPTERS (S/N'S 1352, 1353, &; 1354) WERE REMOVED FROM CIRCUIT; SWITCHER AT T017 BAYOU VISTA AND; STORED AT T019 SHERWOOD AS SPARES.; COST OF INTERRUPTERS REPRESENTS 44%; OF TOTAL COST OF ORIGINAL CIRCUIT; SWITCH, Cur_Asset: T029424015 | 40 | Interrupters | T019 - SHERWOOD SUB | 2539.12 | 12/2019
3 | 101010 | 35200 | 41143 | INTERRUPTERS; INTERRUPTERS (S/N'S 1352, 1353, &; 1354) WERE REMOVED FROM CIRCUIT; SWITCHER AT T017 BAYOU VISTA AND; STORED AT T019 SHERWOOD AS SPARES.; COST OF INTERRUPTERS REPRESENTS 44%; OF TOTAL COST OF ORIGINAL CIRCUIT; SWITCH, Cur_Asset: T0394A4015 | 40 | Interrupters | T019 - SHERWOOD SUB | 2539.12 | 12/2019
3 | 101010 | 35200 | 54338 | INTERRUPTERS; INTERRUPTERS (S/N'S 1352, 1353, &; 1354) WERE REMOVED FROM CIRCUIT; SWITCHER AT T017 BAYOU VISTA AND; STORED AT T019 SHERWOOD AS SPARES.; COST OF INTERRUPTERS REPRESENTS 44%; OF TOTAL COST OF ORIGINAL CIRCUIT; SWITCH, Cur_Asset: T0394B4015 | 40 | Interrupters | T019 - SHERWOOD SUB | 2539.12 | 12/2019
3 | 101010 | 35200 | 54337 | INTERRUPTERS; INTERRUPTERS, 3 EA - S/N'S 10247,; 10248, 10249. (44% OF CIRC SWITCH); NOTE: REMOVED FROM MADISONVILLE; AND STORED HERE AS SPARES (SEE WO; 2204, IN 1994), Cur_Asset: T039423646 | 40 | Interrupters | T019 - SHERWOOD SUB | 12970.53 | 12/2019
3 | 101010 | 35200 | 5999 | INTERRUPTERS; THESE INTERRUPTERS WERE REMOVED; FROM A 230KV CIRCUIT SWITCH AND ARE; BEING STORED INSIDE SHERWOOD SUB.; SEE MOTOR OPERATOR S/N 176375 ALSO.; WORK PERFORMED UNDER WO 2204, PROJ.; 30002, IN 1994, PER JAMES LASS., Cur_Asset: T029423681 | 40 | Interrupters | T019 - SHERWOOD SUB | 3646.59 | 12/2019
3 | 101010 | 35200 | 41145 | INTERRUPTERS; THESE INTERRUPTERS WERE REMOVED; FROM A 230KV CIRCUIT SWITCH AND ARE; BEING STORED INSIDE SHERWOOD SUB.; SEE MOTOR OPERATOR S/N 176375 ALSO.; WORK PERFORMED UNDER WO 2204, PROJ.; 30002, IN 1994, PER JAMES LASS., Cur_Asset: T0394A3681 | 40 | Interrupters | T019 - SHERWOOD SUB | 3646.6 | 12/2019
3 | 101010 | 35200 | 41142 | INTERRUPTERS; THESE INTERRUPTERS WERE REMOVED; FROM A 230KV CIRCUIT SWITCH AND ARE; BEING STORED INSIDE SHERWOOD SUB.; SEE MOTOR OPERATOR S/N 176375 ALSO.; WORK PERFORMED UNDER WO 2204, PROJ.; 30002, IN 1994, PER JAMES LASS., Cur_Asset: T0394B3681 | 40 | Interrupters | T019 - SHERWOOD SUB | 3646.6 | 12/2019
3 | 101010 | 35200 | 41155 | MOTOR MECHANISM/OPERATOR; 2 MOTOR MECHS, 138KV FROM BAYOU; SALE SWITCHING, Cur_Asset: 0000013928 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 35428.96 | 12/2019
3 | 101010 | 35200 | 56981 | MOTOR MECHANISM/OPERATOR; ELECTRIC F/OPENING & CLOSING POWER, Cur_Asset: 0000019487 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 2404.8 | 12/2019
3 | 101010 | 35200 | 41135 | MOTOR MECHANISM/OPERATOR; MD-10 MOTOR MECH 125 VDC, Cur_Asset: 0000013924 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 1352 | 12/2019
3 | 101010 | 35200 | 56869 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, 125V; (TRANSFERRED FROM T031, CLARENCE; SUB, TO T019, SHERWOOD SUB, FOR; SPARE PARTS AS PART OF WO 2975), Cur_Asset: 0000017920 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 3674.51 | 12/2019
3 | 101010 | 35200 | 55982 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, 48V DC, Cur_Asset: 0000015004 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 4478.79 | 12/2019
3 | 101010 | 35200 | 58810 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, Cur_Asset: 0000020000 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 4334.61 | 12/2019
3 | 101010 | 35200 | 58809 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, Cur_Asset: 0000020002 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 4334.61 | 12/2019
3 | 101010 | 35200 | 58982 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, Cur_Asset: 0000024374 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 5352.58 | 12/2019
3 | 101010 | 35200 | 8473 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, Cur_Asset: 0000024375 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 5352.58 | 12/2019
3 | 101010 | 35200 | 10185 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, ELECT., Cur_Asset: 0000019790 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 4311.06 | 12/2019
3 | 101010 | 35200 | 58854 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, ELECTRIC, Cur_Asset: 0000019956 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 2560.24 | 12/2019
3 | 101010 | 35200 | 58853 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, ELECTRIC, Cur_Asset: 0000019957 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 2560.24 | 12/2019
3 | 101010 | 35200 | 14750 | MOTOR MECHANISM/OPERATOR; MOTOR MECH, ELECTRIC, Cur_Asset: 0000019958 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 2560.24 | 12/2019
3 | 101010 | 35200 | 59005 | MOTOR MECHANISM/OPERATOR; MOTOR MECH., 125V SOUTHERN STATES, Cur_Asset: 0000019815 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 6211.62 | 12/2019
3 | 101010 | 35200 | 48137 | MOTOR MECHANISM/OPERATOR; MOTOR MECH., FOR CIRCUIT SWITCHER; NOTE: MOTOR MECH AND INTERRUPTERS; WERE REMOVED FROM CIRCUIT SWITCHER; AND STORED AT T019 SHERWOOD FOR; SPARES. CIRCUIT SWITCHER WAS OUT-; FITTED WITH ALUMINUM PLATES, Cur_Asset: 0000024016 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 2890.12 | 12/2019
3 | 101010 | 35200 | 47962 | MOTOR MECHANISM/OPERATOR; MOTOR MECH; NOTE: MOTOR MECH WAS REMOVED FROM; CIRCUIT SWITCH AT T017 BAYOU VISTA; AND STORED AT T019 SHERWOOD FOR; SPARE PARTS. SEE WO 2205, IN 1994,; PER JAMES LASS., Cur_Asset: 0000024077 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 3058.88 | 12/2019
3 | 101010 | 35200 | 53184 | MOTOR MECHANISM/OPERATOR; MOTOR MECHANISM, 125V DC; NOTE: REMOVED FROM MADISONVILLE; AND STORED HERE AS SPARE. (SEE WO; 2204, IN 1994), Cur_Asset: 0000023647 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 2621.4 | 12/2019
3 | 101010 | 35200 | 53175 | MOTOR MECHANISM/OPERATOR; MOTOR MECHANISM, TYPE CS-1A; NOTE: PER JAMES LASS, MOTOR MECH; IS NOW AT SHERWOOD TO BE KEPT THERE; AS SPARE. REMOVED AS PART OF WORK; ON WO 2204 IN 1994., Cur_Asset: 0000023682 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 3262.98 | 12/2019
3 | 101010 | 35200 | 56867 | MOTOR MECHANISM/OPERATOR; MOTOR OPERATOR, CM-4; (TRANSFERRED FROM T031, CLARENCE; SUB, TO T019, SHERWOOD SUB, FOR; SPARE PARTS AS PART OF WO 2975), Cur_Asset: 0000017941 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 35627.49 | 12/2019
3 | 101010 | 35200 | 59030 | MOTOR MECHANISM/OPERATOR; MOTOR OPERATOR, LS-2, Cur_Asset: 0000019847 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 6207.67 | 12/2019
3 | 101010 | 35200 | 41136 | MOTOR MECHANISM/OPERATOR; SWITCH OPERATED MOTOR MECH, Cur_Asset: 0000013923 | 40 | Motor Mechanism/Operator | T019 - SHERWOOD SUB | 2101.16 | 12/2019
3 | 101010 | 35200 | 41137 | STAND; CIRCUIT SWITCHER STAND, Cur_Asset: 0000013921 | 40 | Stand | T019 - SHERWOOD SUB | 1248 | 12/2019
3 | 101010 | 35200 | 54805 | STAND; STAND, 138KV CURRENT TRANSFORMER,; SINGLE PHASE 20'4IN STRUCTURE, Cur_Asset: 0000061169 | 40 | Stand | T019 - SHERWOOD SUB | 1624.8 | 12/2019
3 | 101010 | 35200 | 54804 | STAND; STAND, 138KV CURRENT TRANSFORMER,; SINGLE PHASE 20'4IN STRUCTURE, Cur_Asset: 0000061170 | 40 | Stand | T019 - SHERWOOD SUB | 1624.78 | 12/2019
3 | 101010 | 35200 | 54803 | STAND; STAND, 138KV POTENTIAL TRANSFORMER,; SINGLE PHASE 8' STRUCTURE, Cur_Asset: 0000061171 | 40 | Stand | T019 - SHERWOOD SUB | 1624.78 | 12/2019
3 | 101010 | 35200 | 54802 | STAND; STAND, 138KV POTENTIAL TRANSFORMER,; SINGLE PHASE 8' STRUCTURE, Cur_Asset: 0000061172 | 40 | Stand | T019 - SHERWOOD SUB | 1624.81 | 12/2019
3 | 101010 | 35200 | 11264 | STRUCTURE - PEDESTAL; 230KV SGL PHASE BUS PEDESTAL, 27'; BUS HEIGHT. TRANSFERRED TO ACCT.; 352.00. LEFT IN SHERWOOD SUB STOR-; AGE AREA; REMOVED FROM SERVICE; UNDER PROJ. 30002, WO 2203., Cur_Asset: 0000024181 | 40 | Pedestal | T019 - SHERWOOD SUB | 3501.4 | 12/2019
3 | 101010 | 35200 | 57060 | SWITCH - CIRCUIT; 138KV ASA MARK II CIRCUIT SWITCHER,; CONVERSION ASSEMBLY FOR 3-POLE GRP; SWT, S/C, Cur_Asset: 0000019332 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 7334.6 | 12/2019
3 | 101010 | 35200 | 56879 | SWITCH - CIRCUIT; 230KV 1600A (W/INTERRUPTERS, S/N; P10087 & P10085); NOTE: TRANSFERRED F/T031 CLARENCE; AND STORED HERE AS SPARE (SEE WO; 2206, IN 1994) PER JAMES LASS., Cur_Asset: 0000017887 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 36579.78 | 12/2019
3 | 101010 | 35200 | 57031 | SWITCH - CIRCUIT; CIRCUIT SWITCHER, 138KV 1200A, S/C, Cur_Asset: 0000019317 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 15622.37 | 12/2019
3 | 101010 | 35200 | 58855 | SWITCH - CIRCUIT; CIRCUIT SWITCHER, 138KV 3-POLE GANG; OPER, Cur_Asset: 0000019955 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 15902.14 | 12/2019
3 | 101010 | 35200 | 52428 | SWITCH - CIRCUIT; CIRCUIT SWITCHER, MARK-IV OUTDOOR; 3-POLE CENTER BREAK W/3 INTERRUP-; TERS S/N 21669, 70, 71, Cur_Asset: 0000014300 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 43990.64 | 12/2019
3 | 101010 | 35200 | 56120 | SWITCH - CIRCUIT; MARK V 3-POLE CENTER BREAK CIRCUIT; SWITCHER, Cur_Asset: 0000016479 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 23967.62 | 12/2019
3 | 101010 | 35200 | 64212 | SWITCH - CIRCUIT; S & C MARK III-3 POLE CIRCUIT; SWITCHER, Cur_Asset: 0000013922 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 21248.44 | 12/2019
3 | 101010 | 35200 | 14745 | SWITCH - CIRCUIT; SWITCH OPERATOR, CS-1A 125V DC, Cur_Asset: 0000016481 | 40 | Switch: Circuit | T019 - SHERWOOD SUB | 2731.05 | 12/2019
3 | 101010 | 35200 | 55980 | SWITCH - GRP VERT/SIDE BREAK; SWITCH, MARK II, 138KV 1200A 3-POLE; GROUP, Cur_Asset: 0000015007 | 40 | Switch | T019 - SHERWOOD SUB | 22175.39 | 12/2019
3 | 101010 | 35200 | 11886 | TRANSMISSION TOWER BASE; 8 CLECO OWNED, Cur_Asset: 0000013927 | 40 | Tower: Transmission, Base | T019 - SHERWOOD SUB | 42165.16 | 12/2019
3 | 101010 | 35200 | 2206634 | 3' wide x 6' tall Fence w/barbwire over telephone box outside station | 41 | Fence | T039 - PINEVILLE KRAFT PLANT SUB | 2466.06 | 12/2019
3 | 101010 | 35200 | 6540683 | Bus - BUS WORK - Shaw installed the deadend in the wrong location and we had to build some things to make it work. All these facilities are located near the main power transformers at RPS3 | 40 | Bus | T054 - RODEMACHER 230KV SUB | 92256.22 | 12/2019
3 | 101010 | 35200 | 14747 | BUILDING; HOUSES, Cur_Asset: 0000013915 | 40 | Building | T055 - FOREST HILL 230KV SUB | 10643.56 | 12/2019
3 | 101010 | 35200 | 49622 | STRUCTURE - STEEL; STRUCTURE, GALVANIZED STEEL, Cur_Asset: 0000033229 | 40 | Structure | T055 - FOREST HILL 230KV SUB | 3342.03 | 12/2019
3 | 101010 | 35200 | 49621 | STRUCTURE - STEEL; STRUCTURE, GALVANIZED STEEL, Cur_Asset: 0000033237 | 40 | Structure | T055 - FOREST HILL 230KV SUB | 131.12 | 12/2019
3 | 101010 | 35200 | 12265 | STRUCTURE - STEEL; STRUCTURE, GALVANIZED STEEL, Cur_Asset: 0000033238 | 40 | Structure | T055 - FOREST HILL 230KV SUB | 1676.6 | 12/2019
3 | 101010 | 35200 | 14749 | SWITCH - GROUP - 34.5 KV; SWITCH, 34.5KV 600A 3-POLE BREAK, Cur_Asset: 0000033230 | 40 | Switch: Group, 34.5 | T055 - FOREST HILL 230KV SUB | 1478.12 | 12/2019
3 | 101010 | 35200 | 2206643 | 48" wide x 6' tall Fence w/barbwire - protective fence | 41 | Fence | T082 - South Park Sub *Opelousas* | 2132.65 | 12/2019
3 | 101010 | 35200 | 2206640 | 6' wide x 6' tall Fence w/barbwire - protective fence | 41 | Fence | T082 - South Park Sub *Opelousas* | 2132.65 | 12/2019
3 | 101010 | 35200 | 2206659 | 36" wide x 6' Tall Fence w/barbwire to protect telephone box outside of station | 40 | Fence | T089 - DUBOIN TECHE | 3168.87 | 12/2019
3 | 101010 | 35200 | 5319677 | Road, Entrance to Cane Bayou Substation | 32 | Road | T099 - Cane Bayou Sub | 883228.26 | 12/2019
3 | 101010 | 35200 | 5319564 | Culvert, 12" x 8' RCP Culvert $13/per foot, for raod around substation, vchr#: 248882 | 40 | Culvert | T099 - Cane Bayou Sub | 3288 | 12/2019
3 | 101010 | 35200 | 5319561 | Culvert, 15" x 8' RCP Culvert $16/per foot, for raod around substation, vchr#: 248882 | 40 | Culvert | T099 - Cane Bayou Sub | 10117.03 | 12/2019
3 | 101010 | 35200 | 5319642 | Pond, Dry Detention Pond | 40 | Pond | T099 - Cane Bayou Sub | 204749.44 | 12/2019
3 | 101010 | 35200 | 15262669 | Culvert - 48" x 40' coated corrugated metal pipe | 41 | Culvert | T142 - Flagon Substation (formerly Ball 230KV Substation) | 3574.16 | 12/2019
3 | 101010 | 35200 | 6708803 | //Access road and culverts | 40 | Road | T107 - Segura Substation | 397457 | 12/2019
2375002.19

## Source
COA 1-10- In reference to Cleco’s 2019 FERC Form 1, p. 207, line 49 – Account 352 – Structures and Improvements, please provide a detailed listing of every plant assets and associated amounts included in the ending balance of $2,375,022.
| PP Assets-Search all assets in Cleco Power UA 352 | Report Asset 1025B - Date-12/2019 - Export rows to excel with headers file