Central Vermont Public Service Corporation

Mathematic Algorithms for the Calculation of ATC for Schedule 21-CV

Planning Horizon

ATCF = (TTC-CBM-TRM-ETCF)

ATCNF = (TTC-CBM-TRM- ETCF- ETCNF )

Operating Horizon

ATCF = (TTC-CBM-TRM-ETCF)

ATCNF = (TTC-CBM-TRM- ETCF- ETCNF + PostbacksNF)

Scheduling Horizon

ATCF = 0

ATCNF = TTC

CVPS performs the above calculations for its non-PTF internal interfaces.  These calculations are consistent with the ISO calculations for Available Transfer Capability.  TRM and CBM for CVPS’s non-PTF posted paths are zero.