| U.S. Department of Energy Energy Information Administration Form EIA-417 (2004) | EMERGENCY INCIDENT AND DISTURBANCE REPORT | Form Approved OMB No. 1901-0288 Approval Expires 08/31/05 |
| --- | --- | --- |
| NOTICE: The timely submission of Form EIA-417 by those required to report is mandatory under Section 13(b) of the Federal Energy Administration Act of 1974 (FEAA) (Public Law 93-275), as amended. Failure to respond may result in a penalty of not more than $2,750 per day for each civil violation, or a fine of not more than $5,000 per day for each criminal violation. The government may bring a civil action to prohibit reporting violations, which may result in a temporary restraining order or a preliminary or permanent injunction without bond. In such civil action, the court may also issue mandatory injunctions commanding any person to comply with these reporting requirements. Title 18 U.S.C. 1001 makes it a criminal offense for any person knowingly and willingly to make to any Agency or Department of the United States any false, fictitious, or fraudulent statements as to any matter within its jurisdiction. A person is not required to respond to collection of information unless the form displays a valid OMB number. Data reported on Form EIA-417 in Schedule 1, lines 4, 5, 6, 7, and 8 are considered to be confidential. Schedule 2 is considered confidential. All other data are not confidential. (See form instructions for a full list of legal citations covering data collection authorization.) |
| RESPONSE DUE: Submit a completed Schedule 1 as an initial report within 60 minutes of the incident. A final report (completed copy of the Form EIA-417, Schedule 1 and 2) is due within 48 hours of the event. Electronic submission by facsimile or e-mail is the preferred method of notification. |
| SCHEDULE 1. -- EMERGENCY ALERT NOTICE |
| LINE NO. |  |
|  | ORGANIZATION FILLING |
| 1. | Alert Status (check one) | Preliminary Alert [ ] | Update Notice [ ] | Final Report [ X ] |  |
| 2. | Organization Name | Progress Energy Florida |
| 3. | Address of Principal Business Office | 6565 38th Avenue North St. Petersburg, FL 33710 |
|  | NAME OF OFFICIAL THAT NEEDS TO BE CONTACTED FOR FOLLOW-UP AND ANY ADDITIONAL INFORMATION |
| 4. | Name | Eric S. Grant |
| 5. | Title | Director, Power System Operations Florida |
| 6. | Telephone Number | (727) 384-7814 |
| 7. | FAX Number | (727) 384-7865 |
| 8. | E-mail Address | eric.grant@pgnmail.com |
|  | INCIDENT AND DISTURBANCE DATA |
| 9. | Geographic Area(s) Affected | The portions of the PEF system located in the following Florida counties: Hardee, Highlands, Lake, Orange, Osceola, Polk, Seminole, Volusia | Unknown at this time [ ] |
| 10. | Date/Time Incident Began (mm-dd-yy/hh:mm) using 24-hour clock | August 13, 2004 at 0800 Hours |
| 11. | Estimated Date/Time of Restoration (mm-dd-yy/ hh:mm) using 24-hour clock | 08-22-04/24:00 | Unknown at this time [ ] |
| 12. | Date/Time Incident Ended (mm-dd-yy/ hh:mm) using 24-hour clock | 08-23-04/24:00 |
| 13. | Did the incident/disturbance originate in your system/area? (check one response) | Yes [ X ] | No [ ] | Unknown [ ] |  |
| 14. | Estimate of Amount of Demand Involved (megawatts) | 1,300 MW. | Unknown at this time [ ] |
| 15. | Estimate of Number of Customers Affected | The peak number of outages is now estimated to have been 502,000 as of midnight on August 13, 2004. | Unknown at this time [ ] |
| 16. | Internal Organizational Tracking Number | 8-13-04 |
| 17. Type of Emergency Check all that apply (a) | 18. Cause of Incident Check if known or suspected (b) | 19. Actions Taken Check all that apply (c) |
| Major Transmission System Interruption [ X ] | Weather or Natural Disaster [ X ] | Implemented a Warning, Alert, or Contingency Plan | [ X ] |
| Major Generation Inadequacy [ ] | Transmission Equipment [ ] | Made Public Appeals [ X ] |
| Major Distribution System Interruption [ X ] | Operator Action(s) [ ] | Reduced Voltage [ ] |
| Other [ X ] | Suspected Malicious/Intentional | Shed Interruptible Load [ ] |
|  | Physical [ ] | Shed Firm Load [ ] |
|  | Cyber/Computer/Telecom [ ] | Repaired/Restored [ X ] |
|  | Inadequate Electric Resources to Serve Load [ ] | Other [ ] |
|  | Fuel Supply Deficiency (e.g., gas, oil, water) [ ] |  |
|  | Unknown Cause [ ] |  |
|  | Other [ ] |  |

| U.S. Department of Energy Energy Information Administration Form EIA-417 (2004) |
| --- |
| SCHEDULE 2. -- NARRATIVE DESCRIPTION |
| Provide a description of the event and actions taken to resolve it. Include as appropriate, the cause of the incident/disturbance, equipment damaged, critical infrastructures interrupted and effects on other systems. If necessary, copy and attach additional sheets. Equivalent documents, containing this information can be supplied to meet the requirement; these include the NERC Disturbance Report and the voluntary National Critical Infrastructure Protection System Form. Along with the filing of Schedule 2, an updated Schedule 1 needs to be filed. This is to be done no later than 48 hours after the event. |
| 20. Narrative: Due to the approach of Hurricane Charley, Progress Energy Florida (PEF) has begin shutting down generation units located on the west coast of Florida in the path of Hurricane Charley. At the present time the Bartow Plant in Pinellas County and Anclote Unit #2 are shut down. Anclote Unit #1 may need to be shut down within the next few hours. As of 0800 hours on 8/13/04 PEF began making major customer appeals throughout its service area and specifically in Pinellas County requesting that customers conserve electric power. Update #1: At approximately 1300 hours, Hurricane Charley changed coarse to a northeasterly direction and made landfall near Ft. Meyers, Florida at approximately 1500 hours. The threat to PEF’s Pinellas County service area was transferred to PEF’s central Florida service area. At approximately 1800 hours, Hurricane Charley started causing PEF customer outages in the Highlands Operating Area in central Florida (Highlands County). At the same time, PEF started experiencing the loss of transmission elements. At hour ending 2000 hours, PEF had lost more than 50,000 customers in a single hour. At 2000 hours, approximately 110,000 PEF customers had lost electric service. Hurricane Charley continues to move through the PEF service territory. Update #2: Approximately 433,000 PEF customers were without power as of 0500 hours on 8/14/04. Most of these customer outages were concentrated in PEF’s north and south central regions in the path of Hurricane Charley. The storm caused extensive damage to PEF’s transmission and distribution facilities along the path of the storm, primarily in the south central region in Polk, Hardee, and Highlands counties. Preliminary damage assessments indicate that 67 PEF transmission lines were out of service following the storm, some with extensive transmission structure damage. Update #3: Power has been restored to 357,877, or about 70 percent, of the customers who lost power due to Hurricane Charley. As of 11 a.m. Wednesday, 144,123 Progress Energy Florida customers remained without power. Restoration for all customers is expected to be completed by midnight on 8/22/04. Update #4: By the end of the day on Monday, 8/23/04, Progress Energy Florida successfully restored power to essentially all its customers who are able to receive power. Work is continuing on restoring looped segments of the transmission system and completing permanent repairs to transmission facilities. Lee Schuster Manager, Transmission Services Phone (727) 384-7981 Cell (727) 420-6354 |
|  | Page |