| U.S. Department of Energy Energy Information Administration Form EIA-417 (2004) | EMERGENCY INCIDENT AND DISTURBANCE REPORT | Form Approved OMB No. 1901-0288 Approval Expires 08/31/05 |
| --- | --- | --- |
| NOTICE: The timely submission of Form EIA-417 by those required to report is mandatory under Section 13(b) of the Federal Energy Administration Act of 1974 (FEAA) (Public Law 93-275), as amended. Failure to respond may result in a penalty of not more than $2,750 per day for each civil violation, or a fine of not more than $5,000 per day for each criminal violation. The government may bring a civil action to prohibit reporting violations, which may result in a temporary restraining order or a preliminary or permanent injunction without bond. In such civil action, the court may also issue mandatory injunctions commanding any person to comply with these reporting requirements. Title 18 U.S.C. 1001 makes it a criminal offense for any person knowingly and willingly to make to any Agency or Department of the United States any false, fictitious, or fraudulent statements as to any matter within its jurisdiction. A person is not required to respond to collection of information unless the form displays a valid OMB number. Data reported on Form EIA-417 in Schedule 1, lines 4, 5, 6, 7, and 8 are considered to be confidential. Schedule 2 is considered confidential. All other data are not confidential. (See form instructions for a full list of legal citations covering data collection authorization.) |
| RESPONSE DUE: Submit a completed Schedule 1 as an initial report within 60 minutes of the incident. A final report (completed copy of the Form EIA-417, Schedule 1 and 2) is due within 48 hours of the event. Electronic submission by facsimile or e-mail is the preferred method of notification. |
| SCHEDULE 1. -- EMERGENCY ALERT NOTICE |
| LINE NO. |  |
|  | ORGANIZATION FILLING |
| 1. | Alert Status (check one) | Preliminary Alert [ ] | Update Notice [ ] | Final Report [ X ] |  |
| 2. | Organization Name | Progress Energy Florida |
| 3. | Address of Principal Business Office | 6565 38th Avenue North St. Petersburg, FL 33710 |
|  | NAME OF OFFICIAL THAT NEEDS TO BE CONTACTED FOR FOLLOW-UP AND ANY ADDITIONAL INFORMATION |
| 4. | Name | Eric S. Grant |
| 5. | Title | Director, Power System Operations Florida |
| 6. | Telephone Number | (727) 384-7814 |
| 7. | FAX Number | (727) 384-7865 |
| 8. | E-mail Address | eric.grant@pgnmail.com |
|  | INCIDENT AND DISTURBANCE DATA |
| 9. | Geographic Area(s) Affected | Portions of the PEF service area located in the following counties: Alachua, Citrus, Columbia, Dixie, Franklin, Gilchrist, Gulf, Hamilton, Hardee, Hernando, Highlands, Jefferson, Lafayette, Lake, Levy, Madison, Marion, Orange, Osceola, Pasco, Pinellas, Polk, Seminole, Sumter, Suwannee, Taylor, Volusia and Wakulla. | Unknown at this time [ ] |
| 10. | Date/Time Incident Began (mm-dd-yy/hh:mm) using 24-hour clock | 09-05-04/0700:00 |
| 11. | Estimated Date/Time of Restoration (mm-dd-yy/ hh:mm) using 24-hour clock | 09-12-04/2400:00 | Unknown at this time [ ] |
| 12. | Date/Time Incident Ended (mm-dd-yy/ hh:mm) using 24-hour clock | 09-12-04/2400:00 |
| 13. | Did the incident/disturbance originate in your system/area? (check one response) | Yes [ ] | No [ X ] | Unknown [ ] |  |
| 14. | Estimate of Amount of Demand Involved (megawatts) | 2100 MW | Unknown at this time [ ] |
| 15. | Estimate of Number of Customers Affected | 832,898 (peak customer outages during course of storm) | Unknown at this time [ ] |
| 16. | Internal Organizational Tracking Number |  |
| 17. Type of Emergency Check all that apply (a) | 18. Cause of Incident Check if known or suspected (b) | 19. Actions Taken Check all that apply (c) |
| Major Transmission System Interruption [ ] | Weather or Natural Disaster [ X ] | Implemented a Warning, Alert, or Contingency Plan | [ X ] |
| Major Generation Inadequacy [ ] | Transmission Equipment [ ] | Made Public Appeals [ ] |
| Major Distribution System Interruption [ ] | Operator Action(s) [ ] | Reduced Voltage [ ] |
| Other [ X ] | Suspected Malicious/Intentional | Shed Interruptible Load [ ] |
|  | Physical [ ] | Shed Firm Load [ ] |
|  | Cyber/Computer/Telecom [ ] | Repaired/Restored [ X ] |
|  | Inadequate Electric Resources to Serve Load [ ] | Other [ ] |
|  | Fuel Supply Deficiency (e.g., gas, oil, water) [ ] |  |
|  | Unknown Cause [ ] |  |
|  | Other [ ] |  |

| U.S. Department of Energy Energy Information Administration Form EIA-417 (2004) |
| --- |
| SCHEDULE 2. -- NARRATIVE DESCRIPTION |
| Provide a description of the event and actions taken to resolve it. Include as appropriate, the cause of the incident/disturbance, equipment damaged, critical infrastructures interrupted and effects on other systems. If necessary, copy and attach additional sheets. Equivalent documents, containing this information can be supplied to meet the requirement; these include the NERC Disturbance Report and the voluntary National Critical Infrastructure Protection System Form. Along with the filing of Schedule 2, an updated Schedule 1 needs to be filed. This is to be done no later than 48 hours after the event. |
| 20. Narrative: PEF began experiencing scattered outages on 9/4/04 due to the outer rain bands of Hurricane Frances. Hurricane Frances made landfall at HE 0100 on 9/5/04 near Jenson Beach on the Florida east coast. Customer outages gradually increased as Frances moved inland into PEF’s service area. During HE 0700 on 9/5/04 PEF customer outages exceeded 50,000 and stand at 92,000 as of 0730 hours. Update No. 1: As of 19:00 9/5/04 Tropical Storm Frances continues to move WNW through the PEF service area. PEF has 40 transmission lines and 12 substations out of service due to the storm. Number of customers out of service as of 16:00 is approximately 495,000. Update No 2: As of 11:00 am, 9/6/04 Tropical Storm Frances is nearing the coast of the Florida Panhandle and approximately 663,000 PEF customers are out of service. As of 10:00 am, 40 Transmission lines and 28 substations (12 PEF and 16 Coop) are out of service due to the storm. From 11:20 am to 12:05 pm, PEF lost three generating units at its Crystal River generating site due to storm related causes. Total generation lost was approximately 1530 MW which was replaced with peaking units and other on line generation. No customer outages occurred as a result of the loss of generation. Update #3: By midnight on Sunday, 9/12/04, Progress Energy Florida successfully restored power to essentially all its customers who are able to receive power. Work is continuing on completing permanent repairs to transmission facilities due to Hurricanes Frances and Charley. |
|  | Page |