Summary Mulberry Cogen Event Beginning on April 13, 2015

According to FPSC Rule 25-17.086, “Periods During Which Purchases are Not Required”, Duke Energy Florida (DEF) is providing notice to the Florida Public Service Commission that at the request of DEF the Mulberry Cogen facility agreed to remain offline from 4/13/15 until 4/24/15.  The Mulberry Cogen facility is interconnected to the DEF transmission system at DEF’s Mulberry substation.  DEF took this action due to the need for scheduled maintenance to make repairs to several line switches and disconnects located at the Mulberry Substation.  The event began at approximately 2213 hours on 4/12/15 when the Mulberry Cogen unit went offline.  When the repair work at the Mulberry Substation was completed the event ended at approximately 1608 hours on 4/24/15.  Mulberry Cogen was notified that the scheduled maintenance was complete and the unit resumed normal operation.