| U.S. Department of Energy Electricity Delivery and Energy Reliability Form OE-417 (revised 4/2007) | ELECTRIC EMERGENCY INCIDENT AND DISTURBANCE REPORT | Form Approved OMB No. 1901-0288 Approval Expires 10/31/08 |
| --- | --- | --- |
| NOTICE: This report is mandatory under Public Law 93-275. Failure to comply may result in criminal fines, civil penalties and other sanctions as provided by law. For the sanctions and the provisions concerning the confidentiality of information submitted on this form, see General Information portion of the instructions. Title 18 USC 1001 makes it a criminal offense for any person knowingly and willingly to make to any Agency or Department of the United States any false, fictitious, or fraudulent statements as to any matter within its jurisdiction. |
| RESPONSE DUE: Submit a Schedule 1 as an Emergency Alert report within 1 hour if for incidents 1-8 below. All other initial reports are due within 6 hours of the incident. Submit updates as needed and a final report (Schedules 1 and 2) within 48 hours. |
| SCHEDULE 1 -- ALERT NOTICE (page 1 of 3) |
| Criteria for Filing (Check all that apply) If any box 1-8 on the right is checked, this form must be filed within 1 hour of the incident; check Emergency Alert (for the Alert Status) on Line 1 below. If any box 9-12 on the right is checked AND none of the boxes 1-8 are checked, this form must be filed within 6 hours of the incident; check Normal Alert (for the Alert Status) on Line 1 below. If significant changes have occurred after filing the initial report, refile the form with the changes and check Update (for the Alert Status) on Line 1 below. 48 hours after an incident occurs refile the form with the latest information and check Final (for the Alert Status) on Line 1 below. | 1. [ ] Actual physical attack that causes major interruptions or impacts to critical infrastructure facilities or to operations 2. [ ] Actual cyber or communications attack that causes major interruptions of electrical system operations 3. [ ] Complete operational failure or shut-down of the transmission and/or distribution electrical system 4. [ ] Electrical System Separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system 5. [ ] Uncontrolled loss of 300 Megawatts or more of firm system loads for more than 15 minutes from a single incident 6. [ ] Load shedding of 100 Megawatts or more implemented under emergency operational policy 7. [ ] System-wide voltage reductions of 3 percent or more 8. [ ] Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the electric power system 9. [ ] Suspected physical attacks that could impact electric power system adequacy or reliability; or vandalism which target components of any security systems 10. [ ] Suspected cyber or communications attacks that could impact electric power system adequacy or vulnerability 11. [ X ] Loss of electric service to more than 50,000 customers for 1 hour or more 12. [ ] Fuel supply emergencies that could impact electric power system adequacy or reliability |
| LINE NO. | ORGANIZATION FILING |
| 1. | Alert Status (check one) | Emergency Alert [ ] 1 Hour | Normal Alert [ ] 6 Hours | Update [ ] As required | Final [ X ] 48 Hours |
| 2. | Organization Name | Progress Energy Florida |
| 3. | Address of Principal Business Office | 6565 38th Avenue North, St. Petersburg, FL 33710 |
|  | NAME OF OFFICIAL THAT NEEDS TO BE CONTACTED FOR FOLLOW-UP AND ANY ADDITIONAL INFORMATION |
| 4. | Name | Glenn Dooley |
| 5. | Title | Director, Energy Control |
| 6. | Telephone Number | (727) 344-4180 |
| 7. | FAX Number | (727) 384-7865 |
| 8. | E-mail Address | glenn.dooley@pgnmail.com |
| 9. | Teleconference Number | ( )-( )-( ) | Passcode [ ] | Video [ ] |
|  | INCIDENT AND DISTURBANCE DATA |
| 10. | Geographic Area(s) Affected | PEF experienced customer outages in Alachua, Bay, Brevard, Citrus, Columbia, Dixie, Flagler, Franklin, Gilchrist, Gulf, Hamilton, Hardee, Hernando, Highlands, Jefferson, Lafayette, Lake, Leon, Levy, Madison, Marion, Orange, Osceola, Pasco, Pinellas, Polk, Seminole, Sumter, Suwannee, Taylor, Volusia and Wakulla counties in FL. | Unknown [ ] |
| 11. | Date/Time Incident Began (mm-dd-yy/hh:mm) using 24-hour clock | 08 -21 -08 / 19:00 mo dd yy hh mm |
| 12. | Estimated Date/Time of Restoration (mm-dd-yy/ hh:mm) using 24-hour clock | 08 -25 -08 / 08:00 mo dd yy hh mm | Unknown [ ] |
| 13. | Date/Time Incident Ended (mm-dd-yy/ hh:mm) using 24-hour clock | 08 -25 -08 / 08:00 mo dd yy hh mm |
| 14. | Did the incident/disturbance originate in your system/area? (check one) | Yes [ ] | No [ X ] | Unknown [ ] |
| 15. | Estimate of Amount of Demand Involved (Megawatts) |  | Unknown [ X ] |
| 16. | Estimate of Number of Customers Affected | 65,000 peak customers outages, 430,000 customer outages cumulative for the entire storm | Unknown [ ] |
| 17. | Internal Organizational Tracking Number (if applicable) |  |

| SCHEDULE 1 -- ALERT NOTICE (page 2 of 3) |
| --- |
| 18. Type of Emergency Check all that apply | 19. Cause of Incident Check if known or suspected | 20. Actions Taken Check all that apply |
| Major Physical Attack [ ] | Complete Electrical System Failure [ ] | Shed Firm Load [ ] |
| Major Cyber Attack [ ] | Electrical System Separation – Islanding [ ] | Reduced Voltage [ ] |
| Major Transmission System Interruption [ ] | Inadequate Electric Resources to Serve Load [ ] | Made Public Appeals [ ] |
| Major Generation Inadequacy [ ] | Actual or Suspected Malicious/Intentional Physical [ ] Cyber/Computer/Telecom [ ] Vandalism [ ] | Implemented a Warning, Alert, or Contingency Plan [ X ] |
| Major Distribution System Interruption [ ] | Transmission Equipment [ ] | Shed Interruptible Load [ ] |
| Other [ X ] | Loss of Part or All of a High Voltage Substation or Switchyard (230 kV + for AC 200 kV+ for DC). [ ] | Repaired/Restored [ X ] |
| PEF experienced scattered distribution customer outages due to wind and flooding associated with Tropical Storm Fay. PEF is restoring customers as quickly as possible, but additional customer outages are occurring as Fay moves west through the PEF service area. PEF outages were reduced below 50,000 customers by 2200 hours on 08/21/08, but PEF is still experiencing a substantial number of ongoing scattered distribution customer outages. | Weather or Natural Disaster [ X ] | Other [ ] |
|  | Operator Action(s) [ ] | PEF activated its storm plan due to Tropical Storm Fay. |
|  | Fuel Supply Deficiency (e.g., gas, oil, water)[ ] |  |
|  | Unknown Cause [ ] |  |
|  | Other [ ] |  |
| The timely submission of Form OE-417 by those required to report is mandatory under Section 13(b) of the Federal Energy Administration Act of 1974 (FEAA) (Public Law 93-275), as amended. Failure to respond may result in a penalty of not more than $2,750 per day for each civil violation, or a fine of not more than $5,000 per day for each criminal violation. The government may bring a civil action to prohibit reporting violations, which may result in a temporary restraining order or a preliminary or permanent injunction without bond. In such civil action, the court may also issue mandatory injunctions commanding any person to comply with these reporting requirements. Title 18 U.S.C. 1001 makes it a criminal offense for any person knowingly and willingly to make to any Agency or Department of the United States any false, fictitious, or fraudulent statements as to any matter within its jurisdiction. A person is not required to respond to collection of information unless the form displays a valid OMB number. Data reported on Form OE-417 in Schedule 1, lines 4, 5, 6, 7, 8, and 9 are considered to be confidential. Schedule 2 is considered confidential. All other data are not confidential. (See form General Instructions for a full list of legal citations covering data collection authorization.) |

| U.S. Department of Energy Electricity Delivery and Energy Reliability Form OE-417 (revised 4/2007) | ELECTRIC EMERGENCY INCIDENT AND DISTURBANCE REPORT | Form Approved OMB No. 1901-0288 Approval Expires 10/31/08 |
| --- | --- | --- |
| SCHEDULE 2. -- NARRATIVE DESCRIPTION (page 3 of 3) |
| Provide a description of the event and actions taken to resolve it. Include as appropriate, the cause of the incident/disturbance, equipment damaged, critical infrastructures interrupted and effects on other systems. Be sure to identify: the name of any lost high voltage substations or switchyards, whether there was any electrical system separation (and if there were, what the islanding boundaries were), and the name of the generators and voltage lines that were lost (shown by capacity type and voltage size grouping). If necessary, copy and attach additional sheets. Equivalent documents, containing this information can be supplied to meet the requirement; these include the NERC Disturbance Report and the voluntary National Critical Infrastructure Protection System Form. Along with the filing of Schedule 2, a final (updated) Schedule 1 needs to be filed. Check the Final box on line 1 for Alert Status on Schedule 1 and submit this and the completed Schedule 2 no later than 48 hours after the event. |
| 21. Narrative: PEF had over 50,000 customer outages pending from 1800 hours until 2200 hours on 8/21/08. PEF experienced a peak of approximately 65,000 customer outages at 1900 hours on 8/21/08. PEF continued to experience scattered distribution customer outages due to wind and flooding associated with Tropical Storm Fay throughout the weekend of 8/23-8/24 and into the morning of 8/25. PEF restored customers as quickly as possible, but efforts to restore customers in some communities were affected by localized flooding, high winds, downed trees, and debris from the storm. PEF outages were reduced below 500 customers by 0800 hours on 08/25/08 when nearly all customers who were capable of receiving power had been restored. At 0830 on 8/25 PEF de-activated its Storm Plan (declaring the storm event had ended) and resumed normal operations. Over the entire duration of the weeklong storm PEF restored power to nearly 430,000 customers. Following the storm, flooding from T.S. Fay remained a threat to public safety in some communities. If a home or business is flooded, Progress Energy cannot reconnect power until the electrical system has been inspected by a licensed electrician. |
| Name of Generator(s) and Voltage Line(s) system reference (terminal points) (For these losses, please group by generator type and voltage size) | Suwannee Peaking Unit #3 AVON PARK PL - FT MEADE 230KV (restored) CRYSTAL RIVER PL - NEWBERRY 230KV (restored) HOLOPAW - POINSETT (FP&L) 230KV (restored) SUWANNEE PEAKERS PL - SUWANNEE RIVER 230KV (restored) BRADFORDVILLE WEST - TIE #3 (CITY OF TALLAH) 115KV (ETR Wed. 8/27 – structure damage) BRADFORDVILLE WEST - DRIFTON 115KV (restored) CROSSROADS - KENNETH UG 115KV (restored) CROSSROADS - PASADENA UG 115KV (restored) JASPER - PINE GROVE (GA PWR) 115KV (restored) |
| Identify Name of Lost High Voltage Substation(s) and/or Switchyards (230 kV + for AC -- 200 kV+ for DC) | NONE |
| Identify Electrical System Separation: Islanding Boundaries (DOE needs a basic description/understanding of the linked generating resources to load pockets.) | NONE |
|  | Page | 1 | of | 1 |