QUEUE / PRIORITY OF REQUEST FOR GENERATION INTERCONNECTIONS

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| QueueNo. | General location of Interconnection | County inFlorida | Megawatt Capacity / Addition Summer / Winter | In-Service Date[[1]](#endnote-1) | Date Project Established in Queue | Type of Facility/Primary Fuel[[2]](#endnote-2) | Studies Completed/ Status [[3]](#endnote-3) |
| 107 | Turkey Point Sub 4 | Miami-Dade | 1300/1300 | 6/1/27  | 8/30/07 | N/N | All / Construction Pending |
| 108 | Turkey Point Sub 4 | Miami-Dade | 1300/1300 | 6/1/28  | 8/30/07 | N/N | All / Construction Pending |
| 120 | Cape Canaveral Sub 4 | Brevard | 1243/1365 | 6/1/13 | 4/29/08 | CC/Gas | All / In-Service |
| 121 | Riviera Sub 4 | Palm Beach | 1231/1332 | 6/1/14 | 4/29/08 | CC/Gas | All / In-Service  |
| 122 | Sunshine Sub 4 | Desoto | 100/0 | 12/31/13 | 10/28/08 | Solar/PV | All / Withdrawn |
| 123 | Sunshine Sub 4 | Desoto | 100/0 | 12/31/14 | 11/24/08 | Solar/PV | All / Withdrawn |
| 124 | La Belle Sub  4 | Glades | 100/0 | 6/1/14 | 3/12/09 | Solar/PV | All / Withdrawn  |
| 125 | La Belle Sub 4 | Glades | 100/0 | 12/1/14 | 3/12/09 | Solar/PV | All / Withdrawn  |
| 126 | Calusa Sub 4 | Charlotte | 100/0 | 12/1/12 | 3/16/09 | Solar/PV | All / Withdrawn  |
| 127 | Cape Canaveral Sub 4 | Brevard | 22/22 | 6/1/13 | 6/25/09 | CC/Gas | All / In-Service |
| 130 | Manatee Sub 4 | Manatee | 50/0 | 12/1/12 | 4/2/10 | Solar/PV | All / Withdrawn  |
| 133A | Flamingo Sub | Miami-Dade | 4/4 | 12/31/14 | 2/28/11 | R/W | All / In-Service / IA |
| 133B | Auburn Sub5 | Sarasota | 6.4/6.4 | 2/12/15  | 3/8/11 | R/W | All / In-Service |
| 134 | Port Everglades Sub 4 | Broward | 1260/1375  | 4/1/16 | 5/20/11 | CC/Gas | All / In-Service |
| 136 | Andytown-Orange River 500kV Line 4 | Hendry | 1262/1422 | 6/1/17 | 5/20/11 | CC/Gas | All / Withdrawn |
| 140 | Manatee Sub 4 | Manatee | 26/35 | 8/1/14  | 8/30/11 | CC/Gas | All / In-Service  |
| 141 | Sanford Sub 4 | Volusia | 0/70 | 9/1/13  | 8/30/11 | CC/Gas | All / In-Service  |
| 142 | Fort Myers Sub 4 | Lee | 6/130 | 12/1/15  | 8/30/11 | CC/Gas | All / In-Service |
| 143 | Turkey Point Sub 4 | Miami-Dade | 43/19 | 7/1/14  | 8/30/11 | CC/Gas | All / In-Service  |
| 144 | Whidden Sub 4 | Desoto | 62/62 | 10/1/14 | 11/7/11 | Wind/Wind | FS / Withdrawn |
| 145 | Recway Sub4 | Palm Beach | 85/90 | 05/22/15 | 1/9/12 | ST/W | All / In-Service / IA  |
| 145A | Railway Sub | Miami-Dade | 7.5/7.5 | TBD | 6/7/12 | R/Gas | None / Withdrawn |
| 146 | Whidden Sub 4 | Desoto | 62/62 | 10/1/15 | 7/12/12 | Wind/Wind | FS / Withdrawn |
| 146A | East of Morris Sub | Highlands | 7.5/7.5 | 2015 | 7/26/12 | W/Gas/ST | None / Withdrawn |
| 147 | Riviera Sub 4 | Palm Beach | 12/47 | 6/1/14 | 8/23/12 | CC/Gas | All / In-Service  |
| 148 | Cape Canaveral Sub 4 | Brevard | 0/1 | 6/1/13 | 8/23/12 | CC/Gas | All / In-Service |
| 151 | Putnam Sub 4 | Putnam | 1262/1422 | 6/1/19  | 11/16/12 | CC/Gas | FS / Withdrawn |
| 151A | Avocado Sub | Miami-Dade | 0.165/0.165 | 8/15/13 | 11/26/12 | PV/PV | All / In-Service / IA |
| 152 | Andytown-Orange River 500kV Line4 | Hendry | 1262/1422 | 6/1/18 | 12/7/12 | CC/Gas | All / Withdrawn |
| 153 | Andytown-Orange River 500kV Line4 | Hendry | 1262/1422 | 6/1/20 | 12/7/12 | CC/Gas | All / Withdrawn |
| 154 | Sunshine Sub 4 | Desoto | 74.9/0  | 12/1/16  | 12/30/13 | Solar/PV | All / In-Service |
| 155 | Sunshine Sub 4 | Desoto | 100/0 | 12/1/16 | 12/30/13 | Solar/PV | FS / Withdrawn |
| 156 | Manatee Sub 4 | Manatee | 50/0 | 12/1/16  | 6/23/14 | Solar/PV | All / In-Service |
| 157 | Tucker Sub 4 | Charlotte | 74.9/0 | 12/1/16  | 6/23/14 | Solar/PV | All / In-Service |
| 158 | Poinsett-Martin 500kV Line4 | Okeechobee | 1544/1598 | 6/1/19 | 7/18/14 | CC/Gas | All / Construction Pending |
| 159 | Putnam Sub 4 | Putnam | 1544/1598 | 6/1/19  | 8/4/14 | CC/Gas | SIS / Withdrawn |
| 160 | Manatee Sub 4 | Manatee | 24.9/0 | 12/1/16  | 10/20/14 | Solar/PV | All / In-Service |
| 161 | Fort Myers Sub 4 | Lee | 18/0 | 12/31/15  | 11/10/14 | CC/Gas | FS / SIS / In-Service |
| 162 | Poinsett-Martin 500kV Line4 | Okeechobee | 108/27 | 6/1/19 | 2/17/15 | CC/Gas | All / Construction Pending |
| 163 | Sunshine Sub 4 | Desoto | 74.5/0 | 12/1/17 | 2/27/15 | Solar/PV | All / Construction Underway |
| 164 | Ft Myers Plant-McCarthy (CLE) 138kV4 | Hendry | 74.5/0 | 1/1/18 | 2/27/15 | Solar/PV | All / Construction Underway |
| 165 | Andytown-Orange River 500kV Line4 | Hendry | 200/0 | 12/31/19 | 2/27/15 | Solar/PV | None / Withdrawn |
| 166 | Andytown-Orange River 500kV Line4 | Hendry | 300/0 | 12/31/20 | 2/27/15 | Solar/PV | None / Withdrawn |
| 167 | Andytown-Orange River 500kV Line4 | Collier  | 300/0 | 12/31/19 | 2/27/15 | Solar/PV | None / Withdrawn |
| 168 | Poinsett-Martin 500kV Line4 | Okeechobee | 80/0 | 1/1/20 | 2/27/15 | Solar/PV | FS / SIS Pending |
| 169 | Lauderdale Sub4 | Broward | 1165/1180 | 12/1/16 | 3/18/15 | CT/Gas | All / In-Service |
| 170 | Fort Myers Sub4 | Lee | 466/472 | 12/1/16 | 3/18/15 | CT/Gas | All / In-Service |
| 171 | Andytown-Orange River 500kV Line4 | Hendry | 1652/1625 | 6/1/23 | 3/24/15 | CC/Gas | None / Withdrawn |
| 172 | Sherman Sub 4 | Okeechobee | 62/68 | 9/1/18 | 5/18/15 | ST/W | All / IA / Construction Pending |
| 173 | Fort Myers Sub 4 | Lee | 50/54 | 7/1/16 | 6/29/15 | CT/Gas | FS / SIS / In-Service |
| 173a | Volusia County LFGTE | Volusia | 6.4/6.4 | 12/31/16 | 1/13/16 | R/W | FS/ Withdrawn |
| 174 | Turkey Point Sub4 | Miami-Dade | 30 | 10/26/18 | 1/21/16 | N/N | FS / SIS |
| 175 | Turkey Point Sub4 | Miami-Dade | 30 | 4/29/18 | 1/21/16 | N/N | FS / SIS |
| 176 | Indiantown – Martin #2 230kV Line | Martin | 62/68 | 6/16/19 | 2/4/16 | ST/W | None / Withdrawn |
| 177 | Martin Sub 4 | Martin | 26/41 | 2/1/17 | 4/17/16 | CC/Gas | FS / SIS  |
| 178 | Sanford Sub 4 | Volusia | 143/125 | 9/1/17  | 4/17/16 | CC/Gas | FS / SIS  |
| 179 | Bradford-Putnam 115kV Line 4 | Alachua | 74.5/0 | 12/31/17 | 4/18/16 | Solar/PV | All / Construction Underway |
| 180 | Bradford-Rice 230kV Line4 | Putnam | 74.5/0 | 12/31/17 | 4/18/16 | Solar/PV | All / Construction Underway |
| 181 | Norris-Volusia 230kV Line 4 | Volusia | 74.5/0 | 1/2/19 | 4/18/16 | Solar/PV | FS / SIS Pending |
| 182 | Emerson-Treasure 230kV Line 4 | St. Lucie | 74.5/0 | 1/2/19 | 4/18/16 | Solar/PV | FS / SIS Pending |
| 183 | Manville Tap Sub 4 | Putnam | 74.5/0 | 1/1/20 | 4/18/16 | Solar/PV | FS / SIS Pending |
| 184 | Sherman-Treasure 230kV Line 4 | St. Lucie | 74.5/0 | 1/1/20 | 4/18/16 | Solar/PV | FS / Withdrawn |
| 185 | Florida City-Princeton 138kV 4 | Miami-Dade | 74.5/0 | 1/1/20 | 4/18/16 | Solar/PV | FS / SIS Pending |
| 186 | Bradford-Putnam 115kV Line 4 | Alachua | 74.5/0 | 1/1/20 | 4/18/16 | Solar/PV | None / Withdrawn |
| 187 | Sunshine Sub 4 | Desoto | 74.5/0 | 1/1/20 | 4/18/16 | Solar/PV | FS / SIS Pending |
| 188 | Poinsett-Martin 500kV Line 4 | Okeechobee | 74.5/0 | 1/1/21 | 4/18/16 | Solar/PV | None / Withdrawn |
| 189 | Manville Tap Sub 4 | Putnam | 74.5/0 | 12/31/19 | 4/18/16 | Solar/PV | None / Withdrawn |
| 190 | Wiremill Sub | Baker | 83.2/75.6 | 6/1/21 | 4/29/16 | Solar/PV | None / Withdrawn |
| 191 | Keentown-Manatee 230kV 4 | Manatee | 74.5/0 | 6/30/19 | 5/9/16 | Solar/PV | FS / SIS / SIS Re-study / FAS / IA Pending |
| 192 | Manatee-SR70 230kV 4 | Manatee | 74.5/0 | 6/30/19 | 5/9/16 | Solar/PV | FS / SIS / SIS Re-study / FAS /IA Pending |
| 193 | Nash Sub4 | Columbia | 74.9/0 | 6/1/20 | 5/13/16 | Solar/PV | All / IA |
| 194 | Davis-Florida City #2 138kV4 | Miami-Dade | 74.5/0 | 1/1/19 | 6/16/16 | Solar/PV | FS / SIS Pending |
| 195 | Barefoot-Emerson 230kV4 | Brevard | 74.5/0 | 1/2/18 | 8/30/16 | Solar/PV | All / Construction Underway |
| 196 | Sherman-Treasure 230kV4 | St Lucie | 74.5/0 | 1/2/18 | 8/30/16 | Solar/PV | All / Construction Underway |
| 197 | Sherman-Treasure 230kV4 | St Lucie | 74.5/0 | 1/1/21 | 8/30/16 | Solar/PV | FS / Withdrawn |
| 198 | Barefoot-Emerson 230kV4 | Indian River | 74.5/0 | 1/1/18 | 9/19/16 | Solar/PV | All / Construction Underway |
| 199 | Malabar-Midway 230kV4 | Indian River | 74.5/0 | 12/1/17 | 9/19/16 | Solar/PV | All / Construction Underway |
| 200 | Wiremill Tap4 | Baker | 74.5/0 | 1/1/20 | 9/19/16 | Solar/PV | FS / SIS Pending |
| 201 | Columbia-Suwannee 115kV4 | Columbia | 74.5/0 | 1/1/19 | 9/19/16 | Solar/PV | FS / SIS Pending |
| 202 | Columbia-Suwannee 115kV4 | Suwannee | 74.5/0 | 1/1/20 | 9/19/16 | Solar/PV | FS / SIS Pending |
| 203 | Mars 982 Substation4 | Brevard | 74.5/0 | 1/1/20 | 9/27/16 | Solar/PV | FS / SIS Pending |
| 204 | Mars 982 Substation4 | Brevard | 74.5/0 | 1/1/19 | 9/27/16 | Solar/PV | None / Withdrawn |
| 205 | Poinsett-Martin 500kV Line4 | Okeechobee | 160 | 6/1/19 | 9/28/16 | CC/Gas | FS / SIS / Construction Pending |
| 206 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/20 | 9/28/16 | Solar/PV | FS / SIS Pending |
| 207 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/20 | 9/28/16 | Solar/PV | None / Withdrawn |
| 208 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/21 | 9/28/16 | Solar/PV | None / Withdrawn |
| 209 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/21 | 9/28/16 | Solar/PV | None / Withdrawn |
| 210 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/21 | 9/28/16 | Solar/PV | None / Withdrawn |
| 211 | Lindgren - Turkey Point 230kV4 | Miami-Dade | 74.5/0 | 1/1/20 | 9/28/16 | Solar/PV | None / Withdrawn |
| 212 | Columbia-Macedonia (GTC) 115kV4 | Baker | 60/0 | 6/30/19 | 10/14/16 | Solar/PV | FS / SIS / FAS / IA Pending |
| 213 | Putnam-Rice 230kV4 | Putnam | 20/0 | 10/30/18 | 10/14/16 | Solar/PV | FS / SIS / Withdrawn |
| 214 | Capri-Rattlesnake 138kV4 | Collier | 74.5/0 | 1/1/20 | 10/21/16 | Solar/PV | None / Withdrawn |
| 215 | Emerson-Hartman (FTP) 138kV4 | St Lucie | 74.5/0 | 1/1/20 | 10/21/16 | Solar/PV | None / Withdrawn |
| 216 | Ft Myers Plant-McCarthy (CLE) 138kV4 | Hendry | 74.5/0 | 1/1/20 | 10/21/16 | Solar/PV | None / Withdrawn |
| 217 | Bradford Columbia 115kV4 | Union | 74.5/0 | 1/1/20 | 10/21/16 | Solar/PV | None / Withdrawn |
| 218 | Bradford Columbia 115kV4 | Union | 74.5/0 | 1/1/20 | 10/21/16 | Solar/PV | None / Withdrawn |
| 219 | Sunshine Substation4 | Desoto | 74.5/0 | 1/1/20 | 11/16/16 | Solar/PV | None / Withdrawn |
| 220 | Buckingham-Collier 230kV4 | Collier | 74.5/0 | 1/1/20 | 12/7/16 | Solar/PV | None / Withdrawn |
| 221 | Buckingham-Collier 230kV4 | Collier | 74.5/0 | 1/1/21 | 12/7/16 | Solar/PV | None / Withdrawn |
| 222 | Duval-Raven 230kV4 | Baker | 74.5/0 | 1/1/20 | 12/20/16 | Solar/PV | None / Withdrawn |
| 223 | Duval-Raven 230kV4 | Baker | 74.5/0 | 1/1/20 | 12/20/16 | Solar/PV | None / Withdrawn |
| 224 | Ft Myers Plant-McCarthy (CLE) 138kV4 | Hendry | 74.5/0 | 1/1/20 | 2/7/17 | Solar/PV | None / Withdrawn |
| 225 | Korona-Putnam 230kV4 | Flagler | 74.5/0 | 1/1/20 | 2/10/17 | Solar/PV | None / Withdrawn |
| 226 | Korona-Putnam 230kV4 | Flagler | 74.5/0 | 1/1/20 | 2/10/17 | Solar/PV | FS / Withdrawn |
| 227 | Malabar-Midway 230kV4 | Indian River | 74.5/0 | 1/1/20 | 2/10/17 | Solar/PV | None / Withdrawn |
| 228 | Andytown-Martin 500kV4 | Palm Beach | 74.5/0 | 1/1/20 | 2/10/17 | Solar/PV | None / Withdrawn |
| 229 | Indiantown-Warfield 230kV4 | Martin | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 230 | Putnam-Hastings 115kV4 | Putnam | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 231 | Millcreek-St Johns #1 115kV4 | St Johns | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 232 | Davis-Florida City #2 138kV4 | Miami-Dade | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 233 | Broward-Sugar-Yamato 230kV4 | Palm Beach | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 234 | Anhinga-Florida City 138kV4 | Miami-Dade | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 235 | Martin-Poinsett 500kV4 | Okeechobee | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 236 | Martin-Poinsett 500kV4 | Okeechobee | 74.5/0 | 1/1/20 | 2/13/17 | Solar/PV | None / Withdrawn |
| 237 | Bunell-Putnam 115kV4 | Flagler | 74.5/0 | 1/1/20 | 3/13/17 | Solar/PV | None / Withdrawn |
| 238 | Malabar-Midway 230kV4 | Indian River | 74.5/0 | 1/1/20 | 3/13/17 | Solar/PV | None / Withdrawn |
| 239 | Keentown-Manatee 230kV4 | Manatee | 74.5/0 | 1/1/20 | 3/13/17 | Solar/PV | None / Withdrawn |
| 240 | Okeechobee-Morris (SEC) 69kV4 | Okeechobee | 50/0 | 1/1/20 | 3/13/17 | Solar/PV | None / Withdrawn |
| 241 | Okeelanta-South Bay 138kV4 | Palm Beach | 74.5/0 | 1/1/20 | 3/13/17 | Solar/PV | None / Withdrawn |
| 242 | Martin-South Bay 69kV4 | Palm Beach | 74.5/0 | 1/1/20 | 3/13/17 | Solar/PV | None / Withdrawn |
| 243 | Lauderdale Plant-String Bus 230kV4 | Broward | 1210 | 6/1/22 | 3/20/17 | CC/Gas | FS / SIS / FAS / Construction Pending |
| 244 | 137th Avenue-Davis 230kV4 | Miami-Dade | 74.5/0 | 1/1/19 | 3/31/17 | Solar/PV | None / Withdrawn |
| 245 | Malabar-Midway 230kV4 | Indian River | 74.5/0 | 1/1/20 | 3/31/17 | Solar/PV | None / Withdrawn |
| 246 | Davis-Florida City #2 138kV4 | Miami-Dade | 50/0 | 1/1/20 | 3/31/17 | Solar/PV | None / Withdrawn |
| 247 | Manatee Sub 4 | Manatee | 40/31 | 6/1/17  | 4/10/17 | CC/Gas | None / FS Pending |
| 248 | Turkey Point Sub 4 | Miami-Dade | 4/47 | 3/1/18  | 4/10/17 | CC/Gas | FS / SIS Pending |
| 249 | Columbia-Suwannee 115kV | Suwannee | 35/0 | 3/1/19 | 4/20/17 | Solar/PV | None / Withdrawn |
| 250 | Columbia-Suwannee 115kV4 | Columbia | 29.8/0 | 5/1/19 | 5/3/17 | Solar/PV | FS / SIS Pending |
| 251 | Poinsett-Holopaw 230kV4 | Osceola | 74.5/0 | 1/1/20 | 5/25/17 | Solar/PV | FS / SIS Pending |
| 252 | Springbank-Seminole Plant 230kV4 | Clay | 74.5/0 | 1/1/20 | 5/25/17 | Solar/PV | None / Withdrawn |
| 253 | Malabar-Midway 230kV4 | St Lucie | 74.5/0 | 1/1/20 | 5/25/17 | Solar/PV | None / Withdrawn |
| 254 | Bradford-Putnam 115kV4 | Putnam | 35/0 | 12/30/18 | 6/22/17 | Solar/PV | FS / SIS / FAS Pending |
| 255 | Buckingham-Collier 230kV4 | Collier | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 256 | Duval-Yulee 230kV4 | Nassau | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 257 | Duval-Hatch 500kV4 | Nassau | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 258 | Hercules-Tuckers 230kV4 | Charlotte | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 259 | Bradford-Duval 230kV4 | Bradford | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 260 | Corbett-Westlake 230kV4 | Palm Beach | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 261 | Indiantown-Martin #1 230kV4 | Martin | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 262 | Bradford-Columbia 115kV4 | Union | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 263 | Cedar-Corbett 230kV4 | Palm Beach | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 264 | Davis-Florida City #2 138kV4 | Miami-Dade | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 265 | Korona-Putnam 230kV4 | Flagler | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 266 | Putnam-St Johns 115kV4 | St. Johns | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 267 | Bridge-Indiantown #2 230kV4 | Martin | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 268 | Bunnell-Putnam 230kV4 | Flagler | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / Withdrawn |
| 269 | Corbett-Westlake 230kV4 | Palm Beach | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | FS / SIS Pending |
| 270 | Indiantown-Warfield 230kV4 | Martin | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 271 | Keentown-Manatee 230kV4 | Manatee | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 272 | Davis-Florida City #2 138kV4 | Miami-Dade | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 273 | Davis-Florida City #2 138kV4 | Miami-Dade | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 274 | Andytown-Martin 500kV4 | Palm Beach | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / Withdrawn |
| 275 | Sherman-Treasure 230kV4 | St. Lucie | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 276 | Bradford-Columbia 115kV4 | Union | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 277 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 278 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 279 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/2023 | 6/27/17 | Solar/PV | None / FS Pending |
| 280 | Andytown-Orange River 500kV4 | Hendry | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / FS Pending |
| 281 | Martin-Poinsett 500kV4 | Okeechobee | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 282 | Martin-Poinsett 500kV4 | Okeechobee | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 283 | Martin-Poinsett 500kV4 | Okeechobee | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / Withdrawn |
| 284 | Korona-Putnam 230kV4 | Flagler | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / Withdrawn |
| 285 | Martin-Poinsett 500kV4 | Indian River | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 286 | Malabar-Midway 230kV4 | Indian River | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 287 | Okeechobee-Morris 69kV4 | Okeechobee | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 288 | Springbank-Seminole Plant 230kV4 | Clay | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 289 | Florida City-Princeton 138kV4 | Miami-Dade | 74.5/0 | 1/1/2021 | 6/27/17 | Solar/PV | None / FS Pending |
| 290 | Emerson-Hartman 138kV4 | St. Lucie | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 291 | Skylight-Sunshine 230kV4 | Desoto | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 292 | Malabar-Midway 230kV4 | St. Lucie | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 293 | Duval-Yulee 230kV4 | Nassau | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 294 | Corbett-Westlake 230kV4 | Palm Beach | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 295 | Bradford-Putnam 115kV4 | Alachua | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 296 | Buckingham-Collier 230kV4 | Collier | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / Withdrawn |
| 297 | Malabar-Midway 230kV4 | Indian River | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 298 | Sherman-Treasure 230kV4 | St. Lucie | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 299 | Duval-Raven 230kV4 | Baker | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 300 | Duval-Raven 230kV4 | Baker | 74.5/0 | 1/1/2022 | 6/27/17 | Solar/PV | None / FS Pending |
| 301 | Martin-Sherman 230kV4 | Okeechobee | 74.5/0 | 1/1/2023 | 6/27/17 | Solar/PV | None / FS Pending |
| 302 | Malabar-Midway 230kV4 | Brevard | 74.5/0 | 1/1/2023 | 6/27/17 | Solar/PV | None / FS Pending |
| 303 | Bridge-Indiantown #1 230kV4 | Martin | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / FS Pending |
| 304 | Manatee-Big Bend #2 230kV4 | Manatee | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / Withdrawn |
| 305 | Bradford-Hampton 138kV4 | Bradford | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / FS Pending |
| 306 | Malabar-Midway 230kV4 | Brevard | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / FS Pending |
| 307 | Alva-Corbett 230kV4 | Hendry | 74.5/0 | 1/1/2020 | 6/27/17 | Solar/PV | None / FS Pending |
| 308 | Korona-Putnam 230kV4 | Flagler | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / Withdrawn |
| 309 | Deland-Putnam 115kV4 | Volusia | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / FS Pending |
| 310 | Duval-Poinsett 500kV4 | Volusia | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / Withdrawn |
| 311 | Duval-Poinsett 500kV4 | Volusia | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / Withdrawn |
| 312 | Duval-Poinsett 500kV4 | Volusia | 74.5/0 | 1/1/2024 | 6/27/17 | Solar/PV | None / Withdrawn |
| 313 | Manatee Sub4 | Manatee | 27/106 | 6/30/18 | 7/6/17 | CC/Gas | None / FS Pending |
| 314 | Turkey Point Sub4 | Miami-Dade | 27/106 | 6/30/18 | 7/6/17 | CC/Gas | None / FS Pending |
| 315 | Springbank-Seminole Plant 230kV4 | Clay | 74.5/0 | 1/1/21 | 8/9/17 | Solar/PV | None / FS Pending |
| 316 | Springbank-Seminole Plant 230kV4 | Clay | 74.5/0 | 1/1/21 | 8/9/17 | Solar/PV | None / FS Pending |
| 317 | Cedar-Corbett 230kV4 | Palm Beach | 74.5/0 | 1/1/21 | 8/9/17 | Solar/PV | None / FS Pending |
| 318 | Sunshine Sub4 | Desoto | 0/4 | 3/15/18  | 9/14/17 | Battery | FS |
| 319 | Whidden Sub4 | Desoto | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 320 | Whidden Sub4 | Desoto | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 321 | Whidden Sub4 | Desoto | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 322 | Whidden Sub4 | Desoto | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 323 | Bridge Sub4 | Martin | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 324 | Bridge Sub4 | Martin | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 325 | Bridge Sub4 | Martin | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 326 | Bridge Sub4 | Martin | 74.9/74.9 | 10/1/20 | 9/21/17 | Solar/PV | None / FS Pending |
| 327 | Rice Sub4 | Putnam | 74.5/0 | 01/30/20 | 9/22/17 | Solar/PV | FS / SIS Pending |
| 328 | Tucker Sub 4 | Charlotte | 0/10 | 3/15/18  | 10/20/17 | Battery | FS / SIS Pending |
| 329 | Millcreek-Tocoi 230kV4 | St Johns | 74.5/74.5 | 1/30/20 | 1/30/18 | Solar/PV | None / FS Pending |
| 330 | Korona-Putnam 230kV4 | Flagler | 74.5/74.5 | 1/30/20 | 1/30/18 | Solar/PV | None / FS Pending |
| 331 | General Electric-Magnolia 115kV4 | Volusia | 74.5/0 | 1/1/22 | 2/13/18 | Solar/PV | None / FS Pending |
| 332 | Sherman-Treasure 230kV4 | St. Lucie | 74.5/0 | 1/1/22 | 2/13/18 | Solar/PV | None / FS Pending |
| 333 | Duval-Yulee 230kV4 | Nassau | 74.5/0 | 1/1/22 | 2/13/18 | Solar/PV | None / FS Pending |
| 334 | Sherma-Treasure 230kV4 | St. Lucie | 74.5/0 | 1/1/22 | 2/13/18 | Solar/PV | None / FS Pending |
| 335 | Sanford Sub4 | Volusia | 314/108 | 2019  | 2/13/18 | CC/Gas | None / FS Pending |
| 336 | Fort Myers Sub4 | Lee | 309.5/147 | 2019 | 2/13/18 | CC/Gas | None / FS Pending |
| 337 | Ft Myers Plant-McCarthy (CLE) 138kV4 | Hendry | 74.5/0 | 1/1/21 | 3/21/18 | Solar/PV | None / FS Pending |
| 338 | Alva-Corbett 230kV4 | Hendry | 74.5/0 | 1/1/21 | 3/21/18 | Solar/PV | None / FS Pending |
| 339 | Alva-Corbett 230kV4 | Hendry | 74.5/0 | 1/1/21 | 3/21/18 | Solar/PV | None / FS Pending |
| 340 | Heritage-Eldora 230kV4 | Indian River | 74.5/0 | 1/1/21 | 3/27/18 | Solar/PV | None / FS Pending |
| 341 | Martin Sub 4 | Martin | 135/27 | 6/30/18 | 4/23/18 | CC/Gas | None / FS Pending |
| 342 | Cape Canaveral Sub 4 | Brevard | 89/48 | 12/31/18 | 4/24/18 | CC/Gas | None / FS Pending |
| 343 | Riviera Sub 4 | Palm Beach | 87/54 | 12/31/18 | 4/24/18 | CC/Gas | None / FS Pending |

1. 1 The In-Service date shown is the Commercial Operation Date until the In-Service date is determined pursuant to the Tariff [↑](#endnote-ref-1)
2. 2 Combined Cycle = CC; Combustion Turbine = CT; Steam Turbine = ST; Reciprocal Engine = R; Natural Gas = Gas; Waste = W, Coal = C, Nuclear = N Photovoltaic = PV; Biogas = B [↑](#endnote-ref-2)
3. 3 Feasibility Study = FS; Facilities Study = FAS; System Impact Study = SIS; Optional Study = OPT; Interconnection Agreement = IA; Trial Operation = TO; Studies available upon request, contact Laura Murphy (305-442-5240 or laura.murphy@fpl.com)

4 Project has requested Network Resource Interconnection Service.

5 Distribution Wheeling [↑](#endnote-ref-3)