QUEUE / PRIORITY OF REQUEST FOR GENERATION INTERCONNECTIONS

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| QueueNo. | General location of Interconnection | County inFlorida | Megawatt Capacity/Addition Summer/Winter | In-Service Date[[1]](#endnote-1) | Date Project Established in Queue | Type of Facility/Primary Fuel [[2]](#endnote-2) | Studies Completed/ Status [[3]](#endnote-3) |
| 107 | Turkey Point Sub 4, 5 | Miami-Dade | 1300/1300 | 06/01/27  | 08/30/07 | N/N | All / Construction Pending |
| 108 | Turkey Point Sub 4, 5 | Miami-Dade | 1300/1300 | 06/01/28  | 08/30/07 | N/N | All / Construction Pending |
| 114 | St. Lucie Sub 4, 5 | St. Lucie | 147/147 | 11/01/11 | 04/15/08 | N/N | All / In-Service |
| 115 | St. Lucie Sub 4, 5 | St. Lucie | 167/167 | 06/01/12 | 04/15/08 | N/N | All / In-Service |
| 116 | Turkey Point Sub 4, 5 | Miami-Dade | 142/142 | 12/01/12 | 04/15/08 | N/N | All / In-Service |
| 117 | Turkey Point Sub 4, 5 | Miami-Dade | 142/142 | 05/01/12 | 04/15/08 | N/N | All / In-Service |
| 118 | Sunshine Sub 4, 5 | Desoto | 25/0 | 12/31/09 | 04/23/08 | Solar/PV | All / In-Service |
| 120 | Cape Canaveral Sub 4, 5 | Brevard | 1243/1365 | 06/01/13 | 04/29/08 | CC/Gas | All / In-Service |
| 121 | Riviera Sub 4, 5 | Palm Beach | 1231/1332 | 06/01/14 | 04/29/08 | CC/Gas | All / In-Service  |
| 122 | Sunshine Sub 4, 5 | Desoto | 100/0 | 12/31/13 | 10/28/08 | Solar/PV | All / Withdrawn  |
| 123 | Sunshine Sub 4, 5 | Desoto | 100/0 | 12/31/14 | 11/24/08 | Solar/PV | All / Withdrawn  |
| 124 | La Belle Sub  4, 5 | Glades | 100/0 | 06/01/14 | 03/12/09 | Solar/PV | All / Withdrawn  |
| 125 | La Belle Sub 4, 5 | Glades | 100/0 | 12/01/14 | 03/12/09 | Solar/PV | All / Withdrawn  |
| 126 | Calusa Sub 4, 5 | Charlotte | 100/0 | 12/01/12 | 03/16/09 | Solar/PV | All / Withdrawn  |
| 127 | Cape Canaveral Sub 4 | Brevard | 22/22 | 06/01/13 | 06/25/09 | CC/Gas | All / In-Service |
| 128 | Buckeye Sub 4 | Manatee | 67/68 | 04/02/12 | 11/17/09 | CT/W | All/ Withdrawn |
| 129 | Okeechobee-Morris 69kV Line 4 | Highlands | 25.5/25.5 | 03/01/13 | 01/12/10 | CT/W | FS / SIS / Withdrawn |
| 130 | Manatee Sub 4 | Manatee | 50/0 | 12/01/12 | 04/02/10 | Solar/PV | All / Withdrawn  |
| 130A | Auburn Sub | Sarasota | 6.5/6.5 | 01/01/12 | 05/03/10 | R/W | All / Withdrawn |
| 130C | Notre Dame Sub 6 | Charlotte | 4.25/4.25 | 10/10/11 | 06/08/10 | R/W | All / In-Service |
| 131 | Okeechobee-Morris 69kV Line | Okeechobee | 25/25 | Late 2012 | 10/22/10 | Wind/Wind | All / Withdrawn |
| 132 | Osceola-South Bay 138kV Line 4 | Palm Beach | 151/151 | 06/01/12 | 12/08/10 | Wind/Wind | FS / SIS / Withdrawn |
| 133 | Quaker Oats Sub 4 | Palm Beach | 40/40 | 06/01/12 | 12/08/10 | B/B | FS / Withdrawn |
| 133A | Flamingo Sub | Miami-Dade | 4/4 | TBD | 02/28/11 | R/W | All / Construction On Hold |
| 133B | Auburn Sub6 | Sarasota | 6.4/6.4 | 02/12/15  | 03/08/11 | R/W | All / In-Service |
| 134 | Port Everglades Sub 4,5 | Broward | 1260/1375  | 06/01/16 | 05/20/11 | CC/Gas | All / Construction Underway |
| 135 | Andytown-Orange River 500kV Line 4,5 | Hendry | 1262/1422 | 06/01/16 | 05/20/11 | CC/Gas | All / Withdrawn |
| 136 | Andytown-Orange River 500kV Line 4 | Hendry | 1262/1422 | 06/01/17 | 05/20/11 | CC/Gas | All / Withdrawn |
| 137 | Andytown-Orange River 500kV Line 4 | Hendry | 1262/1422 | 06/01/18 | 05/20/11 | CC/Gas | None / Withdrawn |
| 138 | Putnam Sub 4,5 | Putnam | 1262/1422 | 06/01/17 | 05/20/11 | CC/Gas | All/ Withdrawn |
| 139 | Martin Sub 4,5 | Martin | 22/6 | 11/01/11 | 08/30/11 | CC/Gas | All / In-Service  |
| 140 | Manatee Sub 4,5 | Manatee | 26/35 | 08/01/14  | 08/30/11 | CC/Gas | All / In-Service  |
| 141 | Sanford Sub 4,5 | Volusia | 0/70 | 09/01/13  | 08/30/11 | CC/Gas | All / In-Service  |
| 142 | Fort Myers Sub 4,5 | Lee | 6/130 | 12/01/15  | 08/30/11 | CC/Gas | All / Construction Underway |
| 143 | Turkey Point Sub 4,5 | Miami-Dade | 43/19 | 07/01/14  | 08/30/11 | CC/Gas | All / In-Service  |
| 144 | Whidden Sub 4 | Desoto | 62/62 | 10/01/14 | 11/07/11 | Wind/Wind | FS / Withdrawn |
| 145 | Recway Sub4, 5  | Palm Beach | 85/90 | 05/22/15 | 01/09/12 | ST/W | All / In-Service  |
| 145A | Railway Sub | Miami-Dade | 7.5/7.5 | TBD | 06/07/12 | R/Gas | None / Withdrawn |
| 146 | Whidden Sub 4 | Desoto | 62/62 | 10/01/15 | 07/12/12 | Wind/Wind | FS / Withdrawn |
| 146A | East of Morris Sub | Highlands | 7.5/7.5 | 2015 | 07/26/12 | W/Gas/ST | None / Withdrawn |
| 147 | Riviera Sub 4 | Palm Beach | 12/47 | 06/01/14 | 08/23/12 | CC/Gas | All / In-Service  |
| 148 | Cape Canaveral Sub 4 | Brevard | 0/1 | 06/01/13 | 08/23/12 | CC/Gas | All / In-Service |
| 149 | St. Lucie Sub 4, 5 | St. Lucie | 0/20 | 11/01/12 | 10/02/12 | N/N | All / In-Service |
| 150 | St. Lucie Sub 4, 5 | St. Lucie | 0/20 | 11/01/12 | 10/02/12 | N/N | All / In-Service |
| 151 | Putnam Sub 4,5 | Putnam | 1262/1422 | 06/01/19  | 11/16/12 | CC/Gas | FS / Withdrawn |
| 151A | Avocado Sub | Miami-Dade | 0.165/0.165 | 08/15/13 | 11/26/12 | PV/PV | All / In-Service |
| 152 | Andytown-Orange River 500kV Line 4,5 | Hendry | 1262/1422 | 06/01/18 | 12/07/12 | CC/Gas | All / Withdrawn |
| 153 | Andytown-Orange River 500kV Line 4 | Hendry | 1262/1422 | 06/01/20 | 12/07/12 | CC/Gas | All / Withdrawn |
| 154 | Sunshine Sub 4, 5 | Desoto | 74.9/0  | 12/01/16  | 12/30/13 | Solar/PV | SIS re-study / Facility re-study pending  |
| 155 | Sunshine Sub 4 | Desoto | 100/0 | 12/01/16 | 12/30/13 | Solar/PV | FS / Withdrawn |
| 156 | Manatee Sub 4, 5 | Manatee | 50/0 | 12/01/16  | 06/23/14 | Solar/PV | SIS re-study / Facility re-study pending  |
| 157 | Tucker Sub 4, 5 | Charlotte | 74.9/0 | 12/01/16  | 06/23/14 | Solar/PV | SIS re-study / Facility Re-Study Pending  |
| 158 | Poinsett-Martin 500kV Line 4, 5 | Okeechobee | 1544/1598 | 06/01/19 | 07/18/14 | CC/Gas | All / Construction Pending |
| 159 | Putnam Sub 4,5 | Putnam | 1544/1598 | 06/01/19  | 08/04/14 | CC/Gas | SIS / Withdrawn |
| 160 | Manatee Sub 4, 5 | Manatee | 24.9/0 | 12/01/16  | 10/20/14 | Solar/PV | SIS re-study / Facility Re-Study Pending |
| 161 | Fort Myers Sub 4,5 | Lee | 18/0 | 12/31/15  | 11/10/14 | CC/Gas | None / SIS Pending / Construction Underway |
| 162 | Poinsett-Martin 500kV Line 4, 5 | Okeechobee | 108/27 | 06/01/19 | 02/17/15 | CC/Gas | All / Construction Pending |
| 163 | Sunshine Sub 4 | Desoto | 200/0 | 12/31/19 | 02/27/15 | Solar/PV | FS / SIS Pending  |
| 164 | Corbett-Alva 230kV Line4 | Hendry | 200/0 | 12/31/19 | 02/27/15 | Solar/PV | FS / SIS Pending  |
| 165 | Andytown-Orange River 500kV Line 4 | Hendry | 200/0 | 12/31/19 | 02/27/15 | Solar/PV | None / FS Pending |
| 166 | Andytown-Orange River 500kV Line 4 | Hendry | 300/0 | 12/31/20 | 02/27/15 | Solar/PV | None / FS Pending |
| 167 | Andytown-Orange River 500kV Line 4 | Collier  | 300/0 | 12/31/19 | 02/27/15 | Solar/PV | None / FS Pending |
| 168 | Poinsett-Martin 500kV Line 4 | Okeechobee | 200/0 | 12/31/19 | 02/27/15 | Solar/PV | None / FS Pending |
| 169 | Lauderdale Sub4 | Broward | 1165/1180 | 12/01/16 | 03/18/15 | CT/Gas | FS / SIS Pending  |
| 170 | Fort Myers Sub4 | Lee | 466/472 | 12/01/16 | 03/18/15 | CT/Gas | SIS / Facility Pending  |
| 171 | Andytown-Orange River 500kV Line 4 | Hendry | 1652/1625 | 06/01/23 | 03/24/15 | CC/Gas | None / FS Pending |
| 172 | Sherman Sub 4 | Okeechobee | 62/68 | 09/01/18 | 05/18/15 | ST/W | SIS / Facility Pending |
| 173 | Fort Myers Sub 4 | Lee | 50/54 | 07/01/16 | 06/29/15 | CT/Gas | None / FS Pending |
| 173a | Volusia County LFGTE | Volusia | 8/8 | 12/31/16 | 1/13/16 | R/W | All / FS Pending |
| 174 | Turkey Point Sub | Miami-Dade | 30 | 12/1/2017 | 1/21/16 |  | None/FS Pending |
| 175 | Turkey Point Sub | Miami-Dade | 30 | 12/1/2018 | 1/21/16 |  | None/FS Pending |
| 176 | Indiantown – Martin #2 230kV Line | Martin | 62/68 | 6/16/19 | 2/4/16 | ST/W | None/FS Pending |

1. 1 The In-Service date shown is the Commercial Operation Date until the In-Service date is determined pursuant to the Tariff [↑](#endnote-ref-1)
2. 2 Combined Cycle = CC; Combustion Turbine = CT; Steam Turbine = ST; Reciprocal Engine = R; Natural Gas = Gas; Waste = W, Coal = C, Nuclear = N Photovoltaic = PV; Biogas = B [↑](#endnote-ref-2)
3. 3 Feasibility Study = FS; Facilities Study = FAS; System Impact Study = SIS; Optional Study = OPT; Interconnection Agreement = IA; Trial Operation = TO; Studies available upon request, contact Mr. Edgard Arroyo (305-442-5704 or edgard.arroyo@fpl.com)

4 Project has requested Network Resource Interconnection Service.

5 Project has been requested to be designated as a Network Resource or a valid request has been submitted for Long-Term Firm Point-to-Point Transmission Service for the full or partial output of the project.

6 Distribution Wheeling [↑](#endnote-ref-3)