Factors affecting short-term/non-firm ATC from Southern and JEA to other FL entities)

Below is a discussion of several factors that over the past year have resulted in lower non-firm and short-term firm ATC from Southern and JEA to other FL entities.  These factors are not in any specific order, and are believed to be some of the reasons that collectively or individually contribute to the change in ATC.

- A switching alternative used by FPL to mitigate an overload condition on the FPL system is no longer available due to ratings being exceeded on third party transmission facilities.

- Multiple daily and longer term clearances of existing FPL and third party transmission facilities on the FL system for maintenance and construction purposes.  These clearances are posted on the OATI OASIS @ www.oatioasis.com  by selecting FRCC and under documents “Outages”.

- Multiple topological changes (e.g., transmission expansion/modifications/upgrades to meet long-term firm obligations, ratings of transmission facilities changes, switching options not being available due to system expansion, increased loadings, clearances, dispatch alteration due to increased fuel costs) on the FPL and other systems in FL.

- Addition of FPL and third party generation resources on the FL system to serve firm load obligations resulting in modification to dispatch which in turn causes lower ATCs in certain parts of the system.