### DATE:  	July 20, 2016

SUBJECT:  	2016 FPL Local Transmission Network Planning Process Kick-Off Meeting

______________________________________________________________________________

Meeting Minutes

Date:		July 20, 2016

Time:		10:00 am

Place:		FPL’s Lejeune-Flagler Office

Subject:	2016 FPL Local Transmission Network Planning Process Kick-Off Meeting

Attendees:

George Smith		Lee County EC

Gail McKaig		Seminole Electric

Carl Turner		FMPA

Frank Prieto		FPL

Kiko Barredo		FPL

Omar Carrillo		FPL

Luke Whiting		FPL

Telephone participants:

Dave Darden		Tampa Electric Company

Kristy Baksh		Tampa Electric Company

Raiza Calderon	Tampa Electric Company

Mathew Larussa	Tampa Electric Company

Richard Gerardo	Tampa Electric Company

Patrick McGovern	Georgia Transmission Co.

Steve Sim		FPL

Meeting Minutes:

- FPL’s Sr. Manager of Transmission Planning, Frank Prieto, Kicked-Off the meeting with introductions, opening comments, safety and emergency evacuation procedures.  Frank began the meeting discussion with the meeting purpose and reminders of Standards of Conduct and that Critical Energy Infrastructure Information may be discussed during the meeting.  An open dialogue and sharing of information between the Customers / Stakeholders and the Transmission Provider was encouraged.

- Frank then turned the meeting over to FPL’s Kiko Barredo and Omar Carrillo to present the inputs to the Local Network planning process.  Kiko then led an open discussion of forecasts and trends in system loads over the planning horizon.  He mentioned that FPL had already established a new summer peak load record (approx. 24,000 MW), which was in line with the forecast (just slightly below).  Omar  shared the latest information on each transmission Customer’s future planned Delivery Points and discussed any updates or changes in assumptions with representatives that were present.  The Customers also discussed potential changes to the in-service dates and advised FPL of scope changes to their planned projects.  George Smith clarified that the Trafalgar substation project is expected to be completed by the end of this year, ahead of the planned 6/1/2017 in-service date.

- Kiko Barredo then led the group through a discussion of the process and requirements for the Network Resources forecast. FPL’s Luke Whiting then updated the group on FERC Order 676-H and NAESB changes to the way the OASIS handles Network service.  The changes were supposed to go into effect in early 2016, but there are still implementation issues being worked out.  The OATI system is on-line being tested and the new FERC implementation date is March 1, 2017.  Luke also asked the group to recommend a reasonable date for establishing a cutoff for annual Network Integration Transmission Service data finalization.  He suggested possibly July 1 would be a good date and the group agreed.  Kiko Barredo then presented the Network Resource forecasts that it has for each Customer, and showed where the information could be found on FPL’s OASIS.  FPL also gave an overview of the process and requirements so that the forecast is correctly represented in the planning models.  Each Network Customer was provided a copy of their Designated Resources as posted on the OASIS and was asked to review the resource forecast that will be used in this cycle of the Local Transmission Network Planning Process.  FPL encouraged customers with Resource Planning groups to work with their respective Transmission Planners prior to submitting OASIS requests for new or changes to their Network Resources.

- Omar Carrillo then reviewed with Customers / Stakeholders the NERC Reliability Standards and criteria to be used throughout the Local Transmission Network Planning Process.  This year the new TPL-001-4 Reliability Standard is fully enforceable, replacing the legacy TPL-001 through TPL-004 standards that were still in effect in 2015.  FPL then shared its criteria specifics and asked the Customers and Stakeholders if there were any other criteria that needed to be considered.  None were identified.

- FPL then presented an overview of each area in such detail that each Customer in the area could provide information and feedback on their projected future needs.  The Customers participated in an open dialogue and asked questions and provided any clarifications to their respective projects in these areas.

- FPL discussed the status of the base case model development, the proposed study schedule, the NERC and FRCC standards and criteria to be employed in the analysis, and the tools and methods that will be used.  FPL proposed using the FRCC Long Range Study analysis as the basis for assessing the Local Area Plans and got concurrence from the Customers / Stakeholders for the analysis.  The Customers / Stakeholders and FPL agreed that cases, analyses and assessment documentation developed at the FRCC should be used for the Att. K process requirements.

- After final comments and discussion of the next steps in the process, the Kick-Off meeting was adjourned, completing Steps 1 and 2 of FPL’s Local Transmission Network Planning Process under Attachment K of FPL’s OATT.

FPL (Transmission Provider)

Frank Prieto

Luke Whiting

Kiko Barredo

Omar Carrillo

Steve Sim

Customers / Stakeholders

George Smith		Lee County EC

Carl Turner		FMPA

Gail McKaig		Seminole Electric

Patrick McGovern	Georgia Transmission Co.

Dave Darden		Tampa Electric Company

Kristy Baksh		Tampa Electric Company

Raiza Calderon	Tampa Electric Company

Mathew Larussa	Tampa Electric Company

Richard Gerardo	Tampa Electric Company