Green Mountain Power Available Transfer Capability Implementation Document (ATCID)

Records of Revisions

| Version | Date | Reason |
| --- | --- | --- |
| 1.0 | April 1, 2011 | Original |
| 1.1 | October 1, 2012 | Change name from Central Vermont to Green Mountain Power. |

AVAILABLE TRANSFER CAPABILITY METHODOLOGY

Introduction and Background:

ISO is the regional transmission organization (RTO) for the New England Control Area. The New England Control Area includes the transmission system located in the states of Connecticut, Maine, Massachusetts, New Hampshire, Rhode Island, and Vermont. The New England Control Area is comprised of PTF, non-PTF, OTF, MTF, and is interconnected to three neighboring Balancing Authority Areas (“BAA”) with various interface types.

As part of its RTO responsibilities, the ISO is registered with the North American Electric Reliability Corporation (“NERC”) as several functional model entities that have responsibilities related to the calculation of ATC as defined in the following NERC Standards: MOD-001 – Available Transmission System Capability (“MOD-001”), MOD-004 – Capacity Benefit Margin (“MOD-004”), and MOD-008 – Transmission Reliability Margin Calculation Methodology (“MOD-008”). The extent of those responsibilities is based on various Commission approved transmission operating agreements and the provisions of the ISO New England Operating Documents.

Pursuant to CFR § 37.6(b) of the FERC Regulations Transmission Provider’s are obligated to calculate and post TTC and ATC for each Posted Path.  The available transfer capability on the Transmission Provider’s system (ATC) and the total transfer capability (TTC) of that system shall be calculated and posted for each Posted Path as set out in this section.

Posted Path is defined as any control area to control area interconnection; any path for which service is denied, curtailed or interrupted for more than 24 hours in the past 12 months; and any path for which a customer requests to have ATC or TTC posted.  For this last category, the posting must continue for 180 days and thereafter until 180 days have elapsed from the most recent request for service over the requested path.  For purposes of this definition, an hour includes any part of any hour during which service was denied, curtailed or interrupted.

GMP does not currently have a Posted Path based on the above definition.  However to extent that GMP does in the future have a Posted Path GMP will calculate TTC using NERC Standard MOD-029-1 Rated System Path Methodology as outlined below.

Applicability of this ATCID

This ATCID describes the ATC methodology for which GMP as the Transmission Provider of Local Point-to Point Transmission service over Non-PTF pursuant to this Schedule 21-GMP, the TOA, and the ISO OATT calculates ATC.  GMP applies MOD-029 since that is the standard used by the Transmission Operator to calculate the TTC.

TTC and ATC are required to be calculated only for certain Non-PTF internal Posted Paths over which Local Point-to-Point transmission service is provided under Schedule 21-GMP.  TTC and ATC is not calculated by GMP for Local Network Service because ISO employs a market model for economic, security constrained dispatch of generation, and advanced reservations are not required for network service.

Transmission Service in the New England Markets

Since the inception of the OATT for New England, the process by which generation located inside New England supplies energy to the bulk electric system has differed from the Commission pro forma OATT.  The fundamental difference is that internal generation is dispatched in an economic, security constrained manner by the ISO rather than utilizing a system of physical rights, advance reservations and point-to-point transmission service.  Through this process, internal generation provides offers that are utilized by the ISO in the Real-Time Energy Market dispatch software.  This process provides the least-cost dispatch to satisfy Real-Time load on the system.

GMP provides service over Non-PTF over which advance transmission service reservations for firm or non-firm transmission service may be required.  On those Local Facilities, the market participant must obtain a transmission service reservation under Schedule 21-GMP prior to delivery of energy into the New England Wholesale Market.  This document addresses the calculation of ATC and TTC for the non-PTF internal paths.

Calculation of ATC for GMP’s Local Facilities - General Description:

NERC Standards MOD-001-1 – Available Transmission System Capability and MOD-029-1 – Rated System Path Methodology defines the required items to be identified when describing a transmission provider’s ATC methodology.

As a practical matter, the ratings of the radial transmission paths are always higher than the transmission requirements of the Transmission Customers connected to that path.  As such, transmission services over these posted paths are considered to be always available.

Common practice is not to calculate or post firm and non-firm ATC values for the non-PTF assets described above, as ATC is positive and listed as 9999.  Transmission customers are not restricted from reserving firm or non-firm transmission service on non-PTF facilities.

As Real-Time approaches, the ISO utilizes the Real-Time energy market rules to determine which of the submitted energy transactions will be scheduled in the coming hour.  Basically, the ATC of the non-PTF assets in the New England market is almost always positive.  The ATC is equal to the amount of net energy transactions that the ISO will schedule on an interface for the designated hour.  With this simplified version of ATC, there is no detailed algorithm to be described or posted other than: ATC equals TTC.  Thus, for those non-PTF facilities that serve as a path for the GMP Schedule 21-GMP Point-to-Point Transmission Customers, GMP has posted the ATC as 9999, consistent with industry practice.  ATC on these paths varies depending on the time of day.  However, it is posted with an ATC of 9999 to reflect the fact that there are no restrictions on these paths for commercial transactions.

Calculation of ATCF in the Planning Horizon (PH):

For purposes herein PH is any period before the Operating Horizon.  Consistent with the NERC definition, ATCF  is the capability for Firm transmission reservations that remain after allowing for TRM, CBM, ETCF , PostbacksF and counterflowsF.

For GMP, TRM and CBM are zero.  Firm Transmission Service over Schedule 21-GMP that is available in the Planning Horizon (PH) includes:  Yearly, Monthly, Weekly, and Daily.  PostbacksF and counterflowsF of Schedule 21-GMP transmission reservations are not considered in the ATC calculation.  Therefore, ATCF in the PH is equal to the TTC minus ETCF

Calculation of ATCF in the Schedule 21-GMP Operating Horizon (OH):

For purposes herein OH is noon eastern prevailing time each day.  At that time, the OH spans from noon through midnight of the next day for a total of 36 hours.  As that time progresses the total hours remaining in the OH decreases until noon the following day when the OH is once again reset to 36 hours.

Consistent with the NERC definition, ATCF is the capability for Firm transmission reservations that remain after allowing for ETCF , CBM, TRM, PostbacksF and counterflowsF.

For GMP, TRM and CBM is zero.  Daily Firm Transmission Service over Schedule 21-GMP is the only firm service offered in the Operating Horizon (OH).  PostbacksF and counterflowsF of Schedule 21-GMP transmission reservations are not considered in the ATCF calculation.  Therefore, ATCF  in the OH is equal to the TTC minus ETC F.

Because Firm Schedule 21-GMP transmission service is not offered in the Scheduling Horizon (SH): ATCF in the SH is zero.

Calculation of ATCNF in the PH:

ATCNF is the capability for Non-Firm transmission reservations that remain after allowing for ETC F , ETCNF, scheduled CBM (CBMS), unreleased TRM (TRMU), Non-Firm Postbacks (PostbacksNF) and Non-Firm counterflows (counterflowsNF).

For GMP, the TRM and CBM for Schedule 21-GMP are zero. Non-Firm ATC available in the PH includes: Monthly, Weekly, Daily and Hourly. TRM U, PostbacksNF and counterflowsNF of Schedule 21-GMP transmission reservations are not considered in this calculation.  Therefore, ATCNF in the PH is equal to the TTC minus ETC F and ETCNF .

Calculation of ATCNF in the OH:

ATC NF available in the OH includes: Daily and Hourly.

For GMP TRM and CBM for Schedule 21-GMP are zero.  TRMU, counterflows and ETCNF are not considered in this calculation.  Therefore, ATC NF in the OH is equal to the TTC minus ETC F, plus postbacks of PTPF in OH as PTPNF (Postbacks NF)

Negative ATC:

As stated above, the ratings of the radial transmission paths are always higher than the transmission requirements of the Transmission Customers connected to that path.  As such, transmission services over these posted paths are considered to be always available.

For those non-PTF GMP facilities that are primarily radial paths that provide transmission service to directly interconnected generators it is possible, in the future, that a particular radial path may interconnect more nameplate capacity generation than the path’s TTC.  However, due to the ISO’s security constrained dispatch methodology, the ISO will only dispatch an amount of generation interconnected to such path so as not to incur a reliability or stability violation on the subject path.  Therefore, ATC in the PH, OH and SH may become zero, but will not become negative.

Posting of ATC Related Information - ATC Values:

As described above, the ATC values for GMP’s non-PTF utilized for internal Point-to-Point transmission service are always positive, and are thus set at 9999. The ATC values for these internal posted paths are posted in accordance with NAESB standards on GMP’s provider page of the ISO-NE OASIS website.  Transmission customers are not restricted from reserving firm or non-firm transmission service on non-PTF facilities.

Updates To ATC:

When any of the variables in the ATC equations change, the ATC values are recalculated and immediately posted.

Coordination of ATC Calculations:

Schedule 21-GMP non-PTF has no external interfaces.  Therefore it is not necessary to coordinate the values.

Total Transfer Capability (TTC)

The Total Transfer Capability (TTC) is the amount of electric power that can be moved or transferred reliably from one area to another area of the interconnected transmission systems by way of all transmission lines (or paths) between those areas under specified system conditions.  TTC for Schedule 21-GMP is calculated using NERC Standard MOD-029-1 Rated System Path Methodology and posted on the GMP OASIS site.

GMP will calculate and post TTC on OASIS for all Non-PTF Posted Paths that are eligible for Local Point-to-Point transmission service reservations.  The TTC on GMP’s Non-PTF eligible for Local Point-to-Point transmission service reservations are relatively static values.  GMP thus calculates the TTC for Non-PTF Posted Paths equal to the rating of the particular transmission path.

Existing Transmission Commitments, Firm (ETCF)

The ETCF are those confirmed Firm transmission reservation (PTP F) plus any rollover rights for Firm transmission reservations (ROR F ) that have been exercised.  There are no allowances necessary for Native Load forecast commitments (NLF), Network Integration Transmission Service (NITSF), grandfathered Transmission Service (GFF) and other service(s), contract(s) or agreement(s) (OSF ) to be considered in the ETC F  calculation.

Existing Transmission Commitments, Non-Firm(ETCNF)

The (ETCNF) are those confirmed Non-Firm transmission reservations (PTPNF).  There are no allowances necessary for Non-Firm Network Integration Transmission Service (NITSNF), Non-Firm grandfathered Transmission Service (GFNF) or other service(s), contract(s) or agreement(s) (OSNF).

Capacity Benefit Market (CBM) and Transmission Reliability Margin TRM

As defined in the GMP CBMID and GMP TRMID, the values for CBM and TRM for Non-PTF Posted Paths are set to zero.