Green Mountain Power Transmission Reliability Margin Implementation Document (TRMID)

Records of Revisions

| Version | Date | Reason |
| --- | --- | --- |
| 1.0 | April 1, 2011 | Original |
| 1.1 | October 1, 2012 | Change name from Central Vermont to Green Mountain Power |

Introduction

Green Mountain Power’s Transmission Reliability Margin Implementation Document (“TRMID”).

Calculation of Transmission Reliability Margin (TRM) on Non-PTF

TRM is the amount of transmission transfer capability set aside to provide reasonable assurance that the interconnected transmission network will be secure. TRM accounts for the inherent uncertainty in system conditions and the need for operating flexibility to ensure reliable system operation as system conditions change.  It is used only for external interfaces under the New England market design.

GMP does not have any external interfaces, and therefore TRM for GMP’s Non-PTF is zero.