## Supplemental 2017
Supplementary Information Schedule 21‐GMP Actual 2017
2018-06-01
E-1 WK4 L12
Facility Support Payments
Transco Transmission Costs
VELCO 1991 VTA -- Specific Facilities -- Trans Only | 3672722
VELCO Substation Participation--Common Use Costs | 280108
National Grid
115 KV Line - Ashuelot | 16020
Total Facility Support Payments | 3968850
E-1 WK11 L1B:12B
FF1 P.400 Col b Monthly Transmission Billing Peaks
Monthly Transmission System Peak Loads are calculated from metering data at the kw level
and rounded to the nearest MW for the FF1.
Day | Hour | MW
2017-01-04 | 18 | 771932
2017-02-09 | 19 | 744658
2017-03-04 | 19 | 728469
2017-04-06 | 12 | 631074
2017-05-18 | 20 | 630369
2017-06-12 | 19 | 692797
2017-07-19 | 21 | 703787
2017-08-22 | 18 | 720836
2017-09-26 | 19 | 741619
2017-10-09 | 19 | 641603
2017-11-10 | 19 | 713532
2017-12-29 | 18 | 839610
E-3 L20 "Actual"
FF1 P.400 Col f Total Customer kwh
These monthly loads represent the energy wheeled for the Schedule 21-GMP customers .
as adjusted per that Schedule.
2017 Total Transmission Billing Loads
Customers
kwh
January | 50865964
February | 43814789
March | 48075374
April | 38277307
May | 40863835
June | 38398839
July | 41743945
August | 41396580
September | 39123966
October | 38495461
November | 43051195
December | 53353287
517460542
L:\Transmission\Schedule 21\True-ups\2017 True Up\[Schedule 21-GMP Supplemental Information Actual 2017 6-1-18.xlsx]Supplemental 2017