## 115-230kV
Table 1. BASIN TRANSMISSION SYSTEM
| KV | CONDUCTOR | SECTION | TOTAL | ii5 KV | OH 138 kv | UG 138 kv | OH 230 kv | UG 230 kv |  | SUMMARY
TRANSMISSION LINE |  | BUNDLE SIZE | LENGTH | LENGTH | [6 empty] | TOTAL 115kV OH LINE LENGTH (MILES) | 44.3
|  | (kcmil) | (MILES) | (MILES)
Power Plant 1 - Olive Line 1 | 115 | 250 kcmil Copper '19 Strand' (OH) | 6.2 | 21.1 | 6.2 | [5 empty] | TOTAL 138kV OH LINE LENGTH (MILES) | 84.52
|  | 300 kcmil Copper '19 Strand' (OH) | 14.9 |  | 14.9 | [5 empty] | TOTAL 138kV UG LINE LENGTH (MILES) | 61.87
Power Plant 1 - Power Plant 2 Tie Line | 115 | 250 kcmil Copper '19 Strand' (OH) | 6.2 | 7.3 | 6.2
|  | 211.6 kcmil Copper '4/0' (OH) | 1.1 |  | 1.1 | [5 empty] | TOTAL 230kV OH LINE LENGTH (MILES) | 423.4
Power Plant 2 - Olive Line 1 | 115 | 211.6 kcmil Copper '4/0' (OH) | 1.1 | 15.9 | 1.1 | [5 empty] | TOTAL 230kV UG LINE LENGTH (MILES) | 49.23
|  | 300 kcmil Copper '19 Strand' (OH) | 14.8 |  | 14.8 | [6 empty] | 663.32
Century - Gramercy Line 1 | 138 | 1-500 kcmil Copper (OH) | 3.31 | 3.31 |  | 3.31
Century - Gramercy Line 2 | 138 | 1-500 kcmil Copper (OH) | 3.31 | 3.31 |  | 3.31
Century - Wilmington Line 1 | 138 | 1-500 kcmil Copper (OH) | 11.2 | 11.2 |  | 11.2
Century - Wilmington Line 2 | 138 | 1-500 kcmil Copper (OH) | 11.2 | 11.2 |  | 11.2
Fairfax - Airport Line 1 | 138 | 2-500 kcmil Copper (OH) | 3.92 | 6.48 |  | 3.92
|  | 2500 kcmil LPOF Copper (UG) | 2.56 |  |  |  | 2.56
Fairfax - Airport Line 2 | 138 | 2-500 kcmil (OH) | 3.92 | 6.44 |  | 3.92
|  | 2500 kcmil LPOF Copper (UG) | 2.52 |  |  |  | 2.52
Fairfax - Gramercy Line 1 | 138 | 1-500 kcmil Copper (OH) | 3.9 | 9.5 |  | 3.9
|  | 1500 kcmil LPOF Per Ckt Copper (UG) | 5.6 |  |  |  | 5.6
Fairfax - Gramercy Line 2 | 138 | 1-500 kcmil Copper (OH) | 3.9 | 9.5 |  | 3.9
|  | 1500 kcmil LPOF Per Ckt Copper (UG) | 5.6 |  |  |  | 5.6
Fairfax - Olympic Cable A | 138 | 1500 kcmil LPOF Per Ckt Copper (UG) | 5.9 | 5.9 |  |  | 5.9
Fairfax - Olympic Cable B | 138 | 1500 kcmil LPOF Per Ckt Copper (UG) | 5.9 | 5.9 |  |  | 5.9
Gramercy - Harbor Line 1 | 138 | 1-2312 KCMIL THRASHER (OH) | 1.88 | 13.76 |  | 1.88
|  | 1-500 KCMIL COPPER (OH) | 9.38 |  |  | 9.38
|  | 1-1500 KCMIL XLPE COPPER (UG) | 2.5 |  |  |  | 2.5
Gramercy - Harbor Line 2 | 138 | 1-2312 KCMIL THRASHER (OH) | 1.88 | 13.76 |  | 1.88
|  | 1-500 KCMIL COPPER (OH) | 9.38 |  |  | 9.38
|  | 1-1500 KCMIL XLPE COPPER (UG) | 2.5 |  |  |  | 2.5
Harbor - Wilmington Cable D | 138 | 1500 kcmil LPOF Per Ckt Copper (UG) | 2.3 | 2.3 |  |  | 2.3
Harbor - Wilmington Cable E | 138 | 1500 kcmil LPOF Per Ckt Copper (UG) | 2.3 | 2.3 |  |  | 2.3
Hollywood - Fairfax Cable A | 138 | 1500 kcmil XLPE Per Ckt Copper (UG) | 4.4 | 4.4 |  |  | 4.4
Hollywood - FairfaxCable B | 138 | 1500 kcmil XLPE Per Ckt Copper (UG) | 4.4 | 4.4 |  |  | 4.4
Scattergood - Airport Line 1 | 138 | 1-750 kcmil Copper '61 Strand' (OH) | 0.82 | 5.82 |  | 0.82
|  | 1-2500 kcmil (LPOF) Copper (UG) | 5 |  |  |  | 5
Scattergood-Airport Line 2 | 138 | 1-750 kcmil Copper (OH) | 0.8 | 5.8 |  | 0.8
|  | 2500 kcmil LPOF Per Ckt Copper (UG) | 5 |  |  |  | 5
Tarzana - Olympic Line 1 | 138 | 1-1272 kcmil ACSR "Bittern" (OH) | 0.08 | 12.11 |  | 0.08
|  | 1-795 kcmil ACSR "Drake" (OH) | 8.82 |  |  | 8.82
|  | 1500 kcmil LPOF Per Ckt Copper (UG) | 3.21 |  |  |  | 3.21
Toluca - Hollywood Line 2 | 138 | 1-1590 kcmil SAC "Coreopsis" (OH) |  | 9
|  | 1-2312 kcmil ACSR "Thrasher" (OH) | 6.81 |  |  | 6.81
|  | 500 kcmil Copper "37 Strand" (OH) | 0.01 |  |  | 0.01
750 kcmil Copper "61 Strand" (OH)
|  | 1500 kcmil XLPE Copper (UG) | 2.18 |  |  |  | 2.18
Atwater - Air Way Line 1 | 230 | 1-2500 kcmil, SAC, "Lupine" (OH) | 4.1 | 4.3 |  |  |  | 4.1
|  | 1-2312 kcmil ACSR "Thrasher" (OH) | 0.2 |  |  |  |  | 0.2
Atwater - Air Way Line 2 | 230 | 1-2500 kcmil, SAC, "Lupine" (OH) | 3.87 | 4.07 |  |  |  | 3.87
|  | 1-2312 kcmil ACSR "Thrasher" (OH) | 0.2 |  |  |  |  | 0.2
Atwater - St John Line 1 | 230 | 1-1590 kcmil SAC "Coreopsis" | 4.13 | 4.13 |  |  |  | 4.13
Atwater - Velasco Line 1 | 230 | 1-1590 kcmil SAC "Coreopsis" (OH) | 8.5 | 8.5 |  |  |  | 8.5
Castaic - Northridge Line 1 | 230 | 1-2312 kcmil ACSR "Thrasher" (OH) | 22.85 | 33.39 |  |  |  | 22.85
|  | 1-2156 kcmil ACSR "Bluebird" (OH) | 10.54 |  |  |  |  | 10.54
Castaic - Haskell Line 1 | 230 | 1-2312 Kcmil ACSR (OH) | 11.75 | 12.05 |  |  |  | 11.75
|  | 1-2156 Kcmil ACSR (OH) | 0.3 |  |  |  |  | 0.3
Castaic - Haskell Line 2 | 230 | 1-2312 Kcmil ACSR (OH) | 11.96 | 11.96 |  |  |  | 11.96
Haynes - Atwater Line 1 | 230 | 1-2500 kcmil SAC "Lupine" (OH) | 30.17 | 30.17 |  |  |  | 30.17
Haynes - River Line 1 | 230 | 1-2500 kcmil SAC "Lupine" (OH) | 24.4 | 24.4 |  |  |  | 24.4
Haynes - St John Line 1 | 230 | 1-2500 kcmil SAC "Lupine" (OH) | 26.4 | 26.4 |  |  |  | 26.4
Haynes - Velasco Line 1 | 230 | 1-2500 kcmil SAC "Lupine" (OH) | 21.8 | 21.8 |  |  |  | 21.8
Haskell - Olive Line 1 | 230 | 1-2312 Kcmil ACSR (OH) | 12.37 | 12.37 |  |  |  | 12.37
Haskell - Sylmar Line 1 | 230 | 1-2312 Kcmil ACSR (OH) | 1.66 | 12.9 |  |  |  | 1.66
|  | 1-2156 Kcmil ACSR (OH) | 11.24 |  |  |  |  | 11.24
Haskell - Rinaldi Line 1 | 230 | 1-2312 Kcmil ACSR "Thrasher" (OH) | 12.18 | 15.46 |  |  |  | 12.18
|  | 1-1272 kcmil ACSR "Bittern" (OH) | 0.24 |  |  |  |  | 0.24
|  | 1-2312 Kcmil ACSR/AW "Thrasher" OH) | 3.04 |  |  |  |  | 3.04
Mead - McCullough Line 1 | 230 | 1-512 kcmil CU "Type HH" (OH) | 12.13 | 13.51 |  |  |  | 12.13
|  | 1-1272 kcmil ACSR "Bittern" (OH) | 1.38 |  |  |  |  | 1.38
Mead - McCullough Line 2 | 230 | 1-512 kcmil Copper Type HH (OH) | 12.2 | 13.55 |  |  |  | 12.2
|  | 1-1272 kcmil ACSR "Bittern" (OH) | 1.35 |  |  |  |  | 1.35
Northridge - Tarzana Line 1 | 230 | 1-510 Kcmil ACSS "Parrot" (OH) | 3.7 | 3.7 |  |  |  | 3.7
Olive - Northridge Line 1 | 230 | 1-2312 kcmil ACSR "Thrasher" (OH) | 3.18 | 9.72 |  |  |  | 3.18
|  | 2-795 kcmil ACSR "Drake" (OH) | 6.54 |  |  |  |  | 6.54
Pine Tree - Barren Ridge | 230 | 1272 kcmil ACSS (OH) | 8.2 | 8.2 |  |  |  | 8.2
Rinaldi - Air Way Line 1 | 230 | 1-2312 kcmil ACSR "Thrasher" (OH) | 1.27 | 16.15 |  |  |  | 1.27
|  | 1-954 kcmil ACSR "Cardinal" (OH) | 9.79 |  |  |  |  | 9.79
|  | 2-700 kcmil Copper "61 Strand" (OH) | 0.29 |  |  |  |  | 0.29
|  | 2-795 kcmil ACSR "Drake" (OH) | 2.14 |  |  |  |  | 2.14
|  | 1-2500 kcmil SAC "Lupine" (OH) | 2.66 |  |  |  |  | 2.66
Rinaldi - Airway Line 2 | 230 | 1-2312 kcmil ACSR 'Thrasher' (OH) | 1.03 | 16.14 |  |  |  | 1.03
|  | 1-954 kcmil ACSR 'Cardinal' (OH) | 9.79 |  |  |  |  | 9.79
|  | 1-2500 kcmil SAC 'Lupine' (OH) | 5.32 |  |  |  |  | 5.32
Rinaldi - Tarzana Line 1 | 230 | 1-954 kcmil ACSR "Cardinal" (OH) | 6.65 | 10.3 |  |  |  | 6.65
|  | 1-750 kcmil SAC "Jessamine" (OH) | 3.65 |  |  |  |  | 3.65
Rinaldi - Tarzana Line 2 | 230 | 1-954 kcmil ACSR "Cardinal" (OH) | 6.65 | 10.35 |  |  |  | 6.65
|  | 1-750 kcmil SAC "Jessamine" (OH) | 3.7 |  |  |  |  | 3.7
River - Market Cable A | 230 | 1000 kcmil HPPT Copper (UG) | 1.07 | 1.07 |  |  |  |  | 1.07
River - Market Cable B | 230 | 1500 kcmil HPPT ALUM (UG) | 1.07 | 1.07 |  |  |  |  | 1.07
River - Market Cable C | 230 | 1000 kcmil HPPT Copper (UG) | 1.1 | 1.1 |  |  |  |  | 1.1
River - Market Cable D | 230 | 1500 kcmil HPPT ALUM (UG) | 1.55 | 1.55 |  |  |  |  | 1.55
River - Velasco Line 1 | 230 | 1-1590 kcmil SAC "Coreopsis" (OH) | 2.7 | 2.7 |  |  |  | 2.7
Scattergood - Olympic Line 2 | 230 | 1-750 kcmil Copper "61 Strand" (OH) | 0.81 | 9.64 |  |  |  | 0.81
|  | 2500 kcmil HPPT Copper (UG) | 8.83 | [5 empty] | 8.83
St John - River Line 1 | 230 | 1-2500 kcmil SAC "Lupine" (OH) | 2.13 | 2.13 |  |  |  | 2.13
Sylmar - Northridge Line 1 | 230 | 1-2500 kcmil SAC "Lupine" (OH) | 2.9 | 9.56 |  |  |  | 2.9
|  | 1-2312 kcmil ACSR "Thrasher" (OH) | 6.66 |  |  |  |  | 6.66
Sylmar - Rinaldi Line 1 | 230 | 1-2500 kcmil SAC "Lupine" (OH) | 2.9 | 2.9 |  |  |  | 2.9
Sylmar - Rinaldi Line 3 | 230 | 1-2057 kcmil ACSR "Roadrunner" (OH) | 2.89 | 2.89 |  |  |  | 2.89
Sylmar - Rinaldi Line 4 | 230 | 1-2312 kcmil ACSR "Thrasher" (OH) | 4 | 4 |  |  |  | 4
Tarzana - Canoga Cable A | 230 | 1000 kcmil HPPT Copper (UG) | 2.9 | 2.9 |  |  |  |  | 2.9
Tarzana - Canoga Cable B | 230 | 1000 kcmil HPPT Copper (UG) | 2.9 | 2.9 |  |  |  |  | 2.9
Tarzana - Canoga Cable C | 230 | 1500 kcmil HPPT ALUM (UG) | 2.9 | 2.9 |  |  |  |  | 2.9
Tarzana - Olympic Line 3 | 230 | 1272 kcmil ACSR 'Bittern' (OH) | 8.82 | 12.03 |  |  |  | 8.82
|  | 2500 kcmil HPPT Copper (UG) | 3.21 | [5 empty] | 3.21
Toluca - Atwater Line 1 | 230 | 1-2312 kcmil ACSR 'Thrasher' (OH) | 2.58 | 7.99 |  |  |  | 2.58
|  | 2-795 kcmil ACSR 'Arbutus' (OH) | 5.38 |  |  |  |  | 5.38
|  | 1-2500 kcmil SAC 'Lupine' (OH) | 0.03 |  |  |  |  | 0.03
Toluca - Hollywood Line 1 | 230 | 2312 kcmil ACSR 'Thrasher' (OH) | 6.73 | 8.51 |  |  |  | 6.73
|  | 750 kcmil Copper '61 Strand' (OH) | [5 empty] | 0
|  | 1590 kcmil SAC 'Coreopsis' (OH) | 1.78 |  |  |  |  | 1.78
2500 kcmil HPPT Copper (UG)
Toluca - Hollywood Line 3 | 230 | 1-2312 kcmil ACSR 'Thrasher' (OH) | 4.8 | 9.1 |  |  |  | 4.8
|  | 1-2500 kcmil XLPE Copper (UG) | 4.3 | [5 empty] | 4.3
Toluca - Van Nuys Cable A | 230 | 1000 kcmil HPPT Copper (UG) | 4.9 | 4.9 |  |  |  |  | 4.9
Toluca - Van Nuys Cable B | 230 | 1500 kcmil HPPT ALUM (UG) | 4.9 | 4.9 |  |  |  |  | 4.9
Toluca - Van Nuys Cable C | 230 | 1000 kcmil HPPT Copper (UG) | 4 | 4 |  |  |  |  | 4
Toluca - Van Nuys Cable D | 230 | 1000 kcmil XLPE Copper (UG) | 5.6 | 5.6 |  |  |  |  | 5.6
Valley - Rinaldi Line 1 | 230 | 1-1113 kcmil ACSR 'Finch' (OH) | 6.96 | 7.96 |  |  |  | 6.96
|  | 2500 kcmil SAC 'Lupine' (OH) | 1 |  |  |  |  | 1
Valley - Rinaldi Line 2 | 230 | 1-1113 kcmil ACSR 'Finch' (OH) | 6.73 | 7.86 |  |  |  | 6.73
|  | 1-2312 kcmil ACSR 'Thrasher' (OH) | 0.13 |  |  |  |  | 0.13
|  | 1-2500 kcmil SAC 'Lupine' (OH) | 1 |  |  |  |  | 1
Valley - Toluca Line 1 | 230 | 1-1113 kcmil ACSR 'Finch' (OH) | 7.01 | 7.01 |  |  |  | 7.01
Valley - Toluca Line 2 | 230 | 1-1113 kcmil ACSR 'Finch' (OH) | 6.54 | 6.85 |  |  |  | 6.54
|  | 1-2312 kcmil ACSR 'Thrasher' (OH) | 0
Velasco - Century Line 1 | 230 | 1-2500 kcmil SAC 'Lupine' (OH) | 7.7 | 7.7 |  |  |  | 7.7
Velasco - Century Line 2 | 230 | 1-2500 kcmil SAC 'Lupine' (OH) | 7.7 | 7.7 |  |  |  | 7.7
|  |  | 663.32 |  | 44.3 | 84.52 | 61.87 | 423.4 | 49.23 | 0