## BB
Los Angeles Department of Water and Power
Statement
BB Rate Divisor
Test Period: FY2014-15 (July 1, 2014 through June 30, 2015)
A. EXISTING TRANSMISSION SYSTEM FIRM LOAD (MW)
LADWP's
Item | Peak Load [1] | Long-Term Firm P-T-P [2] | Total
July | 5517 | 638 | 6155
August | 5327 | 652 | 5979
September | 6343 | 652 | 6995
October | 4838 | 652 | 5490
November | 3887 | 652 | 4539
December | 3616 | 652 | 4268
January | 3448 | 312 | 3760
February | 3496 | 312 | 3808
March | 4148 | 312 | 4460
April | 4212 | 312 | 4524
May | 4040 | 312 | 4352
June | 5090 | 312 | 5402
Total | 53962 | 5770 | 59732
Annual Peak Load | 6343 | 652 | 6995
Ave. Mo. Peak Load | 4496.8333 | 480.8333 | 4977.6667
Footnotes:
Data Source:
[1] LADWP's Peak Load
[2] Long-term firm point-to-point transmission service.
FERC Tests for 12 CP
| Ave. of Off-Peak Monthly MW | Ave. of Peak Monthly MW | Difference (MW) | Difference (%) | FERC Standard | Pass/Fail?
Test No. 1 | 3945.3333 | 6376.3333 | 2431 | 38.13% | 19% or less | Fail
|  |  |  | Lowest/Highest | FERC Standard | Pass/Fail?
Test No. 2 |  |  |  | 53.75% | 66% or greater | Fail
|  | Ave. of 12 CP MW | 1 CP MW | Ratio | FERC Standard | Pass/Fail?
Test No. 3 |  | 4977.6667 | 6995 | 71.16% | 81% or greater | Fail
Conclusion | LADWP's monthly load pattern fails all three FERC tests for the use of the 12 CP methodology.
Note | Test No. 1 defines the peak and off-peak periods as the three highest and three lowest CPs.
Print