| O.O. | N/A | MISO No. | N/A | File No. | 240801 |
| --- | --- | --- | --- | --- | --- |
| Normal Operating Condition: | Up to 500 MW of TRM on the MHEX_N interface is reserved for the delivery of CRSG. The CRSG release is reviewed weekly and is normally released at midnight for the next seven days. Current Status: Release 500 MW of CRSG on MHEX_N |
| Effective Dates: | 2016-01-01 to 2016-12-31 |
| Standing Guide Reference: | MHEX Standing Guide |

| Special Instructions to MHEB Operator: | A) Prior to releasing CRSG, Manitoba Hydro System Operators must ensure that sufficient generation reserves are available within the Manitoba Hydro System relative to the amount of CRSG to be released. |
| --- | --- |

| Prepared By: | A. Hogeveen Rutter | Date: | 2015 - 12 - 23 |
| --- | --- | --- | --- |

Copies to:

SOSS, System Control Centre	NSSS, System Control Centre

GSSS, System Control Centre	GSO, System Control Centre

MISO – St. Paul