| O.O. | 17-00247-OO 17-05772-OO | MISO No. | 1-13846924 | File No. | 240802 |
| --- | --- | --- | --- | --- | --- |
| Name of Outage: | 230 kV Line V57R (Vermillion – Roblin South) |
| Effective Dates: | 2017-06-13 from 0830 to 1600 CDT (2017-06-13 from 0830 to 1600 EST) and, 2017-06-14 from 0830 to 1600 CDT (2017-06-14 from 0830 to 1600 EST) |
| Standing Guide Reference: | MH-SPC Special Study (R. Arruda 2017-06-08) |

| System Posturing | B10T will be operated within the range of "Scheduled / SOL" 125 / 140 MW South and "Scheduled / SOL" 50 / 65 MW North. West Flow “GRAPH” MAXIMUM of 925 MW was studied for this outage for west flow conditions. Monitor Graph by using the “GRAPH LIMIT” calculation. “GRAPH” MINIMUM of 0 MW. Maximum "PH" of 525 MW. Use "ARC Constant" value of 575 MW, for "GRAPH LIMIT" monitoring. East Flow “GRAPH” MAXIMUM of 925 MW was studied for this outage for east flow conditions. Monitor Graph by using the “GRAPH LIMIT” calculation. “GRAPH” MINIMUM of 0 MW. Maximum "PH" of 525 MW. Use "ARC Constant" value of 575 MW, for "GRAPH LIMIT" monitoring. Note: “GRAPH” = sum of Grand Rapids and Power to Ponton and Herblet Lake (This acronym replaces previous “GRPTPH” which had the same parameter value ) Note: “ARC” = sum of U91A and A4D “OUT” at Ashern plus MR11 “OUT” at Raven Lake plus C28R “IN” at Cornwallis. Note: “PH” - sum of Power to Ponton and Herblet Lake from lines P19W, J30P, W73H and W74H. (N.B: This acronym replaces previous “PTPH” which had the same parameter value). |
| --- | --- |
| Description of Work: | Insulation tests on V57R Line/Sync PTs at Vermillion and Roblin South Stations, Line mtce. |
|  | TRANSFER Limits: MH-SPC West (MH Export) SOL: 225 Schedule Limit 200 Location TTC RM Transfer OM Schedule Limit (SOL) Firm Non-Firm West 225 0 225 25 200 0 200 MH-SPC East (MH Import) SOL: 75 Schedule Limit 50 Location TTC RM Transfer OM Schedule Limit (SOL) Firm Non-Firm East 75 0 75 25 50 0 50 |

| MISO RC INFO | System Intact FIRM SCHED LIMIT DYNAMIC SCHED LIMIT SOL TLR1 TLR3 MH-SPC_West (MH Export) 200 200 225 209 214 MH-SPC_East (MH Import) 50 50 75 70 71 |
| --- | --- |
|  | MISO Webtool Manual Override is not Required MISO Webtool Postings TTC Firm TRM Non-Firm TRM Coeff MH_SPC _West (Export) 225 25 25 1.000 MH_SPC_East (Import) 75 25 25 1.000 |
| Load Serving | Prior to 230 kV Line V57R Outage (Vermillion to Roblin) On May 23, 2017 Manitoba Hydro Network Reliability Officer (Derek Williams) has confirmed with the Saskatchewan Power Corporation (SPC) Network Management Analyst (Adam Fletcher) that the SPC system can support up to 25 MW’s of load at Roblin South Station as per SPC Load Serving Agreement 2017#03-R1. The load serving schedule will be between Manitoba Hydro (MHEB) and Saskatchewan Power Corporation (SPC) Control Areas. Manitoba Hydro Energy Marketing (MHEM) will make the arrangements for energy to serve the load as detailed in the Manitoba Hydro Transmission Tariff Business Practices. Immediately after the 230 kV line V57R is removed from service: MHEB will record R25Y flow at Roblin South immediately following the 230 kV Line V57R being removed from service. MHEB will scan inhibit R25Y MW value in AGC and manually enter a zero value. SPC will scan inhibit Yorkton R25Y MW value in AGC and manually enter a zero value. The Roblin South R25Y flow recorded in step 1 will be used for partial hour calculation if 230 kV Line R25Y was not removed from service exactly on the hour. The calculation is: R25Y Flow at Roblin South multiplied by number of minutes remaining to top of the next hour divided by 60. SPC and MHEB control areas shall confirm the amount of energy supplied to the separated loads for each hour based upon the integrated hourly MWhrs from R25Y supplying Roblin South Station. MHEB will adjust the dynamic etag energy profile with this integrated hourly value. MHEB will confirm with telecontrol loss of Roblin South RTU when working grounds are placed (Roblin South Station will be staffed). During the 230 kV Line V57R outage, SPC will record the R25Y integrated hourly MWhr value(s) and forward the information to MHEB for after the fact billing and inadvertent calculations. These values will be entered into the dynamic schedule transaction tag for that hour as detailed above. Immediately prior to 230 kV Line V57R being returned to service: MHEB will record R25Y flow at Roblin South Immediately prior to the 230 kV Line V57R being returned to service. The Roblin South R25Y flow recorded in step 7 will be used for partial hour calculation if 230 kV Line R25Y was not removed from service exactly on the hour. The calculation is: R25Y Flow at Roblin South multiplied by number of minutes into the current hour divided by 60. SPC and MHEB control areas shall confirm the amount of energy supplied to the separated loads for each hour based upon the integrated hourly MWhrs from R25Y supplying Roblin South Station. MHEB will adjust the dynamic etag energy profile with this integrated hourly value. MHEB will return R25Y signal to service in AGC. SPC will return R25Y signal to service in AGC. |
| Special Instructions: | TOI Extensions - This TOI may be extended until 23:59 by performing the following steps: Verify system conditions to confirm there are no additional tie line facilities outages, or new internal MH outages. Review RTCA to confirm there are no new contingencies. Contact MISO to confirm there are no new outages, if there are no new outages provide notice to MISO that MH is extending the TOI. Extend the outage in COLA. Update TLAP outage table. Provide notice to affected balancing authorities |

| Prepared By: | D. Williams | Date: | 2017.06.09 |
| --- | --- | --- | --- |

Copies to:

SOSS, System Control Centre		NSSS, System Control Centre

GSSS, System Control Centre		GSO, System Control Centre

Operating Order		File 240802

MHEB OASIS		MISO – St. Paul

SPC – Yong Zheng		SPC - Colin Nicholson