| O.O. | N/A | MISO No. | N/A | File No. | 240803 |
| --- | --- | --- | --- | --- | --- |
| Name of Outage: | None |
| Effective Dates: | 2020-05-31 0000 onwards |
| Standing Guide Reference: | MHEX summer limits and Winter Limits |

| Description of Work: | Addition of new 500 kV tie line (MMTP) between Manitoba and USA. |
| --- | --- |
| TRANSFER LIMITS: Following transfer limit calculated by the Manitoba Hydro planning coordinator, will be used in the ATC and TTC posting until Manitoba Hydro perform the operating studies. |
| MH-USA South (MH Export) |
|  |  |  | SOL: | 3058 |  | Schedule Limit | 2833 |
| Location |  | RM |  | CRSG | OM |  |  | Schedule Limit |
|  | TTC |  | Transfer (SOL) |  |  | Firm | Non-Firm |  |
| USA | 3300 | 242 | 3058 | 150 | 75 | 2833 | 0 | 2833 |
| MH-USA North (MH Import) |
| IROL | 2192 |  | SOL: | 1973 |  | Schedule Limit | 1398 |
| Location |  | RM |  | CRSG | OM |  |  | Schedule Limit |
|  | TTC |  | Transfer (SOL) |  |  | Firm | Non-Firm |  |
| USA | 1973 | 0 | 1973 | 500 | 75 | 1398 | 0 | 1398 |

| MISO Webtool Postings | MISO Webtool Postings TTC TRM Coeff MHEX_S (Export) 3300 467 1.000 MHEX_N (Import) 1973 575 1.000 |
| --- | --- |

| Special Notes to MISO North RC | None |
| --- | --- |

| Special Instructions to MHEB Operator: | None |
| --- | --- |

| Prepared By: | P. Grestoni | Date: | 2017 10 17 |
| --- | --- | --- | --- |

Copies to:

SOSS, System Control Centre			MISO

NSSS, System Control Centre			GSO, System Control Centre

GSSS, System Control Centre