## Slide 1
NTTG in the midst of study work, developed base cases and started establishing scenarios to study
Still a lot of solar in the queue
Large projects: 300 MW on the Colstrip 230 kV, 250 MW on the Broadview 230 kV, 750 MW on the Colstrip 500 kV and well over 700 MW elsewhere on the system
Regional Planning Update

## Slide 2
Regional Planning Organization status
Blackstart study work
Study work continues with BPA/AVA on Path 8
Path 80 study work accepted, path rating of 600 MW for each direction confirmed
Regional Planning Update