FAcility Connection Requirements

Description

Table of Contents

1	Purpose	1

2	Scope	1

3	Facility Connection Requirements Description	1

3.1	Procedure for Connection Studies	2

3.2	Procedure for FRCC Notification and Others of Proposed Project	2

3.2.1	Project Notification for Joint Study	2

3.2.2	Project Notification for Modeling	2

3.3	Voltage Level, MW, and MVAR Capacity or Demand at Point of Connection	2

3.4	Breaker Duty and Surge Protection	3

3.5	System Protection and Coordination	3

3.6	Metering and Telecommunications	3

3.6.1	Metering	3

3.6.2	Telecommunications	3

3.7	Grounding and Safety	3

3.8	Insulation and Insulation Coordination	4

3.9	Voltage, Reactive Power, and Power Factor Control	4

3.9.1	Transmission Facilities	4

3.9.2	Generating Stations	4

3.9.3	End Users	4

3.10	Power Quality Impacts	5

3.11	Equipment Ratings	5

3.12	Synchronizing of Facilities	5

3.13	Maintenance Coordination	5

3.14	Abnormal Frequency and Voltage	5

3.15	Inspection Requirements	5

3.16	Communication and Procedures for Normal and Emergency Operating Conditions	6

4	Acronyms\Definitions	6

5	Reference Documents	6

6	Revision History	6

# Purpose

These requirements are placed on OUC Transmission users to ensure that the OUC transmission system remains compliant with NERC, FRCC, and OUC standards. Compliance with these standards is necessary to ensure a safe and reliable power transmission system.

# Scope

This document applies to non-OUC entities who wish to connect to the OUC Transmission system and refers to them as “transmission user.” It also applies to all new generation, transmission, and end user facilities that directly connect to the OUC transmission system and are not owned by OUC. OUC’s facilities meet or exceed the following specifications. This document becomes applicable to all Transmission users upon publication on the OASIS site. This document is available on the OASIS site in Adobe format.

This document does not supersede NERC, FRCC, FERC, OATT, NESC, NEC, IEEE, and OUC standards. In the event of a conflict, the other document should be considered the ruling document. Throughout the document the phrase “industry standards” is used. This term refers to NERC, FRCC, FERC, OATT, NESC, OSHA, NEC, IEEE, and OUC standards as well as best practices.

# Facility Connection Requirements Description

The OUC Facility Connection Requirements serves as a general outline for generation, transmission, and end user facilities that connect to the OUC transmission system. This document is based on NERC standard FAC-001-2. This document is not intended to be a detailed manual but a general overview of procedural and technical requirements.

OUC recommends that a transmission user keep their entire facility compliant with industry standards. OUC requires new transmission user facilities that can affect the performance of the OUC and neighboring transmission systems comply with this document. During project negotiations a determination will be made as to which facilities impact OUC’s transmission, and which do not. The specifications listed in this document are the same requirements that OUC facilities meet or exceed. During studies and technical review no preference is made between OUC and non-OUC facilities.

## Procedure for Connection Studies

For all connections to the transmission system, there will generally be several steps that will vary based on the type of the unit:

- Request for Connection. Requests for connection that do not fall under the OUC OATT, other published OUC procedures, or questions regarding the process, should be forwarded to:

Aaron Staley

Manager of Transmission Planning

6003 Pershing Avenue

Orlando, FL  32822

- Feasibility meetings between OUC and the transmission user to determine further steps are required for connection including, cost, studies, and required agreements.

- Conduct detailed studies and establish required agreements.

- Execute the agreements.

- Complete pre-connection inspections (if any) and connection.

- Conduct ongoing maintenance of connection.

Study work, inspections, and facilities built by OUC or a third party on OUC’s behalf may be at the cost of the customer. Details of cost responsibilities will be established during the process.

## Procedure for FRCC Notification and Others of Proposed Project

### Project Notification for Joint Study

If the proposed project meets certain criteria established by the FRCC and OUC, OUC will contact the FRCC to set up a joint study. A review of the project will then be initiated per FRCC Procedures. If the project does not meet the level of FRCC Review, OUC may still contact entities that may be impacted and have them review the project.

### Project Notification for Modeling

Once the connection agreement is in place, OUC or the project’s representative will report the necessary information to the FRCC databank, and the project schedule per current FRCC guidelines. Depending on the project, this information may be reported prior to the completion of the connection agreement.

## Voltage Level, MW, and MVAR Capacity or Demand at Point of Connection

The transmission user and OUC will discuss the available voltages, MW & MVAR capacity at the point of connection during the feasibility and impact studies. This information will be used to perform the studies and will be forwarded to the FRCC at the appropriate time per Section 3.2 (Procedure for FRCC Notification and Others of Proposed Project).

## Breaker Duty and Surge Protection

The transmission user’s equipment that affects the performance of OUC’s transmission system will meet or exceed OUC’s requirement for similar equipment and coordinate with OUC’s own system. Consideration should be given for forecasted system growth in the selection of equipment.

## System Protection and Coordination

The transmission user’s equipment that affects the performance of OUC’s transmission system will meet or exceed OUC’s requirement for similar equipment and coordinate with OUC’s own system. Consideration should be given for forecasted system growth in the selection of equipment.

## Metering and Telecommunications

### Metering

The metering equipment required will be determined by the rate, size, and type of facility. Any metering equipment provided by the transmission user for OUC use will meet or exceed applicable OUC and industry standards.

### Telecommunications

The transmission user shall provide telecommunications facilities sufficient to meet OUC’s telephone, radio, system protection, remote meter reading, EMS, and SCADA requirements. OUC will specify the type, speed, and characteristics of the communication channel equipment so that compatibility with existing communications, supervisory control, relaying and telemetering equipment is maintained. The specific type of communication equipment to be furnished by the requesting entity will be reviewed and approved by OUC. The requesting entity may have to reimburse OUC for the costs of any additional facilities provided by OUC.

Fiber optic additions to new or existing OUC transmission lines will be considered on a case-by-case basis. Technical analysis of clearances, structural loads, and electrical field effects may limit applications. Outage restrictions and maintenance responsibilities may also impact potential paths. OUC reserves the right to charge a fee for ROW, pole attachments and/or acquire individual optical fibers on the circuit, per agreement between the interconnecting entity and OUC.

## Grounding and Safety

The transmission user’s equipment that affect the performance of OUC’s transmission system or the safety of OUC personnel will meet or exceed OUC’s requirement for similar equipment and coordinate with OUC’s own system. Consideration should be given for forecasted system growth in the selection of equipment.

## Insulation and Insulation Coordination

The transmission user’s equipment that affects the performance of OUC’s transmission system will meet or exceed OUC’s requirement for similar equipment and coordinate with OUC’s own system. Consideration should be given for forecasted system growth in the selection of equipment.

## Voltage, Reactive Power, and Power Factor Control

### Transmission Facilities

Transmission facilities that generate power should refer to Section 3.9.2 (Generating Stations). Those that use power should refer to Section 3.9.3 (End Users).

### Generating Stations

Voltage

Generating Stations are responsible for regulating the voltage at their interconnection point. All voltage regulation equipment for the generating station will be approved by OUC and will be compliant with industry standards and best practices. Installations where the combined generation exceeds 50 MVA and some smaller installations may be required to install a power system stabilizer.

Reactive Power

All generating stations will be expected to provide or absorb reactive power as requested by OUC and the security coordinator to support local voltage. OUC reserves the right to directly review or have a third party review the reactive power equipment at the expense of the transmission user.

Power Factor

Power plants are expected to provide and absorb reactive power as required.

### End Users

Voltage

Transmission facility additions may be studied and monitored for their impact on system voltage levels during the impact study, facility study and post installation. Voltage studies may include both steady state and fluctuations due to load characteristics. Transmission users may be required to pay for system improvements due to unacceptable steady state voltage and/or unacceptable voltage fluctuations caused by their facility.

Reactive Power

Transmission users are expected to provide the majority of their reactive power requirements. Excessive reactive power requirements and/or rapidly changing reactive power requirements may require system improvements at the transmission user’s expense.

Power Factor

Transmission users are expected to maintain a power factor as close to 100% as practical.

## Power Quality Impacts

The power quality impact of a facility may be assessed during the connection process and post installation. The cost to remedy power quality problems generated by the transmission user will be the responsibility of the transmission user.

## Equipment Ratings

The transmission user’s equipment that affects the performance of OUC’s transmission system will need to meet or exceed OUC’s requirement for similar equipment and coordinate with OUC’s own system. Consideration should be given for forecasted system growth in the selection of equipment.

## Synchronizing of Facilities

All facilities with generation that intend to connect to the grid with their generation operating will be required to have at least one functional synchronizing check relay (IEEE Device 25) that supervises the connection and prevents asynchronous closing. Additional synchronizing requirements will be negotiated in the agreement.

## Maintenance Coordination

If the transmission user requires an outage to perform maintenance they should contact OUC as far in advance as possible.

For equipment that is designated as having an impact on OUC transmission performance, the transmission user is required to perform maintenance as recommended in OUC, manufacturer, and industry standards. OUC reserves the right to inspect equipment and maintenance records to ensure the equipment is being properly maintained.

## Abnormal Frequency and Voltage

The transmission system in Florida generally experiences voltages between 90% and 106% of nominal, and frequencies between 59.9 and 60.1 Hz. It is possible during a rare system events that voltages and/or frequency to exceed these limits. The transmission user is responsible for installing any protective devices necessary to protect their system from these rare excursions.

## Inspection Requirements

Inspection requirements will vary depending on the type and size of the facility. These requirements will be established during the connection process and adjusted as needed during implementation. In general OUC reserves the right to inspect as needed any user facilities that can impact the OUC transmission systems. These inspections may be routine, random or based on a system event or complaint.

## Communication and Procedures for Normal and Emergency Operating Conditions

During normal and emergency operating conditions the OUC operations groups and the State Security Coordinator is charged with maintaining a safe and reliable transmission system in Florida. All transmission users are expected to immediately follow directives issued by the OUC operations groups, the State Security Coordinator or their designee when those directives are considered critical to maintaining the transmission system.

Specific details on communication and procedures will vary depending on the type, size, and location of the facility and will be established on a case by case basis.

# Acronyms\Definitions

Unless otherwise specified, please refer to the OUC Compliance Glossary for all related acronyms and definitions.

# Reference Documents

| Document Title | Document ID |
| --- | --- |

# Revision History

| Version | Authority | Action | Date |
| --- | --- | --- | --- |
| 1.0 | Aaron Staley | Original document | 12/26/06 |
| 1.1 | CIAC | Converted to new OUC document format SME revision. Deleted and added new information to the following sections: Connection Studies, Project Notification for Modeling, Generating Stations, End Users, Power Quality, Inspection Requirements | 01/26/09 |
| 1.1.1 | Aaron Staley | Completed review as CIAC member. No changes. | 12/03/09 |
| - | Chuck Easterling | Completed annual review as SME. No changes. | 12/21/09 |
| 1.2 | CIAC | Approved and released s V1.2 | 01/25/10 |
| 1.2.1 | Charles Easterling | Annual review. Minor grammar revisions to 3.2.2. | 12/27/10 |
| - | Aaron Staley | Completed annual review as CIAC member. No additional changes. | 01/14/11 |
| 1.3 | CIAC | Approved for release as V1.3. | 01/20/11 |
| 1.3.1 | Brad Chase | Re-classified this document as Public. This is a public document posted on OUC’s OASIS website. | 10/27/11 |
| 1.4 | CIAC | Approved for release as V1.4. | 10/27/11 |
| 1.4.1 | C. Hammock | Changed Review Cycle from Yearly to Annual. Minor punctuation changes. | 10/05/12 |
| - | Charles Easterling | Completed annual review as SME. No changes. | 10/05/12 |
| 1.5 | CIAC | Approved for release as V1.5. | 10/25/12 |
| 1.5.1 | Charles Easterling | Completed annual review with no changes. | 10/09/13 |
| 1.6 | CIAC | Approved for release as V1.6. | 10/10/13 |
| 1.6.1 | Li Fang | Updated version of FAC-001 from -0 to -1 | 09/18/14 |
| 1.6.2 | Charles Easterling, Aaron Staley | Annual review with no changes | 09/24/14 |
| 1.7 | CIAC | Approved for release as V1.7. | 09/25/14 |
| 1.7.1 | Charles Easterling | Swapped sections 3.9.1 and 3.9.2, to read/flow better. | 09/24/15 |
| 1.8 | CIAC | Approved for release as V1.8. | 10/08/15 |
| 1.8.1 | Li Fang | Minor changes based on FAC-001-2 Guidelines and Technical Basis | 12/18/15 |
| - | Dan Slack | Reviewed with no additional changes. | 01/05/16 |
| 1.9 | CIAC | Approved for release as V1.9. | 01/14/16 |
| 1.9.1 | Chuck Easterling | Reviewed with no changes. | 11/15/16 |
| 2.0 | CIAC | Approved for release as v2.0. | 12/08/16 |
| 2.0.1 | Aaron Staley | Reviewed with no changes. | 02/22/17 |
| 2.1 | CIAC | Approved for release as v2.1 | 03/13/17 |

Review Cycle: Annual