## Index
Source
Figure 1 | "Study Figures" | Figure 1: Expected Load Change From Prior Week
Figure 2 | "Study Figures" | Figure 2: Proxy Load Base Schedule
Figure 3 | "Study Figures" | Figure 3: Base Schedule Ramping Adjustment
Figure 4 | "non-VER model - 12 Month" | Figure 4: Original PACW Non-VER Deviations
Figure 5 | "non-VER model - 12 Month" | Figure 5: Adjusted PACW Non-VER Deviations
Figure 6 | "Study Figures" | Figure 6: Deviation and Regulation Reserve Requirement Example
Figure 7 | "Combined 2015 - 12 Month" | Figure 7: Probability Distribution of PACE Combined Portfolio Deviations
Figure 8 | "Study Figures" | Figure 8: Probability of Exceeding Allowed Deviation
Figure 9 | "Wind Forecast" | Figure 9: VER Regulation Reserve Requirements by Forecast Capacity Factor
Figure 10 | "Wind Forecast" | Figure 10: Stand-alone VER Regulation Reserve Forecast
Figure 11 | "NonVER Forecast" | Figure 11: Non-VER Regulation Reserve Requirements by Forecast Capacity Factor
Figure 12 | "NonVER Forecast" | Figure 12: Non-VER Regulation Reserve Requirements by Hour of the Day
Figure 13 | "NonVER Forecast" | Figure 13: Stand-alone Non-VER Regulation Reserve Forecast
Figure 14 | "Load Forecast" | Figure 14: Stand-alone Load Regulation Reserve Requirements by Hour of the Day
Figure 15 | "Load Forecast" | Figure 15: Stand-alone Load Regulation Reserve Forecast
Figure 16 | "Wind Forecast FMM" | Figure 16: Stand-alone VER Regulation Reserve Forecast with 15-minute Scheduling
Table 1 | "Study Figures" | Table 1: BAL-001-1 vs BAL-001-2
Table 2 | "Study Figures" | Table 2: Deviation and Regulation Reserve Requirement Example
Table 3 | "Study Figures" | Table 3: PacifiCorp Portfolio Diversity Benefits
Table 4 | "Study Figures" | Table 6: 2016 Regulation Reserve Study Results
Table 5 | "Study Figures" | Table 5: Results with PacifiCorp Portfolio Diversity and EIM Diversity
Table 6 | "Study Figures" | Table 4: EIM Flexible Reserve Diversity Benefit Application Example
Numbers cited in testimony
| 0.88955 | VER deviations from scheduled amounts vs load deviations
| 4.6501 | VER deviations from scheduled amounts vs non-VER deviations
| 2587.65 | the 2016 Study includes 2,588 megawatts of VERs
| 2227.65 | the 2016 Study includes 2,228 megawatts of non-VERs
| 1% | a 47 MW ACE shortfall in PACE has a 1% chance of exceeding the BAAL
East | West
0.02957 | 0.055083 | In 2015, PacifiCorp’s deviations and BAALs were uncorrelated
0.028613 | 0.00079196 | PacifiCorp’s deviations and BAALs were also uncorrelated when periods with large deviations were examined in isolation
Link: | BAAL Exceedance Probability | LOLP is derived from the BAAL probability distribution
| 1% | The [VER] forecast resulted in the possibility of reliability violations in roughly 1% of the hours
| 1.119% | This forecast resulted in the possibility of reliability violations roughly 1.1% of the time on PACW
| 2.6% | and 2.6% of the time on PACE
| 0.6851% | This forecast resulted in the possibility of reliability violations roughly 0.7% of the time in both PACW and PACE
| 245.6429 | The 246 MW diversity benefit
| 118.0281 | On average, this proportional reduction equals 118 MW for load
| 104.9917 | 105 MW for VERs
| 22.5781 | and 23 MW for non-VERs
Link: | Diversity Probability of Exceedance | probability distribution of calculated EIM diversity benefits based on historical results
| 52.9304 | This is a reduction of 53 MW
| 13.78% | or approximately 13.8%
| Correlation West |  |  |  | Correlation East
| Load | VER | Non-VER |  | Load | VER | Non-VER
Load |  | -0.016252 | -0.012171 | Load |  | -0.031034 | 0.010359
VER |  |  | -0.013669 | VER |  |  | -0.029927
Non-VER |  |  |  | Non-VER
| 2013 Rate Case | $/kw-year | kw Reserve / kw customer
| Annual Cost | 96.726
| Load Rate | 4.166 | 4.307%
| Non-VER Rate | 0.001 | 0.001034%
| VER Rate | 8.255 | 8.534%

## Tables
Table 1: BAL-001-1 vs BAL-001-2
| Interval (minutes) | Compliance % | Allowed Variance
BAL-001-1 | 10 | 90% | Fixed: L10
BAL-001-2 | 30 | 100% | Dynamic: BAAL
Impact on Requirement | Down | Up | Varies |  |  |  |  | Table 5: Results with PacifiCorp Portfolio Diversity and EIM Diversity
|  |  |  | Table 3: PacifiCorp Portfolio Diversity Benefits |  |  |  | Table 6: 2016 Regulation Reserve Study Results | [6 empty] | Table 4: EIM Flexible Reserve Diversity Benefit Application Example
[5 empty] | Stand-alone Regulation Forecast | Diversity benefit | Portfolio Regulation Forecast |  | Stand-alone Regulation Forecast | Stand-alone Rate | Portfolio Regulation Forecast with EIM | Portfolio Rate with EIM | 2015 Capacity | Rate Determinant |  | CAISO Req't. Before Benefit | NEVP Req't. Before Benefit | PACE Req't. Before Benefit | PACW Req't. Before Benefit | Total Req't. Before Benefit | Total Req't. After Benefit | Total Diversity Benefit | PACE Share | PACE Benefit | PACE Req't. After Benefit
|  |  |  | Scenario | (aMW) | (aMW) | (aMW) | Scenario | (aMW) | (%) | (aMW) | (%) | (MW) |  | Sensitivity | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (MW)
|  |  |  | Non-VER | 82.5781 | 22.5781 | 60 | Non-VER | 82.5781 | 3.734% | 51.6007 | 2.333% | 2227.65 | Nameplate | 15-minute Interval 1 | 550 | 110 | 165 | 100 | 925 | 583 | 342 | 17.84% | 61.0054 | 103.9946
|  |  |  | Load | 433.0281 | 118.0281 | 315 | Load | 433.0281 | 4.467% | 270.5867 | 2.791% | 9695.8803 | 12 CP | 15-minute Interval 2 | 600 | 110 | 165 | 100 | 975 | 636 | 339 | 16.92% | 57.3692 | 107.6308
|  |  |  | VER - Wind | 383.9917 | 104.9917 | 279 | VER - Wind | 383.9917 | 14.76% | 239.9453 | 9.22% | 2587.65 | Nameplate | 15-minute Interval 3 | 650 | 110 | 165 | 110 | 1035 | 689 | 346 | 15.94% | 55.1594 | 109.8406
|  |  |  | Total | 899.5979 | 245.6429 | 653.955 | Total | 899.5979 |  | 562.1327 |  |  |  | 15-minute Interval 4 | 667 | 120 | 180 | 113 | 1080 | 742 | 338 | 16.67% | 56.3333 | 123.6667
[8 empty] | Diversity Savings (%) |  |  | 37.51%
Committed Intra-hour Scheduling
[8 empty] | VER - 15-Minute Wind | 331.0612 | 12.79% |  | 7.995% | 2587.65 | Nameplate

## ChartData
| Prior Week |  |  |  | Forecast | [9 empty] | Table 2: Deviation and Regulation Reserve Requirement Example
Interval Beginning | Actual Load (5-minute) | Actual Load (Hourly) |  | Interval Beginning | Actual Load (5-minute) | Base Schedule (Hourly) | Exceedance Probability | East | West | Shortfall Probability | East BAAL | West BAAL | East L10 | West L10 | Interval | Base Schedule | Actual | 5-Minute Deviation | 30-Minute Deviation | Reserve Requirement
42023.7083 | 2642.7733 |  | 7.367% | 42030.7083 | 2638.2194 |  | 0% | 200 | 135 | 100% | 191 | 133 | 47.75 | 33.25 | 0:00 | 2500 | 2510 | 10 | 10 | 40
42023.7118 | 2681.1579 |  |  | 42030.7118 | 2652.6679 |  | 1% | 199 | 134 | 99% | 191 | 133 | 47.75 | 33.25 | 0:05 |  | 2520 | 20 | 10 | 40
42023.7153 | 2712.4161 |  |  | 42030.7153 | 2675.6338 |  | 2% | 199 | 134 | 98% | 191 | 133 | 47.75 | 33.25 | 0:10 |  | 2530 | 30 | 10 | 40
42023.7188 | 2738.5299 |  |  | 42030.7188 | 2700.4475 |  | 3% | 199 | 134 | 97% | 191 | 133 | 47.75 | 33.25 | 0:15 |  | 2540 | 40 | 10 | 40
42023.7222 | 2767.0409 |  |  | 42030.7222 | 2727.5271 |  | 4% | 199 | 134 | 96% | 191 | 133 | 47.75 | 33.25 | 0:20 |  | 2550 | 50 | 10 | 40
42023.7257 | 2786.3653 |  |  | 42030.7257 | 2746.3627 |  | 5% | 199 | 134 | 95% | 191 | 133 | 47.75 | 33.25 | 0:25 |  | 2560 | 60 | 10 | 40
42023.7292 | 2806.042 |  |  | 42030.7292 | 2765.242 |  | 6% | 199 | 134 | 94% | 191 | 133 | 47.75 | 33.25 | 0:30 |  | 2570 | 70 | 20 | 40
42023.7326 | 2818.703 |  |  | 42030.7326 | 2770.7877 |  | 7% | 199 | 134 | 93% | 191 | 133 | 47.75 | 33.25 | 0:35 |  | 2560 | 60 | 30 | 40
42023.7361 | 2833.103 |  |  | 42030.7361 | 2781.1275 |  | 8% | 199 | 134 | 92% | 191 | 133 | 47.75 | 33.25 | 0:40 |  | 2550 | 50 | 40 | 40
42023.7396 | 2839.6003 |  |  | 42030.7396 | 2800.5915 |  | 9% | 199 | 134 | 91% | 191 | 133 | 47.75 | 33.25 | 0:45 |  | 2540 | 40 | 40 | 40
42023.7431 | 2845.8208 |  |  | 42030.7431 | 2802.2216 |  | 10% | 199 | 134 | 90% | 191 | 133 | 47.75 | 33.25 | 0:50 |  | 2530 | 30 | 30 | 40
42023.7465 | 2844.1614 |  |  | 42030.7465 | 2805.1288 |  | 11% | 199 | 134 | 89% | 191 | 133 | 47.75 | 33.25 | 0:55 |  | 2520 | 20 | 20 | 40
42023.75 | 2842.0957 | 2837.4587 | -1.135% | 42030.75 | 2802.5172 | 2832.5692 | 12% | 199 | 134 | 88% | 191 | 133 | 47.75 | 33.25
42023.7535 | 2845.292 | 2837.4587 |  | 42030.7535 | 2802.8261 | 2832.5692 | 13% | 199 | 134 | 87% | 191 | 133 | 47.75 | 33.25
42023.7569 | 2844.103 | 2837.4587 |  | 42030.7569 | 2808.3315 | 2832.5692 | 14% | 199 | 134 | 86% | 191 | 133 | 47.75 | 33.25
42023.7604 | 2846.1309 | 2837.4587 |  | 42030.7604 | 2813.7726 | 2832.5692 | 15% | 199 | 134 | 85% | 191 | 133 | 47.75 | 33.25
42023.7639 | 2848.905 | 2837.4587 |  | 42030.7639 | 2806.5401 | 2832.5692 | 16% | 199 | 134 | 84% | 191 | 133 | 47.75 | 33.25 | Interval | Base Schedule | Actual | 5-Minute Deviation | 30-Minute Deviation | Reserve Requirement
42023.7674 | 2844.6741 | 2837.4587 |  | 42030.7674 | 2796.4902 | 2832.5692 | 17% | 199 | 134 | 83% | 191 | 133 | 47.75 | 33.25 | 0:00 |  | 2507.2941 | 7.2941 | 7.2941 | 40
42023.7708 | 2828.5263 | 2837.4587 |  | 42030.7708 | 2791.7057 | 2832.5692 | 18% | 199 | 134 | 82% | 191 | 133 | 47.75 | 33.25 | 0:01 |  | 2508.647 | 8.647 | 7.2941 | 40
42023.7743 | 2828.6228 | 2837.4587 |  | 42030.7743 | 2779.7166 | 2832.5692 | 19% | 199 | 134 | 81% | 191 | 133 | 47.75 | 33.25 | 0:02 |  | 2510 | 10 | 7.2941 | 40
42023.7778 | 2833.043 | 2837.4587 |  | 42030.7778 | 2779.8378 | 2832.5692 | 20% | 199 | 134 | 80% | 191 | 133 | 47.75 | 33.25 | 0:03 |  | 2511.1321 | 11.1321 | 7.2941 | 40
42023.7812 | 2829.596 | 2837.4587 |  | 42030.7812 | 2782.8692 | 2832.5692 | 21% | 199 | 134 | 79% | 191 | 133 | 47.75 | 33.25 | 0:04 |  | 2513.713 | 13.713 | 7.2941 | 40
42023.7847 | 2831.1836 | 2837.4587 |  | 42030.7847 | 2782.4679 | 2832.5692 | 22% | 199 | 134 | 78% | 191 | 133 | 47.75 | 33.25 | 0:05 |  | 2516.2928 | 16.2928 | 7.2941 | 40
42023.7882 | 2827.3314 | 2837.4587 | -0.6182% | 42030.7882 | 2771.5242 | 2832.5692 | 23% | 199 | 134 | 77% | 191 | 133 | 47.75 | 33.25 | 0:06 |  | 2518.8714 | 18.8714 | 7.2941 | 40
42023.7917 | 2820.985 | 2809.8517 |  | 42030.7917 | 2777.8699 | 2770.7222 | 24% | 199 | 134 | 76% | 191 | 133 | 47.75 | 33.25 | 0:07 |  | 2520 | 20 | 7.2941 | 40
42023.7951 | 2823.6178 | 2809.8517 |  | 42030.7951 | 2772.0428 | 2770.7222 | 25% | 199 | 134 | 75% | 191 | 133 | 47.75 | 33.25 | 0:08 |  | 2521.4135 | 21.4135 | 7.2941 | 40
42023.7986 | 2815.5654 | 2809.8517 |  | 42030.7986 | 2774.0049 | 2770.7222 | 26% | 199 | 134 | 74% | 191 | 133 | 47.75 | 33.25 | 0:09 |  | 2523.9364 | 23.9364 | 7.2941 | 40
42023.8021 | 2818.8939 | 2809.8517 |  | 42030.8021 | 2765.1782 | 2770.7222 | 27% | 199 | 134 | 73% | 191 | 133 | 47.75 | 33.25 | 0:10 |  | 2526.3934 | 26.3934 | 7.2941 | 40
42023.8056 | 2811.6675 | 2809.8517 |  | 42030.8056 | 2757.3749 | 2770.7222 | 28% | 199 | 134 | 72% | 191 | 133 | 47.75 | 33.25 | 0:11 |  | 2528.7844 | 28.7844 | 7.2941 | 40
42023.809 | 2815.8498 | 2809.8517 |  | 42030.809 | 2755.3019 | 2770.7222 | 29% | 199 | 134 | 71% | 191 | 133 | 47.75 | 33.25 | 0:12 |  | 2530 | 30 | 7.2941 | 40
42023.8125 | 2814.6377 | 2809.8517 |  | 42030.8125 | 2759.5553 | 2770.7222 | 30% | 199 | 134 | 70% | 191 | 133 | 47.75 | 33.25 | 0:13 |  | 2531.087 | 31.087 | 7.2941 | 40
42023.816 | 2807.8631 | 2809.8517 |  | 42030.816 | 2751.7849 | 2770.7222 | 31% | 199 | 134 | 69% | 191 | 133 | 47.75 | 33.25 | 0:14 |  | 2533.6699 | 33.6699 | 7.2941 | 40
42023.8194 | 2802.7264 | 2809.8517 |  | 42030.8194 | 2750.8657 | 2770.7222 | 32% | 199 | 134 | 68% | 191 | 133 | 47.75 | 33.25 | 0:15 |  | 2536.2656 | 36.2656 | 7.2941 | 40
42023.8229 | 2803.0425 | 2809.8517 |  | 42030.8229 | 2744.9162 | 2770.7222 | 33% | 199 | 134 | 67% | 191 | 133 | 47.75 | 33.25 | 0:16 |  | 2538.8743 | 38.8743 | 7.2941 | 40
42023.8264 | 2794.1949 | 2809.8517 |  | 42030.8264 | 2735.8855 | 2770.7222 | 34% | 199 | 134 | 66% | 191 | 133 | 47.75 | 33.25 | 0:17 |  | 2540 | 40 | 7.2941 | 40
42023.8299 | 2789.1757 | 2809.8517 |  | 42030.8299 | 2731.263 | 2770.7222 | 35% | 199 | 134 | 65% | 191 | 133 | 47.75 | 33.25 | 0:18 |  | 2541.1673 | 41.1673 | 7.2941 | 40
[7 empty] | 36% | 199 | 134 | 64% | 191 | 133 | 47.75 | 33.25 | 0:19 |  | 2543.6628 | 43.6628 | 7.2941 | 40
[7 empty] | 37% | 199 | 134 | 63% | 191 | 133 | 47.75 | 33.25 | 0:20 |  | 2546.1881 | 46.1881 | 7.2941 | 40
[7 empty] | 38% | 199 | 134 | 62% | 191 | 133 | 47.75 | 33.25 | 0:21 |  | 2548.7433 | 48.7433 | 7.2941 | 40
[7 empty] | 39% | 199 | 134 | 61% | 191 | 133 | 47.75 | 33.25 | 0:22 |  | 2550 | 50 | 7.2941 | 40
[7 empty] | 40% | 199 | 134 | 60% | 191 | 133 | 47.75 | 33.25 | 0:23 |  | 2551.2376 | 51.2376 | 7.2941 | 40
[7 empty] | 41% | 199 | 134 | 59% | 191 | 133 | 47.75 | 33.25 | 0:24 |  | 2553.7944 | 53.7944 | 7.2941 | 40
[7 empty] | 42% | 199 | 134 | 58% | 191 | 133 | 47.75 | 33.25 | 0:25 |  | 2556.3269 | 56.3269 | 7.2941 | 40
[7 empty] | 43% | 199 | 134 | 57% | 191 | 133 | 47.75 | 33.25 | 0:26 |  | 2558.8352 | 58.8352 | 7.2941 | 40
[7 empty] | 44% | 199 | 134 | 56% | 191 | 133 | 47.75 | 33.25 | 0:27 |  | 2560 | 60 | 7.2941 | 40
[7 empty] | 45% | 199 | 134 | 55% | 191 | 133 | 47.75 | 33.25 | 0:28 |  | 2561.4167 | 61.4167 | 7.2941 | 40
[7 empty] | 46% | 199 | 134 | 54% | 191 | 133 | 47.75 | 33.25 | 0:29 |  | 2564.0367 | 64.0367 | 7.2941 | 40
[7 empty] | 47% | 199 | 134 | 53% | 191 | 133 | 47.75 | 33.25 | 0:30 |  | 2566.5412 | 66.5412 | 8.647 | 40
[7 empty] | 48% | 199 | 134 | 52% | 191 | 133 | 47.75 | 33.25 | 0:31 |  | 2568.9301 | 68.9301 | 10 | 40
[7 empty] | 49% | 199 | 134 | 51% | 191 | 133 | 47.75 | 33.25 | 0:32 |  | 2570 | 70 | 11.1321 | 40
[7 empty] | 50% | 199 | 134 | 50% | 191 | 133 | 47.75 | 33.25 | 0:33 |  | 2568.8194 | 68.8194 | 13.713 | 40
[7 empty] | 51% | 199 | 134 | 49% | 191 | 133 | 47.75 | 33.25 | 0:34 |  | 2566.2644 | 66.2644 | 16.2928 | 40
[7 empty] | 52% | 199 | 134 | 48% | 191 | 133 | 47.75 | 33.25 | 0:35 |  | 2563.7139 | 63.7139 | 18.8714 | 40
[7 empty] | 53% | 199 | 134 | 47% | 191 | 133 | 47.75 | 33.25 | 0:36 |  | 2561.1676 | 61.1676 | 20 | 40
[7 empty] | 54% | 199 | 134 | 46% | 191 | 133 | 47.75 | 33.25 | 0:37 |  | 2560 | 60 | 21.4135 | 40
[7 empty] | 55% | 199 | 134 | 45% | 191 | 133 | 47.75 | 33.25 | 0:38 |  | 2558.8186 | 58.8186 | 23.9364 | 40
[7 empty] | 56% | 199 | 134 | 44% | 191 | 133 | 47.75 | 33.25 | 0:39 |  | 2556.3819 | 56.3819 | 26.3934 | 40
[7 empty] | 57% | 199 | 134 | 43% | 191 | 133 | 47.75 | 33.25 | 0:40 |  | 2553.8908 | 53.8908 | 28.7844 | 40
[7 empty] | 58% | 199 | 133 | 42% | 191 | 133 | 47.75 | 33.25 | 0:41 |  | 2551.345 | 51.345 | 30 | 40
[7 empty] | 59% | 199 | 133 | 41% | 191 | 133 | 47.75 | 33.25 | 0:42 |  | 2550 | 50 | 31.087 | 40
[7 empty] | 60% | 199 | 133 | 40% | 191 | 133 | 47.75 | 33.25 | 0:43 |  | 2548.6774 | 48.6774 | 33.6699 | 40
[7 empty] | 61% | 199 | 133 | 39% | 191 | 133 | 47.75 | 33.25 | 0:44 |  | 2546.2309 | 46.2309 | 36.2656 | 40
[7 empty] | 62% | 199 | 133 | 38% | 191 | 133 | 47.75 | 33.25 | 0:45 |  | 2543.7818 | 43.7818 | 38.8743 | 40
[7 empty] | 63% | 199 | 133 | 37% | 191 | 133 | 47.75 | 33.25 | 0:46 |  | 2541.3302 | 41.3302 | 40 | 40
[7 empty] | 64% | 199 | 133 | 36% | 191 | 133 | 47.75 | 33.25 | 0:47 |  | 2540 | 40 | 40 | 40
[7 empty] | 65% | 199 | 133 | 35% | 191 | 133 | 47.75 | 33.25 | 0:48 |  | 2538.9668 | 38.9668 | 38.9668 | 40
[7 empty] | 66% | 191 | 133 | 34% | 191 | 133 | 47.75 | 33.25 | 0:49 |  | 2536.4375 | 36.4375 | 36.4375 | 40
[7 empty] | 67% | 191 | 133 | 33% | 191 | 133 | 47.75 | 33.25 | 0:50 |  | 2533.8505 | 33.8505 | 33.8505 | 40
[7 empty] | 68% | 191 | 133 | 32% | 191 | 133 | 47.75 | 33.25 | 0:51 |  | 2531.206 | 31.206 | 31.206 | 40
[7 empty] | 69% | 191 | 133 | 31% | 191 | 133 | 47.75 | 33.25 | 0:52 |  | 2530 | 30 | 30 | 40
[7 empty] | 70% | 191 | 133 | 30% | 191 | 133 | 47.75 | 33.25 | 0:53 |  | 2528.7762 | 28.7762 | 28.7762 | 40
[7 empty] | 71% | 191 | 133 | 29% | 191 | 133 | 47.75 | 33.25 | 0:54 |  | 2526.2626 | 26.2626 | 26.2626 | 40
[7 empty] | 72% | 191 | 133 | 28% | 191 | 133 | 47.75 | 33.25 | 0:55 |  | 2523.7471 | 23.7471 | 23.7471 | 40
[7 empty] | 73% | 191 | 133 | 27% | 191 | 133 | 47.75 | 33.25 | 0:56 |  | 2521.2297 | 21.2297 | 21.2297 | 40
[7 empty] | 74% | 191 | 133 | 26% | 191 | 133 | 47.75 | 33.25 | 0:57 |  | 2520 | 20 | 20 | 40
[7 empty] | 75% | 191 | 133 | 25% | 191 | 133 | 47.75 | 33.25 | 0:58 |  | 2518.6229 | 18.6229 | 18.6229 | 40
[7 empty] | 76% | 191 | 133 | 24% | 191 | 133 | 47.75 | 33.25 | 0:59 |  | 2517.2458 | 17.2458 | 17.2458 | 40
[7 empty] | 77% | 191 | 133 | 23% | 191 | 133 | 47.75 | 33.25
[7 empty] | 78% | 191 | 129 | 22% | 191 | 129 | 47.75 | 33.25
[7 empty] | 79% | 191 | 124 | 21% | 191 | 124 | 47.75 | 33.25
[7 empty] | 80% | 191 | 118 | 20% | 191 | 118 | 47.75 | 33.25
[7 empty] | 81% | 191 | 114 | 19% | 191 | 114 | 47.75 | 33.25
[7 empty] | 82% | 191 | 109 | 18% | 191 | 109 | 47.75 | 33.25
[7 empty] | 83% | 191 | 105 | 17% | 191 | 105 | 47.75 | 33.25
[7 empty] | 84% | 191 | 100 | 16% | 191 | 100 | 47.75 | 33.25
[7 empty] | 85% | 191 | 96 | 15% | 191 | 96 | 47.75 | 33.25
[7 empty] | 86% | 191 | 92 | 14% | 191 | 92 | 47.75 | 33.25
[7 empty] | 87% | 191 | 88 | 13% | 191 | 88 | 47.75 | 33.25
[7 empty] | 88% | 191 | 84 | 12% | 191 | 84 | 47.75 | 33.25
[7 empty] | 89% | 182 | 81 | 11% | 182 | 81 | 47.75 | 33.25
[7 empty] | 90% | 174 | 77 | 10% | 174 | 77 | 47.75 | 33.25
[7 empty] | 91% | 165 | 73 | 9% | 165 | 73 | 47.75 | 33.25
[7 empty] | 92% | 157 | 69 | 8% | 157 | 69 | 47.75 | 33.25
[7 empty] | 93% | 148 | 66 | 7% | 148 | 66 | 47.75 | 33.25
[7 empty] | 94% | 140 | 62 | 6% | 140 | 62 | 47.75 | 33.25
[7 empty] | 95% | 131 | 58 | 5% | 131 | 58 | 47.75 | 33.25
[7 empty] | 96% | 120 | 53 | 4% | 120 | 53 | 47.75 | 33.25
[7 empty] | 97% | 107 | 47 | 3% | 107 | 47 | 47.75 | 33.25
[7 empty] | 98% | 87 | 39 | 2% | 87 | 39 | 47.75 | 33.25
[7 empty] | 99% | 47 | 21 | 1% | 47 | 21 | 47.75 | 33.25
[7 empty] | 99.5% | 23 | 12 | 0.5% | 23 | 12 | 47.75 | 33.25
[7 empty] | 99.9% | 9 | 4 | 0.1% | 9 | 4 | 47.75 | 33.25
[7 empty] | 100% | 0 | 0 | 0% | 0 | 0 | 47.75 | 33.25

## Forecast Inputs
Regulation Req
| Load |  | Non-VER |  |  | Wind |  | Combined |  | Combined with EIM |  | Example |  |  | Without EIM |  | With EIM
Hour | PACW | PACE | PACW | PACE |  | PACW | PACE | PACW | PACE | PACW | PACE | Hour | PACW Wind | PACE Wind | PACW | PACE | PACW | PACE
0 | 113.8867 | 245.5492 | 33.692 | 36.5655 |  | the lesser of [the % in row 1 times nameplate wind capacity] or [the forecasted wind output for the hour plus the additional amount in row 2] |  | the sum of the load, non-VER, and wind requirements times diversity % below |  | the sum of the load, non-VER, Wind requirements times diversity % below |  | 7 | 414.725 | 879.1 | 390.3118 | 465.1875 | 335.609 | 399.7916
1 | 108.2674 | 124.7941 | 31.2304 | 31.8255 | [7 empty] | 16 | 82.945 | 175.82 | 265.7003 | 353.4965 | 228.462 | 303.8021
2 | 88.1207 | 96.4426 | 29.801 | 37.2297
3 | 64.7149 | 122.2243 | 24.1394 | 37.2297 |  |  |  | 79.2% | 69% | 68.1% | 59.3%
4 | 104.4266 | 280.9534 | 29.7856 | 37.2297
5 | 206.1419 | 322.5559 | 34.1413 | 33.4046 | 1) | 29.8% | 17.8%
6 | 206.1419 | 322.5559 | 34.1413 | 38.6693 | 2) | 3.6 | 0
7 | 206.1419 | 322.5559 | 39.5 | 38.6693
8 | 175.9068 | 309.8964 | 59.6514 | 47.8425 |  | Study Nameplate
9 | 168.8897 | 309.8964 | 61.0584 | 47.8425 |  | 829.45 | 1758.2
10 | 168.8897 | 309.8964 | 61.0584 | 50.9065
11 | 170.8025 | 294.9147 | 61.0584 | 50.9065
12 | 175.7655 | 329.1486 | 38.3215 | 50.9065
13 | 175.7655 | 329.1486 | 70.0248 | 40.5379
14 | 175.7655 | 329.1486 | 70.0248 | 40.5379
15 | 151.4234 | 309.8109 | 70.0248 | 40.5379
16 | 183.4212 | 308.6418 | 65.514 | 27.852
17 | 183.4212 | 281.8176 | 42.9853 | 29.0526
18 | 183.4212 | 300.216 | 35.8201 | 29.0526
19 | 156.5366 | 300.216 | 35.8201 | 29.0526
20 | 147.9457 | 300.216 | 33.0625 | 36.4218
21 | 147.9457 | 282.0275 | 33.0625 | 40.9373
22 | 133.0173 | 282.0275 | 33.692 | 40.9373
23 | 122.8356 | 282.0275 | 33.692 | 40.9373