## DNR MASTER
Designated Network Resources1
Updated April 15, 2024
Service Agreement | Counterparty | Network Resource | Geographic Location | Eletrical Location | Total Installed Capacity2 | Designated Capacity
BPA
SA229 | PACW Service | FCRPS - BPA sale to UIUC contract (#09PB-13116) | Oregon | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA328 | PACW Service | FCRPS - BPA sale to Yakima contract (#09PB-13134) | Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA538 | PACW Service | FCRPS - BPA sale to Umatilla Electric Coop (#09PB-13088) | Oregon/Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA538 | PACW Service | FCRPS - BPA sale to Columbia Basin Electric Coop (#09PB-13023) | Oregon/Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA539 | PACW Service | FCRPS - BPA sale to Benton REA (#09PB-13006) | Oregon/Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA735 | PACW Service | FCRPS - BPA sale to Clark PUD contract (#09PB-13020) | Oregon/Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 827 | PACW Service | FCRPS - BPA sale to Central Electric Coop (#09PB-13088) | Oregon/Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 975 | PACW Service | FCRPS - BPA sale to West Enxtension Irrigation District (#10GS-75345) | Oregon/Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 865 | PACW Service | FCRPS - BPA sale to Surprise Valley Electric Corp (#09PB-13110) | Oregon/Washington | Off-system/Received at BPAT.PACW | Unknown3 | Varies
Various | PACW Service | Green Springs Hydro | Oregon | Southern Oregon | 18 | 18
SA 746/SA 747 | PACE Service | Palisades Hydro | Idaho | Goshen | 176 | 176
SA 746/SA 747 | PACE Service | Schedule C WSPP Firm Purcase 1 | Utah | Off-system/Received at MDWP | Unknown3 | 50
SA 746/SA 747 | PACE Service | Schedule C WSPP Firm Purcase 2 | Utah | Off-system/Received at MDWP | Unknown3 | 75.000 / 125.00 MW
SA 746 | PACE Service | Chester Hydro | Idaho | Goshen | 3.6 | 1.1
SA 746 | PACE Service | Island Park Hydro | Idaho | Goshen | 4.8 | 1
SA 746 | PACE Service | FCRPS - BPA sale to Lost River Electric (#09PB13065) | Idaho | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 746 | PACE Service | FCRPS - BPA sale to Salmon River Electric (#09PB-13101) | Idaho | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 746 | PACE Service | FCRPS - BPA sale to Lower Valley Energy (#09PB-13066) | Idaho | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 746 | PACE Service | FCRPS - BPA sale to Fall River Electric (#09PB-13088) | Idaho | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 746 | PACE Service | FCRPS - BPA sale to City of Soda Springs (#09PB-13105) | Idaho | Off-system/Received at BPAT.PACW | Unknown3 | Varies
SA 746 | PACE Service | Warm Springs Hydro | Idaho | Goshen | 1 | 1
SA 746 | PACE Service | Rock Creek Hydro | Idaho | Goshen | 1 | 1
SA 747 | PACE Service | FCRPS - BPA sale to Idaho Falls Power (#09PB-12056) | Idaho | Off-system/Received at BPAT.PACW | Unknown3 | 256.000/238 .000 MW
SA 747 | PACE Service | Idaho Falls Bulb Turbines (embedded) | Idaho | Off-system/Received at BPAT.PACW | 27 | 27
SA505 | Basin Electric
|  | North Dakota Generation | Montana | Off-system/Received at YTP | Unknown3 | Unknown
|  | Laramie River Station | WYONORTH | Off-system/Received at DJ | 1710 | 33
SA175 | WAPA
|  | Buffalo Bill | Wyoming | Worland Tap | Unknown3 | 1
|  | Boysen | Wyoming | Worland Tap | Unknown3 | 2
|  | Shoshone | Wyoming | Thermopolis | Unknown3 | 1
|  | Heart Mountain | Wyoming | Laramie Sub | Unknown3 | 1
SA299 | Calpine Energy Solutions, LLC
|  | Power Purchase Agreement | Oregon | Off-system/Received at BPAT.PACW | 20 | 20
SA742 | Avangrid Renewables, LLC
|  | Wanapum/Priest Rapids | Washington | Off-system/Received at BPAT.PACW | 2094 | 3
|  | Gala Solar | Oregon | 115 kV Ponderosa substation | 56 | 56
SA628 | Tri-State
|  | Laramie River Station 2/3 | Wyoming | Off-system/Received at DJ | 1693 | 47
|  | Springerville Unit 3 | Arizona | Off-system/Received at FOURCORNE345 | 458.1 | 10
SA506 | USBR
|  | Grand Coulee Dam | Washington | Off-system | 6809 | Various
SA 847 | Constellation Energy Generation, LLC
|  | Power Purchase Agreement | Oregon | Off-system/Received at BPAT.PACW | 1 | 1
SA 894 | Navajo Tribal Utility Authority
|  | Power Purchase Agreement | Oregon | Off-system/Received at BPAT.PACW | 5 | 5
|  | Red Mesa Solar | Utah | McCracken | 4 | 4
SA1097 | Montana-Dakota Utilities Co.
|  | WYGEN 3 | Wyoming | Off-system/Received at WYODAK | 25 | 25
|  | BHP Contract | Wyoming | WYODAK | 41 | 41
SA66 | PacifiCorp Merchant | Network Resource | Geographic Location | Eletrical Location | Total Installed Capacity2 | Designated Capacity
| East Hydro | Ashton Plant | NE Idaho (Goshen) | St. Anthony substation | 6.7 | 7
| East Hydro | Big Fork 1 | NW Montana | Hot Springs 230 kV substation | 4.15 | 5
| East Hydro | Cutler | N Utah | Cutler substation | 32 | 32
| East Hydro | Fountain Green | N Utah | Fountain Green substation | 0.16 | 0.16
| East Hydro | Grace Plant | SE Idaho | Grace | 33 | 33
| East Hydro | Granite | N Utah | Granite | 2 | 2
| East Hydro | Gunlock | SW Utah | Gunlock | 0.75 | 0.75
| East Hydro | Last Chance Plant | SE Idaho | Last Chance | 1.734 | 1.73
| East Hydro | Olmstead | N Utah | Olmstead substation | 10.3 | 10.3
| East Hydro | Oneida | SE Idaho | Oneida | 30 | 30
| East Hydro | Paris | SE Idaho | St. Charles substation | 0.755 | 0.755
| East Hydro | Pioneer | N Utah | Pioneer | 5 | 5
| East Hydro | Sand Cove | SW Utah | Sand Cove | 0.8 | 0.8
| East Hydro | Soda Plant | SE Idaho | Soda substation | 14 | 14
| East Hydro | Stairs | N Utah | Stairs substation | 1 | 1.4
| East Hydro | Veyo | SW Utah | Veyo | 0.5 | 0.5
| East Hydro | Viva Naughton | SW Wyoming | Viva Naughton | 0.74 | 0.74
| East Hydro | Weber | N Utah | Weber | 3.85 | 3.85
| West Hydro | Bend | C Oregon | Bend | 1.11 | 1.11
| West Hydro | Clearwater 1 | SW Oregon | Clearwater 1 | 15 | 15
| West Hydro | Clearwater 2 | SW Oregon | Clearwater 2 | 26 | 26
| West Hydro | Copco 1&2 | N California | Copco No. 2 substation | 47 | 62
| West Hydro | Eagle Point | SW Oregon | Stevens Road substation | 2.81 | 2.813
| West Hydro | Eastside | SW Oregon | East Side | 3.2 | 3.2
| West Hydro | Fall Creek | N California | Copco No. 2 substation | 2.2 | 4
| West Hydro | Fish Creek | SW Oregon | Fish Creek substation | 11 | 13
| West Hydro | Iron Gate | N California | Iron Gate | 18 | 20
| West Hydro | JC Boyle | N California | JC Boyle | 98 | 98
| West Hydro | Lemolo 1 | SW Oregon | Lemolo 1 | 32.8 | 32
| West Hydro | Lemolo 2 | SW Oregon | Clearwater 115 kV Switching Station | 33 | 38.5
| West Hydro | Merwin | SW Washington | Merwin substation | 136 | 151
| West Hydro | Prospect 1 | SW Oregon | Prospect Central substation | 3.76 | 7
| West Hydro | Prospect 2 | SW Oregon | Prospect Central substation | 32 | 40
| West Hydro | Prospect 3 | SW Oregon | Prospect Central substation | 7.2 | 9
| West Hydro | Prospect 4 | SW Oregon | Prospect Central substation | 1 | 2
| West Hydro | Slide Creek | SW Oregon | Slide Creek | 18 | 18
| West Hydro | Soda Springs | SW Oregon | Soda Springs substation | 11 | 13
| West Hydro/Long Term Purchase | Swift 1 & Swift No. 2 Aggregate | SW Washington | Troutdale substation | 312 | 338
| West Hydro | Toketee | SW Oregon | Toketee substation | 42.501 | 45
| West Hydro | Wallowa Falls | NE Oregon | Wallowa Falls substation | 1.1 | 2
| West Hydro | Westside | SW Oregon | West Side | 0.6 | 0.6
| West Hydro | Yale | SW Washington | Yale substation | 134 | 173
| East Solar | APPALOOSA I-B | SW Utah | Three Peaks substation | 80 | 80
| East Solar | APPALOOSA I-A | SW Utah | Three Peaks substation | 120 | 120
| East Solar | Castle Solar | SE Utah | McFadden substation | 20 | 20
| East Solar | Castle Solar Intermountain Healthcare | SE Utah | McFadden substation | 20 | 20
| East Solar | Elektron Solar 25 | N Utah | Craner Flat substation | 70 | 70
| East Solar | Elektron Solar 20 | N Utah | Craner Flat substation | 11 | 11
| East Solar | Horseshoe Solar | N Utah | Horseshoe substation | 75 | 75
| East Solar | Rocket Solar | NW Utah | Lampo substation | 80 | 80
| West Solar | Black Cap Solar | SW Oregon | Mile-Hi substation | 2 | 2
| West Solar | Black Cap/Lakeview | SW Oregon | Mile-Hi substation | 0.309 | 0.309
| West Solar | Bourdet 1 | SW Oregon | Chiloquin | 0.0837 | 0.0837
| West Solar | Bourdet 2 | SW Oregon | Chiloquin | 0.0837 | 0.0837
| West Solar | Cherry Creek Solar, LLC | SC Oregon | Sprague River substation | 0.359 MW | 0.359 MW
| West Solar | Crook County Solar | C Oregon | Powell Butte | 0.411 | 0.411
| West Solar | CTWS Utilities Dept | C Oregon | Warm Springs | 0.254 | 0.254
| West Solar | Hammerich, Inc #1 | SW Oregon | Casebeer substation | 0.1 | 0.307
| West Solar | Hammerich, Inc #2 | SW Oregon | Casebeer substation | 0.1 | 0.1
| West Solar | Hay Creek Solar, LLC | NE Oregon | Weston substation | 0.567 MW | 0.567
| West Solar | Joseph Community Solar | NE Oregon | Joseph substation | 0.425 | 0.425
| West Solar | Linkville Solar, LLC | SW Oregpn | Westside substation | 2.8 | 2.8
| West Solar | Millican Solar | C Oregon | Ponderosa-Houston Lake 115 kV line | 60 | 60
| West Solar | Obsidian Renewables (Lakeview II) | SW Oregon | Lakeview substation | 0.421 | 0.421
| West Solar | Powell Butte Solar | C Oregon | Powell Butte | 0.164 | 0.164
| West Solar | Ryo D. Keeton #1 | SW Oregon | Casebeer substation | 1 | 1
| West Solar | Ryo D. Keeton #2 | SW Oregon | Casebeer substation | 1 | 1
| West Solar | Solwatt Solar Project | NE Oregon | Hinkle substation | 0.307 | 0.307
| West Solar | Solwatt Solar Project II | NE Oregon | Hinkle substation | 1 | 1
| West Solar | Whisky Creek Solar, LLC | SC Oregon | Beatty Substation | 0.165 | 0.165
| West Solar | Wocus Marsh Solar, LLC | SC Oregon | Running Y substation | 0.882 | 0.882
| East Thermal | Blundell Aggregate | SW Utah | Blundell substation | 38.1 | 40
| Bridger Thermal | Bridger Aggregate | SW Wyoming | Jim Bridger substation | 2317.7 | 1415
| East Thermal | Craig/Hayden | NW Colorado | Four Corners | 1804.6 | 67
| East Thermal | Craig/Hayden | NW Colorado | Mona | 1804.6 | 29
| East Thermal | Currant Creek CCCT | N Utah | Current Creek substation | 566.9 | 584
| East Thermal | Dave Johnston Aggregate | E Wyoming | Dave Johnston substation | 816.8 | 811
| East Thermal | Gadsby Aggregate (Gadsby 1, 2, 3) | N Utah | Gadsby substation | 251.6 | 230.5
| East Thermal | Gadsby GT Aggregate (Gadsby 4, 5, 6) | N Utah | Gadsby substation | 141.00 MW | 129
| East Thermal | Hunter Aggregate | SE Utah | Hunter substation | 1472.2 | 1220
| East Thermal | Huntington Aggregate | SE Utah | Huntington substation | 996 | 979
| East Thermal | Lake Side | N Utah | Dynamo substation | 591.3 | 613
| East Thermal | Lake Side 2 | N Utah | Lake Side 2 | 712 | 712
| East Thermal | Naughton Aggregate | SW Wyoming | Naughton substation | 652 | 652
| East Thermal | Wyodak 1 | N Wyoming | Wyodak substation | 362 | 280
| West Thermal | Colstrip Aggregate (4) | SE Montana | Buckley 500/Hot Springs | 2272 | 156
| West Thermal | Chehalis | NW Oregon | Troutdale substation or MIDC | 593.3 | 520
| West Thermal | Hermiston | NE Oregon | Alvey 500/Buckley 500/McNary 230 kV | 621.2 | 255
| East Wind | Cedar Creek Wind, LLC | SE Idaho | Goshen-Sugar Mill transmission line | 151.8 | 151.8
| East Wind | Dunlap Wind Farm | E Wyoming | Shirley Basin substation | 111 | 111
| East Wind | Ekola Flats Wind | E Wyoming | Aeolus | 250 | 250
| East Wind | Foote Creek 1 | E Wyoming | Foote Creek 34.5 kV substation | 41.4 | 37.8
| East Wind | Foote Creek 3 | E Wyoming | Foote Creek substation | 24.75 | 24.75
| East Wind | Foote Creek 4 | E Wyoming | Foote Creek substation | 16.8 | 16.8
| East Wind | Glenrock Wind 1 | E Wyoming | Windstar substation | 99 | 99
| East Wind | Glenrock Wind 3 | E Wyoming | Windstar substation | 39 | 39
| East Wind | Pryor Mountain | N Wyoming | Bowler substation | 240 | 240
| East Wind | Rolling Hills | E Wyoming | Windstar substation | 99 | 99
| East Wind | High Plains Wind | E Wyoming | Foote Creek 230 kV substation | 99 | 99
| East Wind | McFadden Ridge Wind | E Wyoming | Foote Creek 230 kV substation | 28.5 | 28.5
| East Wind | Seven Mile Hill I | E Wyoming | Freezout substation | 99 | 102
| East Wind | Seven Mile Hill II | E Wyoming | Freezout substation | 21 | 21
| East Wind | TB Flats I | E Wyoming | Shirley Basin substation | 250 | 250
| East Wind | TB Flats II | E Wyoming | Shirley Basin substation | 250 | 250
| West Wind | Goodnoe Hills Wind | SW Washington | Vantage 230 kV substation | 94 | 94
| West Wind | Leaning Juniper I | NE Oregon | Midway substation | 100 | 100
| West Wind | Marengo Wind (Blue Sky) | SE Washington | Talbot substation | 210.6 | 210.6
| East QF | Amor IX (Off System) | SW Utah | Gondor.Pavant | 20.9 | 20.9
| East QF | Amy Family Holdings (Bell Mountain - Jake Amy) | NE Idaho (Goshen) | Berernice | 0.35 | 0.65
| East QF | Bell Mountain Hydro, LLC (Sorenson) | NE Idaho (Goshen) | Berernice substation | 0.3 | 0.29
| East QF | Beryl Solar, LLC | SW Utah | Enterprise Valley substation | 3 | 3
| East QF | Birch Creek | NE Idaho (Goshen) | Reno | 2.8 | 2.65
| East QF | BLM - Rawlins QF | C Wyoming | Platt substation | 0.1 | 0.1
| East QF | Buckhorn Solar | SW Utah | Parowan | 3 | 3
| East QF | BYU-Idaho QF | NE Idaho (Goshen) | BYU Idaho substation | 5.6 | 5.6
| East QF | Fall River Rural Electric Coop | NE Idaho (Goshen) | Canyon Creek | 6 | 6
| East QF | Cedar Valley | SW Utah | Enoch substation | 3 | 3
| East QF | Consolidated Irrigation Company | SE Idaho | Preston substation | 0.481 | 0.481
| East QF | Cottonwood Hydro (Lower) | N Utah | Quarry 138/12.47 kV | 1.111 | 0.85
| East QF | Cottonwood Hydro (Upper) | N Utah | Quarry #15 substation | 0.261 | 0.261
| East QF | Cove Mountain Solar | SW Utah | Enterprise Valley substation | 58 | 58
| East QF | Cove Mountain Solar 2 | SW Utah | Enterprise Valley substation | 122 | 122
| East QF | Draper Irrigation Dist | N Utah | Dimpledell | 0.511 | 0.511
| East QF | Dry Creek/Staufer | NE Idaho (Goshen) | Berenice substation | 3 | 4
| East QF | Enterprise Solar I, LLC | SW Utah | 138 kV Enterprise Valley – West Cedar transmission line | 80 | 80
| East QF | Escalante Solar I, LLC | SW Utah | Sigurd/Red Butte | 80 | 80
| East QF | Escalante Solar II, LLC | SW Utah | Sigurd/Red Butte | 80 | 80
| East QF | Escalante Solar III, LLC | SW Utah | Sigurd/Red Butte | 80 | 80
| East QF | Exxon Mobil | SW Wyoming | Exxon 230kV Sub | 107.4 | 107.4
| East QF | Fiddlers Canyon 1 | SW Utah | West Cedar substation | 2.1 | 2.1
| East QF | Fiddlers Canyon 2 | SW Utah | West Cedar substation | 2.1 | 2.1
| East QF | Fiddlers Canyon 3 | SW Utah | West Cedar substation | 3 | 3
| East QF | Five Pine QF | NE Idaho (Goshen) | Goshen | 39.9 | 39.9
| East QF | Georgetown Power | SE Idaho | Georgetown | 0.33 | 0.48
| East QF | Granite Peak Solar | SW Utah | West Cedar substation | 3 | 3
| East QF | Granite Mtn Solar East | SW Utah | Three Peaks - West Cedar transmission line | 80 | 80
| East QF | Granite Mtn Solar West | SW Utah | Three Peaks - West Cedar transmission line | 51 | 51
| East QF | Graphite Solar LLC | N Utah | Mathington 138 kV substation | 80 | 80
| East QF | Greenville Solar | SW Utah | Three Peaks - West Cedar transmission line | 2.2 | 2.2
| East QF | Hill Air Force Base | N Utah | Riverdale Sub | 2.457 | 2.457
| East QF | Hunter Solar | SW Utah | Sigurd/Red Butte | 100 | 100
| East QF | Iron Springs Solar | SW Utah | Three Peaks substation | 80 | 80
| East QF | J Bar 9 Ranch | N Wyoming | South Cody 69 kV | 0.1 | 0.1
| East QF | Kenneccott Copper - Smelter | N Utah | Terminal | 31.8 | 31.8
| East QF | Kenneccott Copper - Refinery | N Utah | Magna 138-kV | 8 | 7.54
| East QF | Laho Solar | SW Utah | Milford substation | 3 | 3
| East QF | Latigo Wind Park LLC | SE Utah | Pinto | 60 | 60
| East QF | MagCorp | N Utah | Horseshoe | 45 | 36
| East QF | Marsh Valley | SE Idaho | McCammon | 1.7 | 1.78
| East QF | Milford 2 | SW Utah | Milford substation | 2.97 | 2.97
| East QF | Milford Flat Solar, LLC | SW Utah | South Milford substation | 3 | 3
| East QF | Milford Solar I | SW Utah | Sigurd/Red Butte | 99 | 99
| East QF | Mink Creek | SE Idaho | Tanner | 2.7 | 3.18
| East QF | Mountain Wind I | SW Wyoming | Long Hollow substation | 61 | 60.9
| East QF | Mountain Wind II | SW Wyoming | Long Hollow substation | 79.5 | 79.8
| East QF | Nicholson Sunny Bar | NE Idaho (Goshen) | Berenice | 0.35 | 0.35
| East QF | North Point QF | NE Idaho (Goshen) | Goshen | 79.8 | 79.8
| East QF | Larry & Christie Oja (OJ Power) | SE Idaho | Malad | 0.26 | 0.26
| East QF | Panguitch Solar | SW Utah | Panguitch | 0.65 | 0.65
| East QF | Panguitch BESS | SW Utah | Panguitch | 1 | 1
| East QF | Pavant Solar I | SW Utah | Pavant | 50 | 50
| East QF | Pavant Solar II | SW Utah | Pavant | 50 | 50
| East QF | Pioneer Wind Park, LLC | E Wyoming | Amassa substation | 80 | 80
| East QF | Power County Wind North | SE Idaho | Sunbeam | 22.5 | 22.5
| East QF | Power County Wind South | SE Idaho | Sunbeam | 22.5 | 22.5
| East QF | Preston City | SE Idaho | Preston | 0.4 | 0.4
| East QF | Quichapa 1 | SW Utah | West Cedar substation | 3 | 3
| East QF | Quichapa 2 | SW Utah | West Cedar substation | 3 | 3
| East QF | Quichapa 3 | SW Utah | West Cedar substation | 3 | 3
| East QF | Sage Solar I | Naughton | Sage substation | 20 | 20
| East QF | Sage Solar II | Naughton | Sage substation | 20 | 20
| East QF | Sage Solar III | Naughton | Sage substation | 17.6 | 17.6
| East QF | Sigurd Solar | SW Utah | Sigurd/Red Butte | 80 | 80
| East QF | Simplot Phosphates | C Wyoming | Rock Springs | 13.3 | 13
| East QF | South Milford Project | SW Utah | South Milford substation | 3 | 3
| East QF | Spanish Fork Wind Park | N Utah | Spanish Fork Sub | 18.9 | 18.9
| East QF | St. Anthony Hydro, LLC | NE Idaho (Goshen) | St. Anthony substation | 0.7 | 0.7
| East QF | Sweetwater Solar | SW Wyoming | Raven substation | 80 | 80
| East QF | TATA Chemicals (Soda Ash) Partners | SW Wyoming | Green River | 5 | 5
| East QF | Tesoro | N Utah | Salt Lake City Utah Sub | 25 | 25
| East QF | Thayn Hydro | E Utah | Green River | 0.575 | 0.575
| East QF | Three Peaks Power, LLC | SW Utah | Three Peaks substation | 80 | 80
| East QF | Tooele Army Depot | N Utah | Tooele Depot substation | 3 | 3
| East QF | Utah Red Hills Renewables Park, LLC (Parowan) | SW Utah | Parowan Utah | 80 | 80
| West QF | Adams Solar | C Oregon | Cherry Lane | 10 | 10
| West QF | Bear Creek Solar Center, LLC | C Oregon | Pilot Butte substation | 10 | 10
| West QF | Big Top Wind Farm | NE Oregon | Hinkle 69 kV | 1.65 | 1.65
| West QF | Biomass One | SW Oregon | Line 40 | 30 | 30
| West QF | Black Cap II | SW Oregon | Mile-Hi substation | 8 | 8
| West QF | Bly Solar Center, LLC | SW Oregon | Bly substation | 9 | 9
| West QF | Bogus Creek | N California | Copco II | 0.16 | 0.2
| West QF | Bonanza Project | SW Oregon | Casebeer substation | 4.8 | 4.8
| West QF | Butter Creek Wind Farm | NE Oregon | Hinkle 69 kV | 4.95 | 4.95
| West QF | C Drop Hydro, LLC (Klamath Hydro) | SW Oregon | Hornet substation | 1.1 | 1.1
| West QF | Central Oregon Irrigation District - Juniper Ridge | C Oregon | Bend substation | 5 | 5
| West QF | Central Oregon Irrigation District - Siphon | C Oregon | 69kV Bend Loop | 6 | 6
| West QF | Chiloquin Solar LLC | NE Oregon | Buckaroo substation | 10 | 10
| West QF | Chopin Wind, LLC | NE Oregon | Athena substation | 10 | 10
| West QF | City of Albany | NW Oregon | Vine Street 20 kV substation | 0.5 | 0.5
| West QF | City of Astoria | NW Oregon | Knappa Svensen substation | 0.03 MW | 0.03 MW
| West QF | City of Portland Water Bureau | NW Oregon | Vernon substation | 0.03 | 0.03
| West QF | Cypress Creek Renewables Pendleton Project | NE Oregon | Buckaroo substation | 6 | 6
| West QF | Dorena Hydro LLC | NW Oregon | Village Green 115 kV | 6.1 | 6.1
| West QF | Douglas County Forest Products | SW Oregon | Winchester, OR | 5.2 | 6.25
| West QF | Eagle Point Solar | SW Oregon | Vilas Road | 9.9 | 9.9
| West QF | Eagle Point Irrigation District (Nicholas Gap) | SW Oregon | Line 20 | 0.72 | 0.72
| West QF | EBD Hydro (45-Mile Hydro) | C Oregon | Culver 69 KV | 2.99 MW | 2.99 MW
| West QF | Elbe Solar | C Oregon | Cherry Lane | 10 | 10
| West QF | Ewauna Solar 2, LLC | SW Oregon | Texum substation | 3 | 3
| West QF | Ewauna Solar, LLC | SW Oregon | Texum substation | 0.825 | 0.825
| West QF | Farmers Irrigation District | NW Oregon | Hood River substation | 4.15 | 4.8
| West QF | Four Corners Wind Farm | NE Oregon | Hinkle 69 kV | 10 | 10
| West QF | Four Mile Canyon Wind Farm | NE Oregon | Hinkle 69 kV | 10 | 10
| West QF | Galesville Dam | SW Oregon | Glendale | 0.8 | 0.8
| West QF | Hayward Paul Luckey | N California | Copco II | 0.05 | 0.05
| West QF | Lacomb Irrigation | NW Oregon | Lebanon | 0.962 | 0.962
| West QF | Lake Siskiyou | N California | Lake Siskiyou | 5 | 5
| West QF | Loyd Fery | C Oregon | New Stayton | 0.065 | 0.065
| West QF | Middle Fork Irrigation | NW Oregon | Troutdale | 1 | 1
| West QF | Misty Meadows | NW Oregon | Tillamook | 0.75 | 0.75
| West QF | Monroe Hydro | C Oregon | Culver, Oregon | 0.296 | 0.296
| West QF | Neff Project | C Oregon | Pilot Butte substation | 9.9 | 9.9
| West QF | Oak Lea Dairy | NW Oregon | Stayton | 0.17 | 0.165
| West QF | Opal Springs/Deschutes Valley Water District | C Oregon | Crooked Rvr to Culver | 4.3 | 5.93
| West QF | OR Solar 2 LLC Agate Bay Solar Project | SW Oregon | Dodge Bridge substation | 10 | 10
| West QF | OR Solar 3, LLC Turkey Hill Solar Project QF | SW Oregon | Turkey Hill substation | 10 | 10
| West QF | OR Solar 5 LLC Merrill Solar Project QF | SW Oregon | Merrill substation | 8 | 8
| West QF | OR Solar 6 LLC Lakeview Solar Project QF | SW Oregon | Mile-Hi substation | 10 | 10
| West QF | OR Solar 8 LLC Dairy Solar QF | SW Oregon | Dairy substation | 10 | 10
| West QF | Oregon Environmental Biogas | SW Oregon | Stevens Road Sub | 3.2 | 3.2
| West QF | Oregon Institute of Technology | SW Oregon | Klamath Falls | 0.28 MW | 0.28
| West QF | Oregon Solar Land Holdings - Collier Project | C Oregon | Pilot Butte substation | 10 | 10
| West QF | Oregon State University | NW Oregon | Hill View substation | 6.475 MW | 6.5
| West QF | Oregon Trail Wind Farm | NE Oregon | Hinkle 69 kV | 9.9 | 9.9
| West QF | Pacific Canyon Wind Farm | NE Oregon | Hinkle 69 kV | 8.25 | 8.25
| West QF | Roseburg Forest Products (Dillard) | SW Oregon | Roseburg Forest Products | 20 | 20
| West QF | Roseburg Forest Products (Weed) | N California | Roseburg Weed substation | 10 | 10
| West QF | Roseburg LFG Energy, LLC | SW Oregon | Southgate 69 kV substation | 2 | 1.6
| West QF | Sand Ranch Wind Farm | NE Oregon | Hinkle 69 kV | 9.9 | 9.9
| West QF | Slate Creek | N California | Slate Creek | 4.2 | 3.84
| West QF | Skysol Solar, LLC | SW Oregon | Klamath Falls - Malin 230 kV | 55 | 55
| West QF | Sprague Hydro LLC | SW Oregon | Bly | 1.238 | 1.238
| West QF | Stahlbush Island Farms | NW Oregon | Buchanon Sub | 1.6 | 1.6
| West QF | Swalley Irrigation District | C Oregon | Overpass | 0.75 | 1
| West QF | Three Mile Canyon LLC | NE Oregon | Dalreed | 9.9 | 10
| West QF | Three Sisters Irrigation | C Oregon | Redmond substation | 0.3 | 0.3
| West QF | TMF Biofuels QF | NE Oregon | Oregon | 4.8 | 4.8
| West QF | Tumbleweed Solar LLC | C Oregon | Deschutes substation | 10 | 10
| West QF | Wagon Trail Wind Farm | NE Oregon | Hinkle 69 kV | 3.3 | 3.3
| West QF | Wallowa County Community Solar | NE Oregon | Enterprise substation | 0.36 | 0.36
| West QF | Ward Butte Wind Farm | NE Oregon | Hinkle 69 kV | 6.6 | 6.6
| West QF | Woodline Solar, LLC | SW Oregon | Dairy substation | 8 | 8
| West QF | Schumann Wind | NE Oregon | Weston P substation | 8 | 8
| West QF | Yakima-Tieton (Cowiche) | SE Washington | Tieton | 1.62 | 1.62
| West QF | Yakima-Tieton (Orchard) | SE Washington | Tieton | 1.46 | 1.46
| East Long Term Purchases | Cedar Springs Wind | E Wyoming | Windstar substation | 520 | 520
| East Long Term Purchases | Deseret Generation & Transmission Coop (C_DGT_325) | N Utah | Mona | n/a5 | 100
| East Long Term Purchases | Pavant Solar III | SW Utah | Pavant | 20 | 20
| East Long Term Purchases | Three Buttes Windpower | E Wyoming | Dave Johnston | n/a5 | 99
| East Long Term Purchases | Top of the World Wind Farm | E Wyoming | Windstar substation | 200.50 MW | 200.2
| East Long Term Purchases | Wolverine Creek\Ridgeline | NE Idaho (Goshen) | Goshen | 64.5 | 64.5
| West Long Term Purchases | MIDC Hydro (Grant County PUD) | C Washington | MIDC | n/a5 | 25
| West Long Term Purchases | MIDC Hydro (Grant County PUD) Auction | C Washington | MIDC | n/a5 | 92
| West Long Term Purchases | MIDC Hydro Grant County PUD | C Washington | MIDC | n/a5 | 197
| West Long Term Purchases | MIDC Hydro Grant County PUD | C Washington | MIDC | n/a5 | 76
| West Long Term Purchases | Old Mill Solar | SW Oregon | Bly | 5 | 5
| West Long Term Purchases | PGE Cove Replacement | C Oregon | Cove 230 kV | n/a5 | 2
| East Exchanges | WAPA Provo River Replacement Power Agreement (Deer Creek Gen) | N Utah | Wallsburg substation | n/a5 | 5
| West Exchanges | Idaho Power's RTSA loss return | Wyoming | Bridger | n/a5 | 44
| West Exchanges | PGE's Round Butte/Cove Interconnection and Operation Agreement | C Oregon | Madras | n/a5 | 120
1 Designated Resources are those resources designated by customers with Network Integration Transmission Service Agreements under PacifiCorp's Open Access Transmission Tariff through the Transmission Service Request process
2 Total Installed Capacity is assumed to be the current nameplate capacity
3 Where the designated resource is not known to the Transmission Provider because it is identified as a contract between the Transmission Customer and a third party, the nameplate capacity is listed as "unknown"
4 Where the designated resource is identified as multiple resources not tied to a contract between the Transmission Customer and Transmission Provider, the installed capacity is listed as "various"
5 Where a designated resource is a purchase or an exchange the installed capacity is listed as "n/a"
6 Varies as a result of direct access in Oregon
7 Resource has been requested by the Transmission Customer and approved by the Transmission Provider to start at a future date. When service begins, line item will be updated with complete information.
8 Project not in service, total installed capacity unknown. Total installed capacity will be supplied when project is in service.
Note on B55: Author: changed from Exelon Generation Company