| Business Units: | All Business Units |
| --- | --- |
| Date Range: | all dates on or before 05/13/2018 |
| Equipment Classes: | Bus, Capacitor, Circuit Breaker, Circuit Switcher, Disconnect Switch, Switchgear, Transformer, Transmission Circuit |
| Generate By: | Control Center: PSE Transmission Control Center |

| OUTAGE REQUESTS |
| --- |
| Outage #/ Revision/ Status | Station/ Circuit/Equipment | Requested Date Range/ Duration | From/To/Type | Required Approvals | Path(s) Affected | Requested By/ Reason/Priority |
|  |  |  |  |  | Path | OTC Impact | WECC OTC Seas. Ratings |  |
| 1-00521773 Revision #1 Implemented Verified | Berrydale 115kV 142_M, Berrydale 115kV SW142_CAP, Berrydale Capacitor Bank OOS | 2017/10/18 to 2018/02/28 133.25 Days | 11:00 - 16:00 Continuous |  |  |  |  | Baker, Wesley Berrydale Capacitor Bank unavailable during switch repair and panel upgrade. Isolation point is Berrydale 142 main bus disconnect. |
| 1-00518509 Revision #7 Implemented Verified | Talbot Hill 230kV 7627, Talbot Hill 230kV 7629, Talbot Hill 230kV 7630, Talbot Hill 230kV 7631, Talbot Hill 230kV 7633 OOS | 2017/10/30 to 2018/07/30 273.17 Days | 12:00 - 16:00 Continuous |  |  |  |  | Parker, David Talbot Hill 230kV East Bus project |
| 1-00537826 Revision #6 Implemented Unverified | March Point - Burrows Bay #1 115 kV Line : March Point - Anacortes OOS | 2018/01/24 to 2018/02/16 23.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Transmission rebuild |
| 1-00540108 Revision #22 Implemented Unverified | BPA Kitsap - Valley Junction 115 kV Line : Chico Tap - Silverdale Tap OOS | 2018/01/31 to 2018/02/14 14.38 Days | 06:00 - 15:00 Return Evenings and Weekends |  |  |  |  | Parker, David Proximity to work at Chico, 1/31: replace broken bolt |
| 1-00537699 Revision #10 Implemented Unverified | Sedro Woolley - Bellingham #4 115 kV Line : Alger - Bellingham OOS | 2018/02/06 to 2018/02/13 7.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Transmission rebuild |
| 1-00546049 Revision #3 Implemented Unverified | Fairchild 115kV 7019 BP&C OOS | 2018/02/09 to 2018/02/15 6.17 Days | 12:00 - 16:00 Continuous |  |  |  |  | Parker, David bypassed with shoeefly installed 1/30 |
| 1-00544384 Revision #4 RC OPA D+1 Confirmed | Lake Tradition - Sahalee 115 kV Line : Pine Lake - Lake Tradition OOS | 2018/02/12 to 2018/03/15 31.42 Days | 06:00 - 17:00 Return Evenings and Weekends |  |  |  |  | Parker, David pole relocation and replacement |
| 1-00544617 Revision #4 RC OPA D+1 Confirmed | Whidbey - Greenbank #2 115 kV Line : Swantown Tap - Greenbank OOS | 2018/02/12 to 2018/02/16 4.42 Days | 07:00 - 17:00 Noncontinuous |  |  |  |  | PSE, LOADOFFICE Cellsite work |
| 1-00544525 Revision #3 RC Short-Range Confirmed | Novelty Hill - Stillwater 115 kV Line : Novelty Hill - Stillwater OOS | 2018/02/15 to 2018/02/15 8 Hours | 07:00 - 15:00 Continuous |  |  |  |  | PSE, LOADOFFICE Scheme Test |
| 1-00544987 Revision #2 TOP Confirmed | Sammamish - Lochleven 115 kV Line : Overlake Tap - Overlake Loop (42437) OOS | 2018/02/19 to 2018/03/02 11.35 Days | 07:30 - 16:00 Return Evenings and Weekends |  |  |  |  | Parker, David Cell site |
| 1-00546610 Revision #2 TOP Confirmed | Skykomish - Beverly Park 115 kV Line : Beverly Park - Gold Bar Tie (42399), Skykomish - Beverly Park 115 kV Line : Gold Bar Tie (42399) - Skykomish OOS | 2018/02/20 to 2018/02/20 10 Hours | 06:00 - 16:00 Continuous |  |  |  |  | PSE, LOADOFFICE Reframe structure 116/5 from "Lazy A" to stack insulators |
| 1-00545246 Revision #3 TOP Confirmed | Greenbank 115kV 3232 OOS | 2018/02/20 to 2018/02/20 8 Hours | 07:00 - 15:00 Continuous |  |  |  |  | PSE, LOADOFFICE Replace control handle to fix a sticking issue. |
| 1-00546479 Revision #2 TOP Confirmed | Starwood - Midway 115 kV Line : Midway - Zenith Tap, Starwood - Midway 115 kV Line : Zenith Tap - Redondo OOS | 2018/02/20 to 2018/02/22 1.33 Days | 19:00 - 03:00 Noncontinuous |  |  |  |  | Parker, David Replacing poles |
| 1-00545868 Revision #2 TOP Confirmed | Olympia - Saint Clair #1 115 kV Line : Patterson - St. Clair, Saint Clair - Pleasant Glade 115 kV Line : Saint Clair - Hawks Prairie, Saint Clair 115kV 946 BP&C, Saint Clair Capacitor Bank OOS | 2018/02/23 to 2018/02/23 4 Hours | 08:00 - 12:00 Continuous |  |  |  |  | Parker, David Repairing PCB 946 main bus disconnect control handle |
| 1-00540518 Revision #2 TOP Proposed | Berrydale 115kV 1123, Berrydale 230/115kv Bank OOS | 2018/02/26 to 2018/03/05 7.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David 115kV breaker pannel wiring and testing |
| 1-00547567 Revision #2 TOP Proposed | Berrydale - Krain Corner 115 kV Line : Berrydale - Pipe Lake, Berrydale - Lake Tradition #1 115 kV Line : Berrydale - Lake Wilderness, Berrydale - Lake Youngs 115 kV Line : Berrydale - Fairwood, Berrydale - Lea Hill 115 kV Line : Berrydale - Soos Creek, Talbot Hill - Berrydale #1 115 kV Line : Lake Meridian - Berrydale, Berrydale 115kV 1123, Berrydale 230/115kv Bank, Berrydale Capacitor Bank OOS | 2018/02/28 to 2018/02/28 10.5 Hours | 06:00 - 16:30 Continuous |  |  |  |  | Parker, David Installing new Berrydale 115kV main bus differential protection |
| 1-00544387 Revision #1 TOP Proposed | Terrell - Arco South 115 kV Line : Olympic Arco Pump Tap - Arco South, Terrell - Arco South 115 kV Line : Terrell - Olympic Arco Pump Tap OOS | 2018/03/05 to 2018/03/05 8.5 Hours | 07:30 - 16:00 Continuous |  |  |  |  | Parker, David Installing marker balls |
| 1-00546472 Revision #1 TOP Proposed | Shuffleton - Lakeside 115 kV Line : South Mercer Tap - Mercerwood Tap OOS | 2018/03/12 to 2018/03/17 5.33 Days | 06:00 - 14:00 Noncontinuous |  |  |  |  | PSE, LOADOFFICE Cell site |
| 1-00546989 Revision #1 TOP Proposed | Berrydale - Lake Youngs 115 kV Line : Fairwood - Lake Youngs OOS | 2018/03/13 to 2018/03/15 2.44 Days | 07:00 - 17:30 Continuous |  |  |  |  | Parker, David Replacing 2 transmission poles |
| 1-00540119 Revision #3 TOP Confirmed | SCL Bothell - Sammamish 230kV Line Bothell Substation to Sammamish Substation 230kv line, SCL Diablo - SCL Bothell #1 230kV Line Diablo Substation to Shoreline Substation #1 230kV Line, SCL Bothell 230kV Bus 2 Bothell Substation 230kV Bus 2, SCL Bothell Bank #62 Bothell Substation Bank 62, SCL Bothell BKR 120-BK62 Bothell Substation Breaker 120 Bank 62, SCL Bothell BKR 240-66 Bothell Substation Breaker 240-66, SCL Bothell BKR 240-67 Bothell Substation Breaker 240-67, SCL Bothell BKR 240-68 Bothell Substation Breaker 240-68, SCL Bothell BKR 240-69 Bothell Substation Breaker 240-69, SCL Bothell LI 240-BK62 Bothell Substation Load Interrupter 240 Bank 62 OOS | 2018/03/26 to 2018/03/31 5.71 Days | 05:00 - 22:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Sandoval, Marcus Breaker 240-69 Relay Upgrade. Disconnect Upgrades. |
| 1-00544146 Revision #1 TOP Proposed | Bellingham - BPA Bellingham #2 115 kV Line : Bellingham - BPA Bellingham #2 OOS | 2018/03/27 to 2018/03/27 9.5 Hours | 07:00 - 16:30 Continuous |  |  |  |  | Parker, David Scheme testing |
| 1-00539164 Revision #1 TOP Proposed | BPA Maple Valley - Talbot Hill #1 230 kV Line : BPA Maple Valley - Talbot Hill, Talbot Hill - Berrydale #3 230 kV Line : Talbot Hill - Berrydale, Talbot Hill 230/115kv Bank 1 OOS | 2018/04/02 to 2018/09/28 179.33 Days | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Parker, David Talbot Hill 230kV South Bus rebuild |
| 1-00544145 Revision #1 TOP Proposed | Bellingham - BPA Bellingham #3 115 kV Line : Bellingham - BPA Bellingham #3 OOS | 2018/04/03 to 2018/04/03 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Scheme Testing |
| 1-00544144 Revision #1 TOP Proposed | Sedro Woolley - Bellingham #4 115 kV Line : Alger - Bellingham, Bellingham 115kV P481, Sedro Woolley 115kV 885 BP&C, OAT, Sedro Woolley 115kV 937 BP&C, OAT OOS | 2018/04/10 to 2018/04/10 9.5 Hours | 07:00 - 16:30 Continuous |  |  |  |  | Parker, David Scheme testing |
| 1-00544137 Revision #1 TOP Proposed | Sedro Woolley - Fredonia 115 kV Line : Olympic Bayview Tap - Fredonia, Fredonia 115kV P7092, Sedro Woolley 115kV 876 BP&C, OAT, Sedro Woolley 115kV 885 BP&C, OAT OOS | 2018/04/17 to 2018/04/17 9.5 Hours | 07:00 - 16:30 Continuous |  |  |  |  | Parker, David Scheme testing |
| 1-00531869 Revision #1 TOP Proposed | Tacoma-Christopher Section of Tacoma-Covington 2 230kV Line TACOMA-COWLITZ 1 LINE TO BE BYPASSED, Tacoma-Covington 4 230kV Line, Tacoma-TPWR Northeast 3 230kV Line, Tacoma: 230kV South Main Bus, Tacoma: PCB A-1072, Tacoma: PCB A-1073, Tacoma: PCB A-1074, Tacoma: PCB A-1075 OOS | 2018/04/30 to 2018/05/01 1.67 Days | 04:00 - 20:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1148168 M/B DISCS AND PT MAINTENANCE |
| 1-00545007 Revision #8 TOP Confirmed | Saint Clair - Spurgeon Creek #1 115 kV Line : Saint Clair - Spurgeon Creek OOS | 2018/05/01 to 2018/05/01 9 Hours | 06:00 - 15:00 Continuous |  |  |  |  | Parker, David Reframe pole |
| 1-00544128 Revision #1 TOP Proposed | Sedro 230/115kv Bank 2 OOS | 2018/05/01 to 2018/05/01 9 Hours | 07:30 - 16:30 Continuous |  |  |  |  | Parker, David Trip Checks |