| Business Units: | All Business Units |
| --- | --- |
| Date Range: | all dates on or before 01/16/2018 |
| Equipment Classes: | Bus, Capacitor, Circuit Breaker, Circuit Switcher, Disconnect Switch, Switchgear, Transformer, Transmission Circuit |
| Generate By: | Control Center: PSE Transmission Control Center |

| OUTAGE REQUESTS |
| --- |
| Outage #/ Revision/ Status | Station/ Circuit/Equipment | Requested Date Range/ Duration | From/To/Type | Required Approvals | Path(s) Affected | Requested By/ Reason/Priority |
|  |  |  |  |  | Path | OTC Impact | WECC OTC Seas. Ratings |  |
| 1-00432356 Revision #18 Implemented Verified | BPA Maple Valley - Talbot Hill #2 230 kV Line : BPA Maple Valley - Talbot Hill, Talbot Hill - O'Brien #3 230 kV Line : Talbot Hill - O'Brien, Talbot Hill - SCL South 230kV Line : Talbot Hill - SCL South, Talbot Hill 230/115kv Bank 2, Talbot Hill 230kV SW685 OOS | 2017/05/15 to 2017/10/30 168.08 Days | 08:00 - 10:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Grieger, Lisa Terminal clearance needed: BMA A-1130 and SCL SOS PCB 240-9. Rebuild Talbot Hill 230kv north bus. operating plan SLIM 118_R1 is attached |
| 1-00478361 Revision #13 Implemented Verified | South Whidbey - Greenbank #2 115 kV Line : Freeland Tap - South Whidbey, South Whidbey - Greenbank #2 115 kV Line : Greenbank - Freeland Tap OOS | 2017/07/20 to 2017/11/10 113.42 Days | 08:00 - 17:00 Return Weekends |  |  |  |  | Parker, David Replacing poles |
| 1-00513598 Revision #7 Implemented Verified | Talbot Hill - SCL South 230kV Line Talbot Hill Substation to South Substation 230kv Line, SCL South BKR 240-9 South Substation Breaker 240-9, SCL South LINE DSC 240-9 South Substation Line Disc 240-9 OOS | 2017/09/25 to 2017/10/31 36.5 Days | 07:00 - 19:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Sandoval, Marcus Replace Line Disc 240-9 |
| 1-00504062 Revision #9 Implemented Unverified | Alderton - Electron Heights 115 kV Line: Orting - Electron Heights OOS | 2017/09/25 to 2017/10/27 32.17 Days | 12:00 - 16:00 Continuous |  |  |  |  | Parker, David Replacing EHT PCB 1049 |
| 1-00516964 Revision #5 Implemented Unverified | Sedro Woolley - Bellingham #4 115 kV Line : Norlum - Alger OOS | 2017/10/09 to 2017/11/15 37.38 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Transmission rebuild |
| 1-00513288 Revision #6 Implemented Unverified | SILVER LAKE TAP- BEVERLY PARK SECT SNO-KING-PSE BEVERLY PARK 115KV LINE 1587-366 OOS | 2017/10/11 to 2017/10/24 13.38 Days | 08:00 - 17:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim MOVE 115KV LINE FROM OLD PSE OPERATED 115KV BEVERLY PARK SUB SINGLE BUS 366 TERMINAL OVER TO NEW SNPD OPERATED 115KV BEVERLY PARK SUB BREAKER & HALF BUS 5290 & 5291 TERMINALS. |
| 1-00519503 Revision #5 Implemented Unverified | SNOHOMISH- BEVERLY PARK #3 115KV LINE B476-472 OOS | 2017/10/11 to 2017/10/18 7 Days | 08:00 - 08:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim MOVE LINE FROM OLD PSE BEVERLY PARK 472 115KV TERMINAL. TO NEW PUD BEVERLY PARK 1980 115KV TERMINAL. NOTE: BPA SNOHOMISH-PSE BEVERLY PARK 115KV LINE #3 IS RADIAL WITH NO LOAD DUE TO PRIOR SWITCHING TO MOVE 115KV LINE TERMINALS FROM OLD PSE BEVERLY PARK TO NEW PUD BEVERLY PARK SUB |
| 1-00512012 Revision #15 Implemented Unverified | White River - Alderton #2 115 kV Line : White River - Gardella Tap, White River - Fairchild 115 kV Line : White River - Sumner OOS | 2017/10/14 to 2017/10/20 6.44 Days | 06:30 - 17:00 Return Evenings |  |  |  |  | Parker, David Stringing WRT-ALD 230kV Line over WRT-FCH & WRT-ALD2, Not on 10/15 |
| 1-00519523 Revision #3 Implemented Unverified | Bangor - Foss Corner 115 kV Line : Bangor - Foss Corner OOS | 2017/10/16 to 2017/10/18 2.35 Days | 07:00 - 15:30 Continuous |  |  |  |  | Parker, David Replacing pole |
| 1-00521427 Revision #1 Implemented Verified | Skykomish - Beverly Park 115 kV Line : Beverly Park - Gold Bar Tie (42399), Skykomish - Beverly Park 115 kV Line : Gold Bar Tie (42399) - Skykomish OOS | 2017/10/17 to 2017/10/18 28.75 Hours | 11:15 - 16:00 Continuous |  |  |  |  | Parker, David wind |
| 1-00521561 Revision #4 Implemented Unverified | Sumas - Lynden 115 kV Line : Schuett - Sumas OOS | 2017/10/17 to 2017/10/18 15.85 Hours | 18:09 - 10:00 Continuous |  |  |  |  | Bishop, Warren Pole fire |
| 1-00520366 Revision #2 RC OPA D+1 Confirmed | Anderson Canyon - Beverly Park 115kV OOS | 2017/10/18 to 2017/10/18 9 Hours | 07:00 - 16:00 Continuous |  |  |  |  | TOA, Chelan Digging near structure AC-CC 10/3 No clearance only the breaker and switch open due to proximity work. Can have line back in service in minutes |
| 1-00513303 Revision #5 RC OPA D+1 Confirmed | SNOHOMISH- BEVERLY PARK #3 115KV LINE B476-472 OOS | 2017/10/18 to 2017/10/24 6.38 Days | 08:00 - 17:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim MOVE 115KV LINE FROM OLD PSE OPEERATED 115KV BEVERLY PARK SUB SINGLE BUS 472 TERMINAL OVER TO NEW SNPD OPERATED 115KV BEVERLY PARK SUB BREAKER & HALF 5306 TERMINAL |
| 1-00519787 Revision #2 RC OPA D+1 Confirmed | Lake Tradition - Sahalee 115 kV Line : Sahalee - Plateau OOS | 2017/10/18 to 2017/10/19 1.33 Days | 08:00 - 16:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00519746 Revision #1 TOP Confirmed | Beverly Park - Cottage Brook 115 kV Line : Lake Leota - Cottage Brook, Cottage Brook - Moorlands 115 kV Line : Cottage Brook - Hollywood, Sammamish - Novelty Hill - Cottage Brook 115 kV Line : Avondale - Cottage Brook, Stillwater - Cottage Brook 115 kV Line : Cottage Brook - Duvall Tap, Cottage Brook Cottage Brook OOS | 2017/10/19 to 2017/10/21 2.46 Days | 06:00 - 17:00 Continuous |  |  |  |  | Parker, David Replacing COT PCB 1003-M Disconnects |
| 1-00520364 Revision #2 TOP Confirmed | Anderson Canyon - Beverly Park 115kV OOS | 2017/10/19 to 2017/10/19 9 Hours | 07:00 - 16:00 Continuous |  |  |  |  | TOA, Chelan Digging near structure AC-CC 10/3 No clearance only the breaker and switch open due to proximity work. Can have line back in service in minutes |
| 1-00519788 Revision #1 TOP Confirmed | Lake Tradition - Sahalee 115 kV Line : Plateau - Pine Lake OOS | 2017/10/20 to 2017/10/21 1.33 Days | 08:00 - 16:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00516391 Revision #8 TOP Confirmed | Talbot Hill - Boeing Renton #2 115 kV Line : Talbot Hill - Paccar OOS | 2017/10/20 to 2017/10/21 14 Hours | 16:00 - 06:00 Continuous |  |  |  |  | Parker, David Repairing PCR SW 1196 |
| 1-00518945 Revision #3 RC Short-Range Confirmed | Talbot Hill - Asbury 115 kV Line : Olympic Renton - Talbot Hill OOS | 2017/10/21 to 2017/10/22 1.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | Parker, David Replacing pole |
| 1-00521389 Revision #2 TOP Confirmed | White River - Alderton #2 115 kV Line : White River - Gardella Tap OOS | 2017/10/21 to 2017/10/21 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Stringing line for new WRT-ALD 230kV Line |
| 1-00518497 Revision #3 TOP Confirmed | Lake Tradition - Sahalee 115 kV Line : Pine Lake - Lake Tradition OOS | 2017/10/23 to 2017/11/22 30.38 Days | 08:00 - 16:00 Return Evenings and Weekends |  |  |  |  | Parker, David Line re-locate |
| 1-00519824 Revision #2 TOP Confirmed | Skykomish - Beverly Park 115 kV Line : Beverly Park - Gold Bar Tie (42399), Skykomish - Beverly Park 115 kV Line : Gold Bar Tie (42399) - Skykomish OOS | 2017/10/23 to 2017/10/23 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Replace Aerial Warning Spheres |
| 1-00521501 Revision #1 TOP Confirmed | Greenbank 115kV 3233 OOS | 2017/10/23 to 2017/10/23 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Replace disconnect switch handels |
| 1-00519843 Revision #2 TOP Confirmed | ANDERSON CANYON -BEVERLY PARK 115KV LINE 6/140-298, BEVERLY PARK-CASINO SECT BEVERLY PARK-PAINE FIELD 115KV LINE 294-1625, BEVERLY PARK-HILTON LAKE SECT BEVERLY PARK-COTTAGE BROOK 115KV LINE 296-1678, SILVER LAKE TAP- BEVERLY PARK SECT SNO-KING-PSE BEVERLY PARK 115KV LINE 1587-366, SNOHOMISH- BEVERLY PARK #3 115KV LINE B476-472, SNOHOMISH- BEVERLY PARK #4 115KV LINE B486-471 OOS | 2017/10/24 to 2017/10/24 3.98 Hours | 00:01 - 04:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim COMPLETE MOVE OF 115KV LINES FROM OLD PSE BEVERLY PARK SUB 115KV TERMINALS TO NEW SNPD BEVERLY PARK SUB 115KV LINE TERMINALS |
| 1-00512278 Revision #2 TOP Confirmed | Nooksack - Kendall 55 kV Line : Glacier Tap - Nooksack, Nooksack - Kendall 55 kV Line : Kendall - Glacier Tap OOS | 2017/10/24 to 2017/10/24 11 Hours | 07:00 - 18:00 Continuous |  |  |  |  | Parker, David Re-frame poles and maintenance on SW 3030 |
| 1-00510149 Revision #3 TOP Confirmed | Berrydale 115kV 1123 OAT, Berrydale P7330 BP&C, OAT, Berrydale P7331 BP&C, OAT, Berrydale P7333 BP&C, OAT OOS | 2017/10/24 to 2017/10/24 7 Hours | 09:00 - 16:00 Noncontinuous |  |  |  |  | Parker, David PCB trip checks. One at a time. ~5min each PCBs 7330, 7331, 7333, Bypassed and Clear |
| 1-00474913 Revision #7 TOP Confirmed | Covington-White River 1 230kV Line OOS | 2017/10/25 to 2017/10/25 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1114510 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/4 |
| 1-00474915 Revision #6 TOP Confirmed | Covington-White River 2 230kV Line OOS | 2017/10/25 to 2017/10/25 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1114514 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/5 |
| 1-00517862 Revision #3 TOP Confirmed | SCL Cedar Falls - Snoqualmie 115 kV Line : Rattlesnake Lake - North Bend Tap, SCL Cedar Falls - Snoqualmie 115 kV Line : Rattlesnake Lake - Twin Falls, SCL Cedar Falls - Snoqualmie 115 kV Line : SCL Cedar Falls Gen Station- Rattlesnake Lake OOS | 2017/10/25 to 2017/10/27 2.5 Days | 06:00 - 18:00 Continuous |  |  |  |  | Parker, David Repair pole switch 1012 |
| 1-00517279 Revision #4 TOP Confirmed | Anderson Canyon - Beverly Park 115kV OOS | 2017/10/25 to 2017/10/27 2.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | TOA, Chelan Interset a new Transmission structure- AC-CC 10/3 |
| 1-00518488 Revision #5 TOP Confirmed | White River - Alderton #4 115 kV Line : Cedarhurst - Stewart Tap OOS | 2017/10/25 to 2017/10/25 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Replacing pole |
| 1-00521372 Revision #1 TOP Confirmed | Cottage Brook - Moorlands 115 kV Line : Wayne Tap - Moorlands OOS | 2017/10/25 to 2017/10/27 2.33 Days | 08:00 - 16:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00519883 Revision #1 TOP Confirmed | Covington-White River 1 230kV Line OOS | 2017/10/26 to 2017/10/26 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146508 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/4 |
| 1-00519888 Revision #1 TOP Confirmed | Covington-White River 2 230kV Line OOS | 2017/10/26 to 2017/10/26 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146518 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/5 |
| 1-00518490 Revision #5 TOP Confirmed | White River - Alderton #4 115 kV Line : Edgewood Tap - Cedarhurst OOS | 2017/10/26 to 2017/10/26 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Replacing pole |
| 1-00518950 Revision #2 TOP Confirmed | Bellingham - BPA Bellingham #3 115 kV Line : Bellingham - BPA Bellingham #3 OOS | 2017/10/26 to 2017/10/26 4 Hours | 08:00 - 12:00 Continuous |  |  |  |  | Parker, David BHM PCB 3293 maintenance |
| 1-00519886 Revision #1 TOP Confirmed | Covington-White River 1 230kV Line OOS | 2017/10/27 to 2017/10/27 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146510 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/4 |
| 1-00519890 Revision #1 TOP Confirmed | Covington-White River 2 230kV Line OOS | 2017/10/27 to 2017/10/27 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146520 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/5 |
| 1-00521370 Revision #3 TOP Confirmed | White River - Fairchild 115 kV Line : Sumner - Woodland OOS | 2017/10/27 to 2017/11/17 21.38 Days | 08:00 - 16:00 Return Evenings and Weekends |  |  |  |  | Parker, David Replacing poles |
| 1-00519884 Revision #1 TOP Confirmed | Covington-White River 1 230kV Line OOS | 2017/10/28 to 2017/10/28 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146512 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/4 |
| 1-00519889 Revision #1 TOP Confirmed | Covington-White River 2 230kV Line OOS | 2017/10/28 to 2017/10/28 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146522 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/5 |
| 1-00519885 Revision #1 TOP Confirmed | Covington-White River 1 230kV Line OOS | 2017/10/29 to 2017/10/29 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146514 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/4 |
| 1-00519891 Revision #1 TOP Confirmed | Covington-White River 2 230kV Line OOS | 2017/10/29 to 2017/10/29 12.5 Hours | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1146524 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/5 |
| 1-00516977 Revision #7 TOP Confirmed | Bellingham - BPA Bellingham #2 115 kV Line : Bellingham - BPA Bellingham #2 OAT, Enserch - Bellingham #1 115 kV Line : Bellingham - Happy Valley Tap OAT OOS | 2017/10/30 to 2017/10/30 7 Hours | 08:00 - 15:00 Noncontinuous |  |  |  |  | Parker, David Breaker maintenance, one at a time. |
| 1-00518509 Revision #1 TOP Proposed | Talbot Hill 230kV 7627, Talbot Hill 230kV 7629, Talbot Hill 230kV 7630, Talbot Hill 230kV 7631, Talbot Hill 230kV 7633 OOS | 2017/10/30 to 2018/10/31 366.17 Days | 12:00 - 16:00 Continuous |  |  |  |  | Parker, David Talbot Hill 230kV East Bus project |
| 1-00504068 Revision #2 TOP Proposed | Berrydale - Krain Corner 115 kV Line : Berrydale - Pipe Lake, Berrydale - Lake Tradition #1 115 kV Line : Berrydale - Lake Wilderness, Berrydale - Lake Youngs 115 kV Line : Berrydale - Fairwood, Berrydale - Lea Hill 115 kV Line : Berrydale - Soos Creek, Talbot Hill - Berrydale #1 115 kV Line : Lake Meridian - Berrydale, Berrydale 230/115kv Bank, Berrydale Capacitor Bank OOS | 2017/11/01 to 2017/11/03 2.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Installing new Berrydale 115kV aux bus |
| 1-00519793 Revision #1 TOP Proposed | Cottage Brook - Moorlands 115 kV Line : Cottage Brook - Hollywood OOS | 2017/11/01 to 2017/11/03 2.33 Days | 08:00 - 16:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00519454 Revision #1 TOP Proposed | Lakeside - Ardmore #2 115kV Line : Ardmore - Lake Hills OOS | 2017/11/03 to 2017/11/04 1.44 Days | 07:30 - 18:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00504073 Revision #2 TOP Proposed | Berrydale 230/115kv Bank OOS | 2017/11/04 to 2017/11/04 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Connecting Berrydale 230/115kV Bank to new 115kV aux bus |
| 1-00516044 Revision #1 TOP Proposed | Sammamish 230/115kv Bank 2 OOS | 2017/11/06 to 2017/11/06 10 Hours | 06:00 - 16:00 Continuous |  |  |  |  | Parker, David Transformer suden pressure relay maintenance |
| 1-00518952 Revision #2 TOP Proposed | Bremerton - Navy Yard 115 kV Line : Bremerton - US Navy Station FG OOS | 2017/11/06 to 2017/11/12 6.4 Days | 07:00 - 16:30 Continuous |  |  |  |  | Parker, David Relay upgrade |
| 1-00504076 Revision #3 TOP Proposed | Berrydale - Lake Youngs 115 kV Line : Berrydale - Fairwood OOS | 2017/11/06 to 2017/11/06 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Connecting Berrydale PCB 1119 to new 115kV aux bus |
| 1-00504236 Revision #3 TOP Proposed | Berrydale - Lake Youngs 115 kV Line : Berrydale - Fairwood OOS | 2017/11/07 to 2017/11/07 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Connecting Berrydale PCB 1122 to new 115kV aux bus |
| 1-00513234 Revision #1 TOP Proposed | Sammamish - Moorlands #1 115 kV Line : Crestwood Tap - Norkirk, Sammamish - Moorlands #1 115 kV Line : Juanita - Crestwood Tap OOS | 2017/11/14 to 2017/11/14 11 Hours | 06:00 - 17:00 Continuous |  |  |  |  | Parker, David Maintenance on pole switch 1052 |
| 1-00504375 Revision #3 TOP Proposed | Olympia-St Clair 1 230KV Line, Olympia: PCB A-1770, Olympia: PCB A-358 OOS | 2017/12/11 to 2017/12/11 7 Hours | 07:30 - 14:30 Continuous |  |  |  |  | BPA, Dart #1134382 DISCONNECT SERVICE |