| Business Units: | All Business Units |
| --- | --- |
| Date Range: | from 06/18/2017 to 09/17/2017 |
| Equipment Classes: | Bus, Capacitor, Circuit Breaker, Circuit Switcher, Disconnect Switch, Switchgear, Transformer, Transmission Circuit |
| Generate By: | Control Center: PSE Transmission Control Center |

| OUTAGE REQUESTS |
| --- |
| Outage #/ Revision/ Status | Station/ Circuit/Equipment | Requested Date Range/ Duration | From/To/Type | Required Approvals | Path(s) Affected | Requested By/ Reason/Priority |
|  |  |  |  |  | Path | OTC Impact | WECC OTC Seas. Ratings |  |
| 1-00486951 Revision #2 TOP Proposed | Nooksack - Kendall 55 kV Line : Glacier Tap - Nooksack, Nooksack - Kendall 55 kV Line : Kendall - Glacier Tap OOS | 2017/08/18 to 2017/08/18 13 Hours | 06:00 - 19:00 Continuous |  |  |  |  | Parker, David Proximity work replacing bridge S: Loop |
| 1-00456256 Revision #2 TOP Proposed | Olympia-Shelton 5 230kV Line, Olympia-St Clair 1 230KV Line, Olympia: 230kV Center Main Bus, Olympia: PCB A-1770, Olympia: PCB A-206, Olympia: PCB A-356, Olympia: PCB A-358 OOS | 2017/08/22 to 2017/08/22 9 Hours | 07:30 - 16:30 Continuous |  |  |  |  | BPA, Dart #1095665 DISCONNECT MAINTENANCE |
| 1-00454702 Revision #4 TOP Proposed | Talbot Hill - Christopher 115 kV Line : Orchard - Talbot OOS | 2017/08/27 to 2017/09/03 7.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | McCulloch, Al J. Proximity work at I405 with state contractor |
| 1-00486557 Revision #1 TOP Proposed | Anderson Canyon - Beverly Park 115kV OOS | 2017/07/05 to 2017/07/06 1.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | TOA, Chelan Replace a pole on AC-CC 8/4 |
| 1-00486932 Revision #1 TOP Proposed | Foss Corner 115kV P1073 BP&C OOS | 2017/07/05 to 2017/07/18 13.33 Days | 07:00 - 15:00 Continuous |  |  |  |  | Parker, David Replacing FOS PCB 1073 |
| 1-00487039 Revision #1 TOP Proposed | Whidbey - Greenbank #1 115 kV Line : Whidbey - Coupeville OOS | 2017/07/05 to 2017/07/05 8.5 Hours | 07:30 - 16:00 Continuous |  |  |  |  | Parker, David Cell site S: Ackerlund |
| 1-00469821 Revision #3 TOP Proposed | Sammamish - Novelty Hill #2 230 kV Line : Novelty Hill - Sammamish OOS | 2017/07/05 to 2017/07/05 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David End to end testing |
| 1-00489289 Revision #1 TOP Confirmed | FLORAL HILLS TAP-NORTH ALDERWOOD SECT BRIGHTWATER-HALLS LAKE 115KV LINE 1817-1824-N.O. 1845-1670, FLORAL HILLS TAP-POLARIS TAP SECT SNOKING- BEVERLY PARK 115KV LINE 4284-4688, SNO-KING-NORTH CREEK-FLORAL HILLS SECT SNO-KING-BEVERLY PARK 115KV LINE B1584-1741-N.O. 1823-N.O. 1845-4284, Floral Hills 115/12KV BANK 1, FLORAL HILLS BANK #1 SECT BRIGHTWATER-HALLS LAKE 115KV LINE 1824-1825-N.O. 1823, NORTH CREEK TAP-NORTH CREEK SECT SNOKING- BEVERLY PARK 115KV LINE 1741-N.O. 1789 OOS | 2017/07/05 to 2017/07/07 2.33 Days | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim MAINT 115KV SW'S 1845, 5284, 1741 |
| 1-00486819 Revision #1 TOP Proposed | Berrydale - Krain Corner 115 kV Line : Pipe Lake - Four Corners OOS | 2017/07/06 to 2017/07/07 1.4 Days | 06:30 - 16:00 Return Evenings |  |  |  |  | Parker, David Replacing poles |
| 1-00487015 Revision #1 TOP Proposed | Sammamish - Moorlands #1 115 kV Line : Inglewood - Juanita OOS | 2017/07/06 to 2017/07/12 6.44 Days | 07:30 - 18:00 Return Evenings |  |  |  |  | Parker, David Cell site S: Wheelock |
| 1-00486475 Revision #1 TOP Proposed | Anderson Canyon - Beverly Park 115kV OOS | 2017/07/07 to 2017/07/07 9 Hours | 07:00 - 16:00 Continuous |  |  |  |  | TOA, Chelan Repair infrared hot spots on 6-908. |
| 1-00480380 Revision #2 TOP Proposed | March Point - Whidbey #2 115 kV Line : Hillcrest - Whidbey, Whidbey - Greenbank #2 115 kV Line : Whidbey - Swantown Tap, Faber 115kV SW575, Whidbey Capacitor Bank OOS | 2017/07/07 to 2017/07/07 7 Hours | 08:00 - 15:00 Continuous |  |  |  |  | Parker, David WBY north bus, replacing hardware S: Ackerlund |
| 1-00488906 Revision #1 TOP Proposed | White River - O'Brien #2 115 kV Line : Ellingson Tie - Peasley Canyon, White River - O'Brien #2 115 kV Line : White River - Ellingson Tie OOS | 2017/07/10 to 2017/07/10 12 Hours | 06:00 - 18:00 Continuous |  |  |  |  | Parker, David Adding supervisory control to pole switch 266 |
| 1-00467128 Revision #10 TOP Proposed | Saint Clair - Gravelly Lake #2 115 kV Line : McAllister Springs Tap - Holden Tap OOS | 2017/07/10 to 2017/09/27 79.42 Days | 07:30 - 17:30 Continuous |  |  |  |  | Parker, David Railroad building bridge. |
| 1-00480702 Revision #1 TOP Proposed | Anderson Canyon - Beverly Park 115kV OOS | 2017/07/10 to 2017/07/21 11.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Re-framing old structures |
| 1-00486462 Revision #1 TOP Proposed | Starwood - Midway 115 kV Line : Redondo - Lakota OOS | 2017/07/11 to 2017/07/11 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Installing spacers |
| 1-00462832 Revision #4 TOP Confirmed | SCL Bothell - Sammamish 230 kV Line : SCL Bothell - Sammamish Bothell Substation to Sammamish Substation 230kv Line, SCL Diablo - SCL Bothell #1 230kV Line Diabo Substation to Bothell Substation #1 230kv Line, SCL Bothell Bank #62 Bothell Substation Bank 62, SCL Bothell BKR 240-66 Bothell Substation Bkr 240-66, SCL Bothell BKR 240-69 Bothell Substation Bkr 240-69 OOS | 2017/07/13 to 2017/07/14 1.5 Days | 08:00 - 20:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Sandoval, Marcus Bkr 240-66 Relay Testing after Replacement |
| 1-00474155 Revision #5 TOP Proposed | White River - Alderton #4 115 kV Line : Edgewood Tap - Cedarhurst OOS | 2017/07/14 to 2017/07/14 9.5 Hours | 06:30 - 16:00 Continuous |  |  |  |  | Parker, David Replacing pole |
| 1-00480377 Revision #3 TOP Proposed | March Point - Burrows Bay #2 115 kV Line : March Point - Burrows Bay, March Point - Texaco West 115 kV Line : March Point - Texaco West, March Point - Whidbey #1 115 kV Line : March Point - Crescent Harbor Tap, March Point Capacitor Bank, March Point P3033 BP&C OOS | 2017/07/14 to 2017/07/14 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David MPT South Bus, replacing hardware S: Ackerlund |
| 1-00474154 Revision #5 TOP Proposed | White River - Alderton #4 115 kV Line : Cedarhurst - Stewart Tap OOS | 2017/07/17 to 2017/07/17 9.5 Hours | 06:30 - 16:00 Continuous |  |  |  |  | Parker, David Replacing pole |
| 1-00480712 Revision #2 TOP Proposed | Cle Elum - Kittitas 115 kV Line : Woldale - Cle Elum OOS | 2017/07/17 to 2017/07/17 10.5 Hours | 06:30 - 17:00 Continuous |  |  |  |  | Parker, David Resolving noise complaint |
| 1-00478151 Revision #3 TOP Proposed | Snohomish-Beverly Park 3 115kV Line OOS | 2017/07/17 to 2017/07/21 4.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | BPA, Dart #1110558 POLE REPLACEMENT |
| 1-00485075 Revision #1 TOP Proposed | White River - Alderton #4 115 kV Line : White River - Edgewood Tap OOS | 2017/07/18 to 2017/07/21 3.4 Days | 06:30 - 16:00 Return Evenings and Weekends |  |  |  |  | Parker, David Replacing poles |
| 1-00486946 Revision #1 TOP Proposed | South Bremerton - Valley Junction 115 kV Line : Tracyton - Valley Junction OOS | 2017/07/19 to 2017/07/31 12.33 Days | 07:00 - 15:00 Continuous |  |  |  |  | Parker, David Replacing VJU PCB 7284 S: Cook |
| 1-00489507 Revision #2 TOP Proposed | Olympia - Plum Street 115 kV Line : Capital - Plum Street OAT, Olympia - Plum Street 115 kV Line : Olympia - Capital OAT OOS | 2017/07/20 to 2017/07/20 8 Hours | 08:00 - 16:00 Noncontinuous |  |  |  |  | Parker, David Replacing line PTs S: Sylvester |
| 1-00485076 Revision #1 TOP Proposed | White River - Fairchild 115 kV Line : White River - Sumner OOS | 2017/07/24 to 2017/08/11 18.4 Days | 06:30 - 16:00 Return Evenings |  |  |  |  | Parker, David Replacing poles |
| 1-00478153 Revision #3 TOP Proposed | Snohomish-Beverly Park 4 115kV Line OOS | 2017/07/24 to 2017/07/25 1.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | BPA, Dart #1110562 POLE REPLACEMENT |
| 1-00454698 Revision #10 Implemented Unverified | Talbot Hill - Christopher 115 kV Line : Orchard - Talbot OOS | 2017/06/07 to 2017/06/19 12.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | McCulloch, Al J. Proximity work by I405 State Contractor S: Downing, Allen |
| 1-00481712 Revision #8 Implemented Unverified | Anderson Canyon - Beverly Park 115kV OOS | 2017/06/12 to 2017/06/20 8.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | TOA, Chelan Potelco to pull install a new structure, pull conductor and clip, Upper Whitepine Re-locate project. |
| 1-00480930 Revision #8 Implemented Unverified | March Point - Burrows Bay #1 115 kV Line : March Point - Anacortes OOS | 2017/06/11 to 2017/06/30 18.98 Days | 17:30 - 17:00 Continuous |  |  |  |  | Parker, David Replacing poles S: Ackerlund |
| 1-00485865 Revision #3 RC OPA D+1 Confirmed | Berrydale - Lea Hill 115 kV Line : Sequoia - Lea Hill OOS | 2017/06/19 to 2017/06/27 8.4 Days | 06:30 - 16:00 Return Evenings |  |  |  |  | Parker, David Replacing poles S: Downing |
| 1-00483397 Revision #3 RC OPA D+1 Confirmed | WALLACE TAP-JACKSON SECT SNOHOMISH-SNPD 7 JACKSON SOUTH 115KV LINE 1820-1787, Jackson BRK 1779 OOS | 2017/06/19 to 2017/06/19 8 Hours | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim RELAY MAINT ON JACKSON 115KV BRK 1779 |
| 1-00489144 Revision #2 RC OPA D+1 Confirmed | Sammamish - North Bellevue 115kV Line : North Bellevue Tap - Overlake Tap OOS | 2017/06/19 to 2017/06/23 4.31 Days | 08:30 - 16:00 Continuous |  |  |  |  | Parker, David Replacing poles. N.O. section of line. |
| 1-00479009 Revision #5 RC Short-Range Confirmed | South Bremerton - Long Lake #1 115 kV Line : East Port Orchard - Manchester, South Bremerton - Long Lake #1 115 kV Line : East Port Orchard Tap - East Port Orchard OOS | 2017/06/20 to 2017/06/20 9.5 Hours | 06:00 - 15:30 Continuous |  |  |  |  | Parker, David Repairing EPO SW 7428 |
| 1-00443371 Revision #6 RC Short-Range Confirmed | Sedro 230/115kv Bank 1, Sedro Woolley 115kV 676, Sedro Woolley 115kV 676_A, Sedro Woolley 115kV 676_M, Sedro Woolley 230kV 3159, Sedro Woolley 230kV 3159_D2, Sedro Woolley 230kV 735, Sedro Woolley 230kV 735_D1 OOS | 2017/06/20 to 2017/06/20 9 Hours | 07:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | McCulloch, Al J. Relay testing and trip checks |
| 1-00468506 Revision #4 RC Short-Range Confirmed | Snohomish: Snohomish Co PUD 115kV Feeder 5 BYPASS B-1699 OVER BUS TIE PCB B-474, Snohomish-Beverly Park 4 115kV Line, Snohomish: 115kV Main Bus Section 1, Snohomish: 230/115kV Bank 1, Snohomish: PCB B-1698, Snohomish: PCB B-1699, Snohomish: PCB B-1700, Snohomish: PCB B-1735, Snohomish: PCB B-486 OOS | 2017/06/20 to 2017/06/20 11 Hours | 07:00 - 18:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1099672 COMPLETE SERVICE ON B-1699, B-1700, B-1698 & B-486 M/B DISC, B-1735 M/B SECT 1 DISC & DIAGNOSTIC SERVICE ON 115KV M/B SECT 1 PT'S |
| 1-00484978 Revision #8 RC Short-Range Confirmed | Bremerton - U.S. Navy Keyport 115 kV Line : Bremerton - McWilliams Tap OOS | 2017/06/20 to 2017/06/20 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Removing inset distribution pole S: Aquino Mitigation plan attached |
| 1-00489391 Revision #1 TOP Confirmed | March Point - Whidbey #1 115 kV Line : Crescent Harbor Tap - Whidbey, March Point - Whidbey #1 115 kV Line : March Point - Crescent Harbor Tap OOS | 2017/06/20 to 2017/06/20 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Re-install jumpers to PTs on switches 707 & 708 |
| 1-00480495 Revision #4 TOP Confirmed | Anderson Canyon - Beverly Park 115kV OOS | 2017/06/21 to 2017/06/30 9.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | TOA, Chelan These work orders are to replace structures. AC-CC 0/7, 0/8, 0/9- by Pfister 2/4, 2/1, 2/6 by Magnum |
| 1-00474152 Revision #3 RC Short-Range Confirmed | O'Brien - Asbury 115 kV Line : Harvest - Boeing Aerospace, Obrien P625 BP&C OOS | 2017/06/21 to 2017/06/21 5 Hours | 09:00 - 14:00 Continuous |  |  |  |  | Parker, David End to end testing. |
| 1-00486936 Revision #3 RC Short-Range Confirmed | Alderton - Electron Heights 115 kV Line: Alderton - Rhodes Lake OOS | 2017/06/22 to 2017/06/23 1.33 Days | 08:00 - 16:00 Return Evenings |  |  |  |  | Parker, David Pole change out |
| 1-00474153 Revision #3 RC Short-Range Confirmed | O'Brien - Asbury 115 kV Line : Boeing Aerospace - Asbury OOS | 2017/06/22 to 2017/06/22 5 Hours | 09:00 - 14:00 Continuous |  |  |  |  | Parker, David End to end testing |
| 1-00485074 Revision #4 RC Short-Range Confirmed | White River - Alderton #2 115 kV Line : White River - Gardella Tap OOS | 2017/06/23 to 2017/06/24 1.35 Days | 07:30 - 16:00 Continuous |  |  |  |  | Parker, David Replacing poles S: Collins Mitigation plan attached |
| 1-00474156 Revision #7 TOP Confirmed | White River - Alderton #4 115 kV Line : White River - Edgewood Tap OOS | 2017/06/25 to 2017/06/26 1.4 Days | 06:30 - 16:00 Continuous |  |  |  |  | Parker, David Replacing poles S: Collins |
| 1-00486999 Revision #4 TOP Confirmed | Sammamish - Novelty Hill #1 115 kV Line : Union Hill - Sterling OOS | 2017/06/26 to 2017/06/27 1.44 Days | 07:30 - 18:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00474158 Revision #7 TOP Confirmed | White River - Fairchild 115 kV Line : White River - Sumner OOS | 2017/06/27 to 2017/06/29 2.4 Days | 06:30 - 16:00 Continuous |  |  |  |  | Parker, David Replacing poles S: Collins |
| 1-00489915 Revision #2 TOP Confirmed | Cascade - Cle Elum 115 kV Line : Cascade - North Cle Elum Tap OOS | 2017/06/27 to 2017/06/27 15 Mins | 10:00 - 10:15 Continuous |  |  |  |  | Parker, David Profile CAS PCB 262 |
| 1-00486808 Revision #2 TOP Confirmed | Berrydale - Lake Youngs 115 kV Line : Berrydale - Fairwood OOS | 2017/06/28 to 2017/06/29 1.4 Days | 06:30 - 16:00 Return Evenings |  |  |  |  | Parker, David Replacing poles |
| 1-00443146 Revision #5 TOP Confirmed | White River - Alderton #4 115 kV Line : Stewart Tap - Alderton OOS | 2017/06/30 to 2017/10/31 123.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Bishop, Warren Cut Jumpers at grid 568093/156133 to ALD 1283-L&A |
| 1-00443148 Revision #5 TOP Confirmed | White River - Alderton #4 115 kV Line : Stewart Tap - Alderton OOS | 2017/06/30 to 2017/06/30 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Bishop, Warren Cutting jumpers at grid 568092/156133 |
| 1-00475575 Revision #5 TOP Confirmed | Alderton - Fredrickson #2 115 kV Line : Alderton - Hemlock, Alderton - Fredrickson #2 115 kV Line : Hemlock - Fredrickson OOS | 2017/06/30 to 2017/06/30 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Removing shoe-fly around Hemlock |
| 1-00480379 Revision #3 TOP Confirmed | March Point - Whidbey #1 115 kV Line : Crescent Harbor Tap - Whidbey, Whidbey - Greenbank #1 115 kV Line : Whidbey - Coupeville OOS | 2017/06/30 to 2017/06/30 7 Hours | 08:00 - 15:00 Continuous |  |  |  |  | Parker, David WBY South bus, Replacing hardware S: Ackerlund |
| 1-00475780 Revision #9 Completed Verified | Blumaer 115kV 871, Spurgeon Creek 115kV 7433, Spurgeon Creek 115kV 7434 OOS | 2017/05/04 to 2017/08/01 89.06 Days | 16:35 - 18:00 Continuous |  |  |  |  | Poliquin, David Lightning storm |
| 1-00432356 Revision #16 Implemented Unverified | BPA Maple Valley - Talbot Hill #2 230 kV Line : BPA Maple Valley - Talbot Hill, Talbot Hill - O'Brien #3 230 kV Line : Talbot Hill - O'Brien, Talbot Hill - SCL South 230kV Line : Talbot Hill - SCL South, Talbot Hill 230/115kv Bank 2, Talbot Hill 230kV SW685 OOS | 2017/05/15 to 2017/10/31 169.33 Days | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Grieger, Lisa Terminal clearance needed: BMA A-1130 and SCL SOS PCB 240-9. Rebuild Talbot Hill 230kv north bus. operating plan SLIM 118_R1 is attached |
| 1-00481780 Revision #4 Implemented Unverified | Anderson Canyon - Beverly Park 115kV OOS | 2017/05/23 to 2017/09/01 101.15 Days | 12:30 - 16:00 Noncontinuous |  |  |  |  | TOA, Chelan Opened 6-900 due to high conductor temperature. We open it daily during the summer months, and then reclose at night. We can change the open on the line for maintenance on the Chelan or Puget side |
| 1-00481711 Revision #6 Completed Unverified | March Point P580 BP&C OOS | 2017/05/26 to 2017/06/21 26.35 Days | 07:30 - 16:00 Continuous |  |  |  |  | Parker, David Breaker testing and repair S: Ackerlund |
| 1-00464824 Revision #6 Implemented Unverified | Stillwater - Cottage Brook 115 kV Line : Cottage Brook - Duvall Tap OOS | 2017/05/26 to 2017/10/06 133 Days | 16:00 - 16:00 Continuous |  |  |  |  | Parker, David replacing poles and re-conductoring line |
| 1-00479598 Revision #1 BA Proposed | SCL South Tolt - Stillwater 115 kV Line : SCL South Tolt - Stillwater, SCL South Tolt - Stillwater 115kV Line, SCL South Tolt Bank #81, SCL South Tolt BKR 120-BK81, SCL South Tolt BKR 13-BK81, SCL South Tolt BKR 13-G81, SCL South Tolt Gen #81 OOS | 2017/09/05 to 2017/10/09 34.54 Days | 08:00 - 21:00 Continuous |  |  |  |  | Sandoval, Marcus Penstock intertie and cleaning project. Maintenance |