| Business Units: | All Business Units |
| --- | --- |
| Date Range: | from 08/21/2017 to 11/20/2017 |
| Equipment Classes: | Bus, Capacitor, Circuit Breaker, Circuit Switcher, Disconnect Switch, Switchgear, Transformer, Transmission Circuit |
| Generate By: | Control Center: PSE Transmission Control Center |

| OUTAGE REQUESTS |
| --- |
| Outage #/ Revision/ Status | Station/ Circuit/Equipment | Requested Date Range/ Duration | From/To/Type | Required Approvals | Path(s) Affected | Requested By/ Reason/Priority |
|  |  |  |  |  | Path | OTC Impact | WECC OTC Seas. Ratings |  |
| 1-00499971 Revision #5 Implemented Unverified | Fredrickson - Gravelly Lake 115 kV Line: Tillicum Tap - Fredrickson, Fredrickson - Gravelly Lake 115 kV Line: Tillicum Tap - Gravelly Lake OOS | 2017/08/14 to 2017/08/25 11.35 Days | 06:30 - 15:00 Return Evenings and Weekends |  |  |  |  | Parker, David Pole replacement |
| 1-00503527 Revision #5 Implemented Unverified | Shuffleton - O'Brien 115 kV Line : Shuffleton - Earlington, Talbot Hill - O'Brien #2 115 kV Line : Talbot Hill - Victoria Park OOS | 2017/08/21 to 2017/08/23 2.48 Days | 06:30 - 18:00 Return Evenings |  |  |  |  | Parker, David Removing span guy and replacing pole 0/14 |
| 1-00500023 Revision #7 Implemented Unverified | Olympia - Saint Clair #2 115 kV Line : Olympia - McKinley OOS | 2017/08/21 to 2017/10/20 60.38 Days | 07:30 - 16:30 Continuous |  |  |  |  | Parker, David Replacing transformer and high side protection at McKinley |
| 1-00503874 Revision #5 Implemented Unverified | Christopher - Midway 115 kV Line : Cambridge - Christopher OOS | 2017/08/21 to 2017/08/23 2.35 Days | 07:30 - 16:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00498023 Revision #5 Implemented Unverified | CASINO-PICNIC POINT SECT PSE BEVERLY PARK-PAINE FIELD 115KV LINE 1624-1874 OOS | 2017/08/21 to 2017/08/25 4.33 Days | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim CELL TOWER WORK ON 115KV POLE. |
| 1-00503220 Revision #6 RC OPA D+1 Confirmed | White River - Fairchild 115 kV Line : Sumner - Woodland, White River - Fairchild 115 kV Line : Woodland - Fruitland OOS | 2017/08/22 to 2017/08/22 10 Hours | 06:00 - 16:00 Continuous |  |  |  |  | Parker, David Repairing WOO SW 292 Mitigation plan attached |
| 1-00504796 Revision #4 RC Short-Range Confirmed | Sammamish - Novelty Hill #1 115 kV Line : Sammamish - Redmond OOS | 2017/08/23 to 2017/08/31 8.52 Days | 06:30 - 19:00 Continuous |  |  |  |  | Parker, David Proximity work |
| 1-00503856 Revision #3 RC Short-Range Confirmed | Novelty Hill - Sahalee 115 kV Line : Novelty Hill - Ames Lake Tap OOS | 2017/08/23 to 2017/08/25 2.35 Days | 07:30 - 16:00 Continuous |  |  |  |  | Parker, David Cell site |
| 1-00502409 Revision #4 RC Short-Range Confirmed | Lake Tradition - President Park 115 kV Line : Lake Tradition - Lake McDonald Tap, Talbot Hill - Lake Tradition #1 115 kV Line : Maplewood - Lake Tradition OOS | 2017/08/24 to 2017/08/24 10.5 Hours | 06:30 - 17:00 Continuous |  |  |  |  | Parker, David Replacing bolts on davit arms |
| 1-00503267 Revision #3 RC Short-Range Confirmed | Sedro Woolley - March Point #3 115 kV Line : Big Rock Tap - Mt. Vernon, Sedro Woolley - March Point #3 115 kV Line : Sedro Woolley - Big Rock Tap OOS | 2017/08/24 to 2017/08/24 12.5 Hours | 06:30 - 19:00 Continuous |  |  |  |  | Parker, David Replacing pole switch 892 |
| 1-00504312 Revision #3 RC Short-Range Confirmed | Fredonia - Wilson 115 kV Line : Fredonia - Wilson, Sedro Woolley - Fredonia 115 kV Line : Olympic Bayview Tap - Fredonia, Fredonia Unit 4 OOS | 2017/08/23 to 2017/08/24 10.5 Hours | 19:30 - 06:00 Continuous |  |  |  |  | Parker, David Re-wiring bus differential relay & maintenance on FDS PCB 7087 & maintenance on WLS SW 3072 |
| 1-00503867 Revision #3 RC Short-Range Confirmed | Shuffleton - Lakeside 115 kV Line : South Mercer Tap - Mercerwood Tap OOS | 2017/08/25 to 2017/08/25 8.5 Hours | 07:30 - 16:00 Continuous |  |  |  |  | Parker, David Cell site |
| 1-00505307 Revision #1 TOP Confirmed | Saint Clair - Gravelly Lake #2 115 kV Line : McAllister Springs Tap - Holden Tap, Saint Clair - Gravelly Lake #2 115 kV Line : Saint Clair - McAllister Springs Tap OOS | 2017/08/24 to 2017/08/25 8 Hours | 22:00 - 06:00 Continuous |  |  |  |  | Parker, David Dead-ending Mcallister Springs Tap and cutting jumpers between tap and pole switch 1064 |
| 1-00505308 Revision #1 TOP Confirmed | Saint Clair - Gravelly Lake #2 115 kV Line : Saint Clair - McAllister Springs Tap OOS | 2017/08/25 to 2017/08/30 5.42 Days | 05:59 - 16:00 Continuous |  |  |  |  | Parker, David Replacing pole and SCADA for pole switch 1064 |
| 1-00506419 Revision #1 TOP Confirmed | Portal Way - Arco North 115 kV Line : Semiahmoo - Birch Bay Tap OOS | 2017/08/27 to 2017/08/27 30 Mins | 08:00 - 08:30 Continuous |  |  |  |  | Parker, David Autoswitch testing SEM SW7350 |
| 1-00499991 Revision #5 RC Short-Range Confirmed | Alderton - Fredrickson #2 115 kV Line : Hemlock - Fredrickson OOS | 2017/08/28 to 2017/09/22 25.35 Days | 06:30 - 15:00 Return Evenings and Weekends |  |  |  |  | Parker, David Pole replacement |
| 1-00506086 Revision #4 RC Short-Range Confirmed | Talbot Hill - Christopher 115 kV Line : Orchard - Talbot OOS | 2017/08/28 to 2017/09/05 8.38 Days | 07:00 - 16:00 Continuous |  |  |  |  | Parker, David Grounding line for proximity work by state contractor for I405 |
| 1-00505018 Revision #4 RC Short-Range Confirmed | Cottage Brook - Moorlands 115 kV Line : Cottage Brook - Hollywood OOS | 2017/08/28 to 2017/08/30 2.44 Days | 07:30 - 18:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00486951 Revision #6 RC Short-Range Confirmed | Nooksack - Kendall 55 kV Line : Glacier Tap - Nooksack, Nooksack - Kendall 55 kV Line : Kendall - Glacier Tap OOS | 2017/08/28 to 2017/08/28 11 Hours | 08:00 - 19:00 Continuous |  |  |  |  | Parker, David Proximity work replacing bridge |
| 1-00499532 Revision #2 RC Short-Range Confirmed | HARBOUR POINT-MUKILTEO TAP SECT BEVERLY PARK-PAINE FIELD 115KV LINE 1872-1883, MUKILTEO TAP-PAINE FIELD SECT PSE BEVERLY PARK-PAINE FIELD 115KV LINE 1882-1892/2, Mukilteo 115/12KV BANK 1, MUKILTEO BANK #1 115KV BUS 4860-2237, MUKILTEO TAP SECT BEVERLY PARK-PAINE FIELD 115KV LINE 1883-4860-1882 OOS | 2017/08/28 to 2017/09/01 4.33 Days | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim MAINT ON 115KV SW'S 1882, 1883, 4860 |
| 1-00500550 Revision #7 RC Short-Range Confirmed | Electron Heights - Yelm 115 kV Line : Electron Heights - Kapowsin OOS | 2017/08/28 to 2017/09/22 25.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Replacing EHT PCB 534 |
| 1-00504044 Revision #3 RC Short-Range Confirmed | Electron Heights - Yelm 115 kV Line : Electron Heights - Kapowsin OOS | 2017/08/28 to 2017/09/22 25.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David EHT PCB 534 replacement |
| 1-00456256 Revision #8 RC Short-Range Confirmed | Olympia-Shelton 5 230kV Line, Olympia-St Clair 1 230KV Line, Olympia: 230kV Center Main Bus, Olympia: PCB A-1770, Olympia: PCB A-206, Olympia: PCB A-356, Olympia: PCB A-358 OOS | 2017/08/29 to 2017/08/29 9 Hours | 07:30 - 16:30 Continuous |  |  |  |  | BPA, Dart #1095665 DISCONNECT MAINTENANCE |
| 1-00478361 Revision #12 Implemented Verified | South Whidbey - Greenbank #2 115 kV Line : Freeland Tap - South Whidbey, South Whidbey - Greenbank #2 115 kV Line : Greenbank - Freeland Tap OOS | 2017/07/20 to 2017/09/29 71.38 Days | 08:00 - 17:00 Return Weekends |  |  |  |  | Parker, David Replacing poles |
| 1-00443146 Revision #10 Implemented Verified | White River - Alderton #4 115 kV Line : Stewart Tap - Alderton OOS | 2017/06/30 to 2017/10/31 123.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Bishop, Warren Cut Jumpers at grid 568093/156133 to ALD 1283-L&A Mitigation plan attached |
| 1-00432356 Revision #17 Implemented Verified | BPA Maple Valley - Talbot Hill #2 230 kV Line : BPA Maple Valley - Talbot Hill, Talbot Hill - O'Brien #3 230 kV Line : Talbot Hill - O'Brien, Talbot Hill - SCL South 230kV Line : Talbot Hill - SCL South, Talbot Hill 230/115kv Bank 2, Talbot Hill 230kV SW685 OOS | 2017/05/15 to 2017/10/31 169.33 Days | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Grieger, Lisa Terminal clearance needed: BMA A-1130 and SCL SOS PCB 240-9. Rebuild Talbot Hill 230kv north bus. operating plan SLIM 118_R1 is attached |
| 1-00481780 Revision #5 Implemented Verified | Anderson Canyon - Beverly Park 115kV OOS | 2017/05/23 to 2017/09/01 101.15 Days | 12:30 - 16:00 Noncontinuous |  |  |  |  | TOA, Chelan Opened 6-900 due to high conductor temperature. We open it daily during the summer months, and then reclose at night. We can change the open on the line for maintenance on the Chelan or Puget side |
| 1-00464824 Revision #7 Implemented Verified | Stillwater - Cottage Brook 115 kV Line : Cottage Brook - Duvall Tap OOS | 2017/05/26 to 2017/10/06 133 Days | 16:00 - 16:00 Continuous |  |  |  |  | Parker, David replacing poles and re-conductoring line |
| 1-00503263 Revision #2 TOP Proposed | SCL Bothell - Sammamish 230 kV Line : SCL Bothell - Sammamish OOS | 2017/10/02 to 2017/10/02 9.5 Hours | 06:30 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Parker, David Replacing two cracked arms |
| 1-00504422 Revision #1 TOP Proposed | Sedro Woolley-Bellingham 1 230kV Line, Bellingham: PCB A-312 OOS | 2017/10/04 to 2017/10/04 9.5 Hours | 07:00 - 16:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1132388 CT DIAGNOSTIC SERVICE |
| 1-00504375 Revision #1 TOP Proposed | Olympia-St Clair 1 230KV Line, Olympia: PCB A-1770, Olympia: PCB A-358 OOS | 2017/10/05 to 2017/10/05 7 Hours | 07:30 - 14:30 Continuous |  |  |  |  | BPA, Dart #1134382 DISCONNECT SERVICE |
| 1-00463765 Revision #4 TOP Proposed | Cottage Brook - Moorlands 115 kV Line : Cottage Brook - Hollywood OOS | 2017/10/09 to 2017/10/11 2.42 Days | 06:00 - 16:00 Continuous |  |  |  |  | Bishop, Warren |
| 1-00456908 Revision #8 TOP Proposed | Beverly Park - Cottage Brook 115 kV Line : Lake Leota - Cottage Brook, Cottage Brook - Moorlands 115 kV Line : Cottage Brook - Hollywood, Sammamish - Novelty Hill - Cottage Brook 115 kV Line : Avondale - Cottage Brook, Stillwater - Cottage Brook 115 kV Line : Cottage Brook - Duvall Tap, Cottage Brook Cottage Brook OOS | 2017/10/12 to 2017/10/13 1.46 Days | 06:00 - 17:00 Continuous |  |  |  |  | McCulloch, Al J. Replacing COT PCB 1003-M Disconnects |
| 1-00500551 Revision #2 TOP Proposed | Alderton - Electron Heights 115 kV Line: Orting - Electron Heights OOS | 2017/10/16 to 2017/11/03 18.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Replacing EHT PCB 1049 |
| 1-00457004 Revision #6 TOP Proposed | Novelty Hill - Stillwater 115 kV Line : Novelty Hill - Stillwater, Snoqualmie - Novelty Hill 115 kV Line : Novelty Hill - Tolt Tap OOS | 2017/10/16 to 2017/10/18 2.46 Days | 05:00 - 16:00 Continuous |  |  |  |  | McCulloch, Al J. Replacing NOV PCB 1301 Main Bus Disconnects. NOTE: The entire Novelty 115kV bus will be de-energized, temporarily to facilitate switching. An RTCA study will be done before switching. |
| 1-00456984 Revision #6 TOP Proposed | Novelty Hill - Stillwater 115 kV Line : Novelty Hill - Stillwater OOS | 2017/10/19 to 2017/10/24 5.42 Days | 06:00 - 16:00 Continuous |  |  |  |  | McCulloch, Al J. Replacing PCB 1302 line and aux disconnects |
| 1-00500032 Revision #1 TOP Proposed | Olympia - Saint Clair #2 115 kV Line : McKinley - N.O. Sw 167 - Johnson Hill Tap, Olympia - Saint Clair #2 115 kV Line : Olympia - McKinley OOS | 2017/10/20 to 2017/10/20 9 Hours | 07:30 - 16:30 Continuous |  |  |  |  | Parker, David Removing mobile sub on line side of MKI SW 163 |
| 1-00474913 Revision #4 TOP Proposed | Covington-White River 1 230kV Line OOS | 2017/10/25 to 2017/10/29 4.52 Days | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1114510 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/4/THEIR WHITE RIVER 230KV 7368/7369 TERMINAL TO PROTECT BPA CONTRACT PERSONNEL |
| 1-00474915 Revision #4 TOP Proposed | Covington-White River 2 230kV Line OOS | 2017/10/25 to 2017/10/29 4.52 Days | 06:00 - 18:30 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | BPA, Dart #1114514 PROXIMITY WORK TO INSTALL 2.5" CONDUCTOR ON RAVER-COVINGTON NO 1 500KV LINE FROM 10/2 TO 10/5/THEIR WHITE RIVER 230KV 7397/7398 TERMINAL TO PROTECT BPA CONTRACT PERSONNEL |
| 1-00443149 Revision #3 TOP Proposed | White River - Alderton #4 115 kV Line : Stewart Tap - Alderton, White River - Fairchild 115 kV Line : Sumner - Woodland OOS | 2017/10/31 to 2017/10/31 8 Hours | 08:00 - 16:00 Continuous |  |  |  |  | Bishop, Warren |
| 1-00505906 Revision #1 TOP Proposed | Lakeside - Ardmore #2 115kV Line : Ardmore - Lake Hills OOS | 2017/09/04 to 2017/09/29 25.44 Days | 07:30 - 18:00 Continuous |  |  |  |  | Parker, David Cell site |
| 1-00506455 Revision #1 TOP Proposed | O'Brien - Long Lake 115 kV Line : Fragaria Tap - Long Lake OOS | 2017/09/05 to 2017/09/05 8 Hours | 07:00 - 15:00 Continuous |  |  |  |  | Parker, David LOL PCB 985 maintenace |
| 1-00503368 Revision #4 TOP Proposed | South Bremerton - Long Lake #1 115 kV Line : East Port Orchard Tap - East Port Orchard, South Bremerton - Long Lake #1 115 kV Line : South Bremerton - East Port Orchard Tap OOS | 2017/09/05 to 2017/09/22 17.4 Days | 07:30 - 17:00 Return Weekends |  |  |  |  | Parker, David Relocating poles |
| 1-00506441 Revision #1 TOP Proposed | Sumas - Bellingham 115 kV Line : Britton - Van Wyck OOS | 2017/09/05 to 2017/09/08 3.44 Days | 07:30 - 18:00 Return Evenings |  |  |  |  | Parker, David Cell site |
| 1-00502427 Revision #6 RC Short-Range Confirmed | Foss Corner P587_BUS_SEC OOS | 2017/09/06 to 2017/09/12 6.35 Days | 06:30 - 15:00 Continuous |  |  |  |  | Parker, David Major maintenance |
| 1-00504247 Revision #1 TOP Proposed | Snohomish-Beverly Park 3 115kV Line OOS | 2017/09/06 to 2017/09/06 10 Hours | 07:00 - 17:00 Continuous |  |  |  |  | BPA, Dart #1130658 POLE REPLACEMENT |
| 1-00506109 Revision #2 TOP Confirmed | FLORAL HILLS TAP-POLARIS TAP SECT SNOKING- BEVERLY PARK 115KV LINE 4284-4688, POLARIS TAP-MARTHA LAKE SECT SNO-KING- BEVERLY PARK 115KV LINE 4688-4497-1502, Polaris 115/12KV BANK 1, POLARIS BANK #1 SECT SNO-KING- BEVERLY PARK 115KV LINE 4497-4498-N.O. 4496 OOS | 2017/09/06 to 2017/09/06 8 Hours | 08:00 - 16:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Dotson, Jim MAINT ON 115KV SW 4688 |
| 1-00506275 Revision #1 TOP Proposed | Electron Heights - Yelm 115 kV Line : Electron Heights - Kapowsin OOS | 2017/09/07 to 2017/09/07 8.5 Hours | 07:30 - 16:00 Continuous |  |  |  |  | Parker, David Replacing pole |
| 1-00503377 Revision #1 TOP Proposed | Talbot Hill - Asbury 115 kV Line : Southcenter - Nelson Cable Station OOS | 2017/09/08 to 2017/09/08 9.5 Hours | 14:00 - 23:30 Continuous |  |  |  |  | Parker, David Re-installing backfill under 115kV cables |
| 1-00502402 Revision #1 TOP Proposed | Talbot Hill - Asbury 115 kV Line : Southcenter - Nelson Cable Station OOS | 2017/09/08 to 2017/09/08 8.5 Hours | 15:00 - 23:30 Continuous |  |  |  |  | Parker, David Reinstalling fluidized thermal backfill |
| 1-00498658 Revision #3 BA & TOP Confirmed | SCL Cedar Falls - Lake Youngs 115kV Line Cedar Falls Substation to Lake Youngs Substation 115kv Line, SCL Cedar Falls - Rattlesnake Lake 115kV Line Cedar Falls Substation to Rattlesnake Substation 115kv Line, SCL Cedar Falls 6.6kV Bus 2 Cedar Falls Substation 6kv Bus 2, SCL Cedar Falls Bank #6 Cedar Falls Substation Bank 6, SCL Cedar Falls BKR 120-43 Cedar Falls Substation Breaker 120-43, SCL Cedar Falls BKR 6-13 Cedar Falls Substation Breaker 6-13, SCL Cedar Falls BKR 6-14 Cedar Falls Substation Breaker 6-14, SCL Cedar Falls DSC 120-40 Cedar Falls Substation Disconnect 120-40, SCL Cedar Falls DSC 120-43 Cedar Falls Substation Disconnect 120-43, SCL Cedar Falls DSC 120-59 Cedar Falls Substation Disconnect 120-59, SCL Cedar Falls Gen #6 Cedar Falls Powerhouse Generator 6, SCL Cedar Falls LI 120-60 Cedar Falls Substation L.I. 120-60 OOS | 2017/09/11 to 2017/09/15 4.63 Days | 08:00 - 23:00 Continuous |  | Path 3 | /a | 3150 MW N->S 2000 MW S->N | Sandoval, Marcus Switchyard maintenance including cleaning, testing of line breaker/load interrupter, Bank 6 power factor testing, wiring of new line test switches for transducer isolation, testing of Bank 6 deluge system, completion of Bank 6 cooling water modifications. |
| 1-00506451 Revision #1 TOP Proposed | Foss Corner - U.S. Navy Keyport 115 kV Line : U.S. Navy Keyport - Lemolo OOS | 2017/09/13 to 2017/09/13 4.5 Hours | 07:30 - 12:00 Continuous |  |  |  |  | Parker, David Replacing gas pressure gauge on USK PCB 7043 |
| 1-00503801 Revision #1 TOP Confirmed | Saint Clair - Pleasant Glade 115 kV Line : Luhr Beach - Pleasant Glade OOS | 2017/09/15 to 2017/09/17 2.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Parker, David Repair leak on PLG PCB 531 |
| 1-00486946 Revision #9 TOP Proposed | South Bremerton - Valley Junction 115 kV Line : Tracyton - Valley Junction OOS | 2017/09/18 to 2017/09/28 10.33 Days | 07:00 - 15:00 Continuous |  |  |  |  | Parker, David Replacing VJU PCB 7284 S: Cook |
| 1-00498679 Revision #2 BA & TOP Confirmed | SCL South Tolt - Stillwater 115kV Line, SCL South Tolt Bank #81, SCL South Tolt BKR 120-BK81, SCL South Tolt BKR 13-BK81, SCL South Tolt BKR 13-G81, SCL South Tolt DSC 120-81, SCL South Tolt Gen #81 OOS | 2017/09/25 to 2017/09/28 3.33 Days | 08:00 - 16:00 Continuous |  |  |  |  | Sandoval, Marcus Switchyard maintenance including all primary equipment, meter compliance testing, electrical testing of BK 81 and BKR 120 BK 81. |
| 1-00503190 Revision #1 TOP Proposed | Phalen Gulch - Central Ferry 230kV Line : Phalen Gulch - BPA Central Ferry OOS | 2017/09/26 to 2017/09/26 10 Hours | 08:00 - 18:00 Continuous |  |  |  |  | Parker, David End-to-end testing |