End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Temp191_23673

As of:

11:46 on 4/26/2018

OOME instructions have been de-escalated

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Temp191_23673

And has issued an OOME instruction directing SPS

Effective:

11:07 on 4/26/2018

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

5014 ELKXFRTUCOKU

As of:

01:30 on 8/18/2017

OOME instructions have been de-escalated

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

5014 ELKXFRTUCOKU

And has issued an OOME instruction directing Nextera.

Effective:

00:13 on 8/18/2017

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

22818 – TMP252

As of:

22:57 on 5/16/17

OOME instructions have been de-escalated.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

22818 – TMP252

And has issued an OOME instruction directing Nextera.

Effective:

20:47 on 5/16/2017

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

22525 – TMP193

As of:

22:21 on 5/16/17

OOME instructions have been de-escalated.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

22525 – TMP193

And has issued an OOME instruction directing KCPL.

Effective:

20:51 on 5/16/2017

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

FTSXFRRIVCOG, 5616

As of:

16:56 on 5/16/17

OOME instructions have been rescinded.

released for normal operation.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

FTSXFRRIVCOG, 5616

And has issued an OOME instruction directing OKGEAES.

Effective:

16:13 on 5/16/2017

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

KCPL_WAVERLYWND

As of:

23:25 on 4/24/17

OOME instructions have been rescinded. KCPL_WAVERLYWND

released for normal operation.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

KCPL_WAVERLYWND

And has issued an OOME instruction directing KCPL_WAVERLYWND to 0mw max

Effective:

10:31 on 4/24/2017

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

OKGESPIRITWIND

As of:

12:50 on 3/23/2017

OOME instructions have been rescinded. OKGESPIRITWIND

released for normal operation.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

OKGEKEENANWIND

As of:

12:50 on 3/23/2017

OOME instructions have been rescinded. OKGEKEENANWIND

released for normal operation.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

OKGEKEENANWIND

And has issued an OOME instruction directing OKGEKEENANWIND to 0mw max

Effective:

11:36 on 3/23/2017

The Emergency Notice and OOME instruction will be effective until further notice

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

OKGESPIRITWIND

And has issued an OOME instruction directing OKGESPIRITWIND to 0mw max

Effective:

11:36 on 3/23/2017

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

NPPD_CRFTNWIND

As of:

21:02 on 10/22/2016

OOME instructions have been rescinded. NPPD_CRFTNWIND

released for normal operation.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

NPPD_ELKHNWIND

As of:

21:02 on 10/22/2016

OOME instructions have been rescinded. NPPD_ELKHNWIND

released for normal operation.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

WAUE.BEPM.CROWLAKE

As of:

21:00 on 10/22/2016

OOME instructions have been rescinded. WAUE.BEPM.CROWLAKE

released for normal operation.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

NPPD_CRFTNWIND

And has issued an OOME instruction directing NPPD_CRFTNWIND to 0mw max

Effective:

19:32 on 10/22/2016

The Emergency Notice and OOME instruction will be effective until further notice

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

NPPD_ELKHNWIND

And has issued an OOME instruction directing NPPD_ELKHNWIND to 0mw max

Effective:

19:31 on 10/22/2016

The Emergency Notice and OOME instruction will be effective until further notice

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

WAUE.BEPM.CROWLAKE

And has issued an OOME instruction directing WAUE.BEPM.CROWLAKE to 0mw max

Effective:

19:27 on 10/22/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

GGS 1 and GGS 2

As of:

08:58 on 09/16/2016

OOME instructions have been rescinded. GGS 1 and GGS 2 released for normal operation.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

GGS 1 and GGS 2

And has issued an OOME instruction directing GGS 1 to 600mw max and GGS 2 to 600mw max.

Effective:

08:07 on 09/16/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Young 1

As of:

07:24 on 08/18/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Young 1

And has issued an OOME instruction directing to Emergency Min of 66mw

Effective:

07:11 on 08/18/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Young 2

As of:

07:24 on 08/18/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Young 2

And has issued an OOME instruction directing to Emergency Min of 107mw

Effective:

07:12 on 08/18/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Harrngtn 1, 2, 3

As of:

02:32 on 08/09/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Harrngtn 1, 2, 3

And has issued an OOME instruction directing to Emergency Min of 163mw

Effective:

01:56 on 08/09/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Jones 1

As of:

02:32 on 08/09/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Jones 1

And has issued an OOME instruction directing to Emergency Max of 225mw

Effective:

01:54 on 08/09/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Maddox1

As of:

02:32 on 08/09/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Maddox1

And has issued an OOME instruction directing to Emergency Max of 112mw

Effective:

01:51 on 08/09/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Cunngham2

As of:

02:32 on 08/09/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Cunngham2

And has issued an OOME instruction directing to Emergency Max of 184mw

Effective:

01:51 on 08/09/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

SWPS2

As of:

11:57 on 07/14/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

SWPS2

And has issued an OOME instruction directing to Emergency Max of 275mw

Effective:

11:18 on 07/14/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

SWPS1

As of:

11:57 on 07/14/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

SWPS1

And has issued an OOME instruction directing to Emergency Max of 180MW

Effective:

11:18 on 05/17/2016

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Welsh 3

As of:

15:48 on 05/17/2016

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Welsh 3

And has issued an OOME instruction directing to Emergency Max of 517mw

Effective:

14:55:07 on 05/17/2016

The Emergency Notice and OOME instruction will be effective until 1600 on 05/17/2016

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Welsh 2

As of:

18:25 on 10/12/15

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Welsh 2

And has issued an OOME instruction directing to Emergency Max

Effective:

16:07 on 10/12/2015

The Emergency Notice and OOME instruction will be effective until 2207 on 10/12/2015

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Welsh 1

As of:

18:25 on 10/12/15

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Welsh 1

And has issued an OOME instruction directing to Emergency Max

Effective:

16:07 on 10/12/2015

The Emergency Notice and OOME instruction will be effective until 2207 on 10/12/2015

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Jones 2

As of:

00:23 on 09/02/15

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Jones 2

And has issued an OOME instruction directing to 183 mw output.

Effective:

23:51 on 09/01/2015

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Jones 1

As of:

00:22 on 09/02/15

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Jones 1

And has issued an OOME instruction directing to 97 mw output.

Effective:

23:51 on 09/01/2015

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Gentleman 1

As of:

08:57 on 08/05/15

OOME instructions have been rescinded.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Gentleman 2

As of:

08:29 on 08/05/15

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Gentleman 2.

And has issued an OOME instruction limiting to max output of 480mw.

Effective:

08:20 on 08/05/2015

The Emergency Notice and OOME instruction will be effective until further notice.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Gentleman 1.

And has issued an OOME instruction limiting to max output of 620mw.

Effective:

08:20 on 08/05/2015

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

REDBUD 1,2,3,4

As of:

18:50 on 07/13/15

OOME instructions have been rescinded

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

REDBUD 1,2,3,4.

And has issued an OOME instruction limiting to max output of 950mw.

Effective:

16:06 on 07/13/2015

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Tolk Generator.

As of:

0327 on 05/09/15

OOME instructions have been rescinded

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Tolk Generator.

And has issued an OOME instruction limiting to max output of 450mw.

Effective:

1705 on 05/08/2015

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(TEMP31_20439)

As of:

(Time 18:54 and date 04/04/2015)

OOME instructions to Balancing Authorities:

(OKGE Generation Operator - Joe)

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

TEMP 31_20439

And has issued an OOME instruction to OKGE Generation Operator:

Allen

Effective:

15:45 on 04/04/2015

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Tolk Generator.

As of:

0400 on 06/08/14

OOME instructions to Balancing Authorities:

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Tolk Generator.

And has issued an OOME instruction

Effective:

2220 on 06/07/2014

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Milan Tap-Clearwater 115kv line.

As of:

1751 on 03/07/14

OOME instructions to Balancing Authorities:

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Milan Tap-Clearwater 115kv line.

And has issued an OOME instruction

Effective:

1742 on 03/07/2014

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Medicine Lodge-Sun City 115kv line.

As of:

15:02 on 03/05/14

OOME instructions to Balancing Authorities:

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Medicine Lodge-Sun City 115kv line.

And has issued an OOME instruction

Effective:

0835 on 03/05/2014

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Milan Tap-Clearwater 115kv line.

As of:

0257 on 3/05/2014

OOME instructions have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Milan Tap-Clearwater 115kv line.

And has issued an OOME instruction to Balancing Authorities:

BP (SPP BA)

Effective:

2010 on 03/04/2014

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(E.Manhattan-McDowell 115kv flo Jeff-Morris 345 kv Temp 4 Flgt. 18988)

As of:

(Time (09:58) and date (03/06/13)

OOME instructions to Balancing Authorities:

(WR Gen. Larry)

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(E.Manhattan-McDowell 115kv flo Jeff-Morris 345 kv Temp 4 Flgt. 18988)

And has issued an OOME instruction to Balancing Authorities:

(WR Gen. Larry)

Effective:

(Effective Time (09:12) and date (03/06/13)

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(ELKXFRTUCOKU #5014.)

As of: (08:56) (12/04/2011)

OOME instructions to Balancing Authorities:

(SPS and OKGE) Has been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(ELKXFRTUCOKU #5014).

And has issued an OOME instruction to Balancing Authorities:

(SPS and OKGE)

Effective:

(Effective Time (08:11) and date (12/04/2011)

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(NwtPatLydVal Flgt. 5042.)

As of: (09:36) (03/31/11))

OOME instructions to Balancing Authorities:

(CSWS) Has been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(NwtPatLydVal Flgt. 5042.	)

And has issued an OOME instruction to Balancing Authorities:

(CSWS)

Effective:

(Effective Time (09:04) and date (03/31/11)

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on: N.W. Texarkana-Patterson 138Kv flo Lydia-Valliant 345Kv Flgt # 5042.  As of 12:46 3/30/2011, OOME Instructions to Balancing Authority AEP have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on: N.W. Texarkana-Patterson 138Kv flo Lydia-Valliant 345Kv Flgt # 5042.

As of 12:38 3/30/2011.  OOME instructions to Balancing Authority:

AEP

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on: Cooper – St Joe 345kv 16966   As of:  02:15 3/06/2011.  OOME instructions to Balancing Authorities:

WR and OPPD Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on: Cooper – St Joe 345kv 16966   And has issued an OOME instruction to Balancing Authorities:  WR and OPPD  Effective: Time 01:08  03/06/2011

The Emergency Notice and OOME instruction will be effective until further notice.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on: Cooper_S Flgt 6009:

Effective: 0826 04/02/2010 issued an OOME instruction to Balancing Authority OPPD and will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on: Cooper_S Flgt 6009: As of  0828 04/02/2010 OOME instructions to Balancing Authorities OPPD has been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on: Circle to Reno 115Kv Line In the Westar BA at BA’s Request and has issued an OOME instruction to Balancing Authorities: WR

Effective: 2215 03/04/2010 The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on Circle to Reno 115Kv Line. As of  2318 03/04/2010 OOME instructions to Balancing Authorities: Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on: ELKXFRTUCOKU Flgt 5014 and has issued an OOME instruction to Balancing Authorities: SPS & OG+E

Effective: 0641 10/07/2009 The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on ELKXFRTUCOKU Flgt 5014. As of  0740 10/07/2009 OOME instructions to Balancing Authorities: Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

VALHUGVALLYD #5202.

And has issued an OOME instruction to Balancing Authorities:

CSWS & WFEC

Effective:

2110  06/16/09

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

VALHUGVALLYD #5202

As of:  2145 06/16/09

OOME instructions to Balancing Authorities: Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

ELKXFRTUCOKU #5014

And has issued an OOME instruction to Balancing Authorities:

CSWS & SPS

Effective:

1858  06/02/09

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

ELKXFRTUCOKU #5014

As of:  1959 06/02/09

OOME instructions to Balancing Authorities: Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

ELKXFRTUCOKU #5014

And has issued an OOME instruction to Balancing Authorities:

CSWS & SPS

Effective:

1728  06/02/09

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

ELKXFRTUCOKU #5014

As of:  1745 06/02/09

OOME instructions to Balancing Authorities: Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

SPPSPSTIES #5247

And has issued an OOME instruction to Balancing Authorities:

CSWS, OKGE, and SPS

Effective:

1220 01/28/09

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

SPPSPSTIES #5247

As of:  1300 01/28/09

OOME instructions to Balancing Authorities:

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

SPPSPSTIES flowgate #5247

And has issued an OOME instruction to Balancing Authorities:

SPS, CSWS, and OKGE

Effective:

2015 06/24/08

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

SPPSPSTIES flowgate #5247

As of:

IE 2115 on 06/24/08

OOME instructions to Balancing Authorities:

SPS, CSWS, and OKGE

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(TOLK units 1&2)

And has issued an OOME instruction to Balancing Authorities:

SPS

Effective:

0825 06/21/08

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

TOLK units 1&2

As of:

0930 06/21/08

OOME instructions to Balancing Authorities:

(SPS

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(ElkXfrTucOku Flgt.5014)

And has issued an OOME instruction to Balancing Authorities:

(CSWS)

Effective:

(Effective Time (10:05) and date (05/24/08)

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(ElkXfrTucOku Flgt.5014)

As of:

(Time (10:44) and date (05/24/08))

OOME instructions to Balancing Authorities:

(CSWS)

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(ElkXfrTucOku Flgt.5014)

And has issued an OOME instruction to Balancing Authorities:

(CSWS)

Effective:

(Effective Time (09:08) and date (05/24/08)

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(ElkXfrTucOku Flgt.5014)

As of:

(Time (09:35) and date (05/24/08))

OOME instructions to Balancing Authorities:

(CSWS)

Have been rescinded.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(SPS North-South Flgt. 5196)

As of:

(Time (18:59) and date (05/14/08))

OOME instructions to Balancing Authorities:

(SPS)

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(SPS North-South Flgt. 5196)

And has issued an OOME instruction to Balancing Authorities:

(SPS)

Effective:

(Effective Time (17:50) and date (05/14/08)

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

(SPS North-South Flgt. 5196)

As of:

(Time (00:40) and date (04/04/08))

OOME instructions to Balancing Authorities:

(SPS)

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(SPS North-South Flgt. 5196)

And has issued an OOME instruction to Balancing Authorities:

(SPS)

Effective:

(Effective Time (23:55) and date (04/03/08)

The Emergency Notice and OOME instruction will be effective until further notice

End of Emergency Declaration

The SPP Reliability Coordinator has ended the emergency on:

Temporary Flowgate 9 #14774 (NEGas to Owasso for the loss of NEGas to Rice)

And has issued an OOME instruction to Balancing Authorities:

CSWS

Effective:

15:05  on  12/10/2007

Has been rescinded.

Effective @ 16:15 CST

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Temporary Flowgate 9 #14774 (NEGas to Owasso for the loss of NEGas to Rice)

And has issued an OOME instruction to Balancing Authorities:

CSWS

Effective:

15:05  on  12/10/2007

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Flgt# 5014, ElkXfrTucOku

As of:

2343 on 07/11/2007

OOME instructions to Balancing Authorities:

SPS and CSW

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Flgt# 5014,ElkXfrTucOku

And has issued an OOME instruction to Balancing Authorities:

SPS and CSW

Effective:

2317  on 07/11/2007

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Flgt# 5247,SPPSPSTIES

As of:

1000 on 02/13/2007

OOME instructions to Balancing Authorities:

SPS and CSW

Have been rescinded.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

Flgt# 5247,SPPSPSTIES

And has issued an OOME instruction to Balancing Authorities:

SPS and CSW

Effective:

09:17  on 02/13/2007

The Emergency Notice and OOME instruction will be effective until further notice.

Emergency Declaration

The SPP Reliability Coordinator has declared an emergency on:

(Flgt# 5247,SPPSPSTIES

And has issued an OOME instruction to Balancing Authorities:

SPS and CSW

Effective:

10:08  on 02/04/2007

The Emergency Notice and OOME instruction will be effective until further notice.

End of Emergency Declaration

The SPP Reliability Coordinator has ended the Emergency on:

Flgt# 5247,SPPSPSTIES)

As of:

1030 on 02/04/2007

OOME instructions to Balancing Authorities:

SPS and CSW

Have been rescinded.