## Sheet1
Summer 2014
| Modeled Peak Loading |  | Loading Criteria
Upgrade Name | System Intact | N-1 | System Intact | N-1
Met Criteria: |  |  | 30% | 65%
Rice County 230/115 kV Transformer Ckt 1 | 50.0438 | 77.309
Albion - Petersburg 115kV Ckt 1 GEN-2006-044N Upgrade | 46.2444 | 83.5892
Neligh - Petersburg North 115kV Ckt 1 | 37.1947 | 83.8413
Ft Supply 138/69KV Transformer Ckt 2 | 36.9726 | 65.4892
Rice - Lyons 115 kV Ckt 1 | 33.8414 | 65.648
La Cygne - West Gardner 345KV Ckt 1 | 32.5195 | 65.0325
Did Not Meet Criteria:
Northwest - Woodward 345KV Ckt 1 (Windspeed) | 21.3 | 24.8