Attachment 5

Application, Procedures, and Terms and Conditions for Interconnecting

a Certified Inverter-Based Small Generating Facility No

Larger than 10 kW ("10 kW Inverter Process")

1.0	The Interconnection Customer ("Customer") completes the Interconnection Request ("Application") and submits it to the Transmission Provider ("Company").

2.0	The Company acknowledges to the Customer receipt of the Application within three Business Days of receipt.

3.0	The Company evaluates the Application for completeness and notifies the Customer within ten Business Days of receipt that the Application is or is not complete and, if not, advises what material is missing.

4.0	The Company verifies that the Small Generating Facility can be interconnected safely and reliably using the screens contained in the Fast Track Process in the Small Generator Interconnection Procedures (SGIP).  The Company has 15 Business Days to complete this process.  Unless the Company determines and demonstrates that the Small Generating Facility cannot be interconnected safely and reliably, the Company approves the Application and returns it to the Customer.  Note to Customer: Please check with the Company before submitting the Application if disconnection equipment is required.

5.0	After installation, the Customer returns the Certificate of Completion to the Company.  Prior to parallel operation, the Company may inspect the Small Generating Facility for compliance with standards which may include a witness test, and may schedule appropriate metering replacement, if necessary.

6.0	The Company notifies the Customer in writing that interconnection of the Small Generating Facility is authorized.  If the witness test is not satisfactory, the Company has the right to disconnect the Small Generating Facility.  The Customer has no right to operate in parallel until a witness test has been performed, or previously waived on the Application.  The Company is obligated to complete this witness test within ten Business Days of the receipt of the Certificate of Completion.  If the Company does not inspect within ten Business Days or by mutual agreement of the Parties, the witness test is deemed waived.

7.0	Contact Information – The Customer must provide the contact information for the legal applicant (i.e., the Interconnection Customer).  If another entity is responsible for interfacing with the Company, that contact information must be provided on the Application.

8.0	Ownership Information – Enter the legal names of the owner(s) of the Small Generating Facility.  Include the percentage ownership (if any) by any utility or public utility holding company, or by any entity owned by either.

9.0	UL1741 Listed – This standard ("Inverters, Converters, and Controllers for Use in Independent Power Systems") addresses the electrical interconnection design of various forms of generating equipment.  Many manufacturers submit their equipment to a Nationally Recognized Testing Laboratory (NRTL) that verifies compliance with UL1741.  This "listing" is then marked on the equipment and supporting documentation.

Application for Interconnecting a Certified Inverter-Based Small Generating Facility No Larger than 10kW

This Application is considered complete when it provides all applicable and correct information required below.  Additional information to evaluate the Application may be required.  Per SGIP section 1.5, documentation of site control must be submitted with the Interconnection Request.

Processing Fee

A non-refundable processing fee of $100 must accompany this Application.

Interconnection Customer

Name: _______________________________________________________________________

Contact Person:

Address:

City: 	  State: 	  Zip:

Telephone (Day): 	  (Evening):

Fax: 	  E-Mail Address:

Contact (if different from Interconnection Customer)

Name:

Address:

City: 	  State: 	  Zip:

Telephone (Day): 	  (Evening):

Fax: 	  E-Mail Address:

Owner of the facility (include % ownership by any electric utility):

#### Small Generating Facility Information

Location (if different from above):

Electric Service Company:

Account Number:

Inverter Manufacturer:		  Model

Nameplate Rating: 	 (kW) 	 (kVA) 	 (AC Volts)

Single Phase _______  Three Phase

System Design Capacity: _________ (kW) _______ (kVA)

Prime Mover:	Photovoltaic  	Reciprocating Engine   	Fuel Cell

Turbine 	Other

Energy Source: 	Solar    Wind    Hydro    Diesel   Natural Gas

Fuel Oil  	Other (describe) _______________________________

Is the equipment UL1741 Listed?       Yes	 No

If Yes, attach manufacturer’s cut-sheet showing UL1741 listing

Estimated Installation Date: _____________	Estimated In-Service Date: ____________

The 10 kW Inverter Process is available only for inverter-based Small Generating Facilities no larger than 10 kW that meet the codes, standards, and certification requirements of Attachments 3 and 4 of the Small Generator Interconnection Procedures (SGIP), or the Transmission Provider has reviewed the design or tested the proposed Small Generating Facility and is satisfied that it is safe to operate.

List components of the Small Generating Facility equipment package that are currently certified:

Equipment Type 	Certifying Entity

1.

2.

3.

4.

5.

#### Interconnection Customer Signature

I hereby certify that, to the best of my knowledge, the information provided in this Application is true.  I agree to abide by the Terms and Conditions for Interconnecting an Inverter-Based Small Generating Facility No Larger than 10kW and return the Certificate of Completion when the Small Generating Facility has been installed.

Signed: ___________________________________________________________________

Title: 	  Date:

#### Contingent Approval to Interconnect the Small Generating Facility

#### (For Company use only)

Interconnection of the Small Generating Facility is approved contingent upon the Terms and Conditions for Interconnecting an Inverter-Based Small Generating Facility No Larger than 10kW and return of the Certificate of Completion.

Company Signature: __________________________________________________

Title: 	  Date:

Application ID number: __________________

Company waives inspection/witness test?  Yes___No___