Wednesday June 20, 2007 from 15:15 EST through 15:55 EST the Midwest ISO invoked the ARC procedure due to 900 MW Net Scheduled Interchange obligation change over a ten minute period created by schedule changes and 805 MW of generations forced off line. Up to 86 percent of the available ARC operating reserves were utilized during this period to correct the imbalance. There were no ARS events during the procedure.