Tuesday August 14, 2007 from 22:25 EST through 22:45 EST the Midwest ISO invoked the ARC procedure due to loss of 2,200 MW Net Scheduled Interchange obligation change over a ten minute period created by schedule changes and TLR scheduled curtailments and 550 MW of generation coming off line earlier than planned. Up to 43 percent of the available ARC operating reserves were utilized during this period to correct the imbalance. There were no ARS events during the procedure.