Tuesday August 21, 2007 from 17:10 EST through 17:35 EST the Midwest ISO invoked the ARC procedure due to loss of 2,800 MW Net Scheduled Interchange obligation change over a ten minute period created by schedule changes due to TLR curtailments. Up to 76 percent of the available ARC operating reserves were utilized during this period to correct the imbalance. There were no ARS events during the procedure.