Wednesday August 22, 2007 from 23:25 EST through 23:45 EST the Midwest ISO invoked the ARC procedure due to loss of 1000 MW Net Scheduled Interchange obligation change over a ten minute period created by schedule changes and generation coming off line earlier than in plan. Up to 44 percent of the available ARC operating reserves were utilized during this period to correct the imbalance. There were no ARS events during the procedure.