# Utilization of CBM

CBM is being held back for those situations when an LSE experiences a capacity deficient situation and they are unable to arrange for a power purchase because of congestion on the transmission system.  Under this situation, the LSE is able to utilize the CBM if its only other choice is to shed firm load. MISO makes all of its CBM available for non-firm AFC’s that can be used to buy non-firm transmission service.  This non-firm service will be curtailed if the transmission capacity is needed for reliability reasons.

Any load within the MISO footprint can call upon the use of CBM during emergency conditions.  CBM will be made available if the LSE has taken all steps without regards to financial costs to serve the load and its only other alternative is shedding firm load.  The LSE will demonstrate this situation declaring a NERC Energy Emergency Alert (EEA)2 and taking all steps in EEA 2 to avoid shedding firm load.  In essence, the use of CBM will be allowed as the last step in EEA 2 to avoid declaring an EEA 3.  An LSE that forecasts a need to use CBM that same day can indicate the need to use CBM by declaring an EEA 1 and notifying MISO of such forecasted need.  Upon verification this is a valid use of CBM, the forecasted need for CBM will be granted by MISO with the understanding that at the time of CBM usage, the LSE will have declared an EEA 2 and will have taken all steps in EEA 2 to avoid shedding firm load.  There will be no forecasted need for CBM beyond the current day.

For those LSEs taking MISO network service, the emergency use of CBM will be considered use of NITS service and there will be no additional charge for this.  The network service customer will submit a NITS OASIS request with the statement “Use of CBM” in the buyer comments.  Because the customer is in an EEA 2 and is taking steps to avoid shedding firm load, the use of CBM will have a NERC curtailment priority of 7 and will only be curtailed with other firm uses on a proportional basis.

For those LSEs not taking MISO network service, the emergency use of CBM will be considered use of PTP service and the service will be charged at the hourly non-firm rate.  The PTP customer will submit a PTP OASIS request with the statement, “Use of CBM” in the buyer comments.  This use of CBM will also have a NERC curtailment priority of 7 and will only be curtailed with other firm uses on a proportional basis.

Consistent with the requirements of NERC Policy 5, MISO will post on its OASIS site and the NERC website a notice of the use of CBM at the time of CBM usage.  MISO will also post a report following the CBM event that describes the events that led up to the use of CBM.  Customers will be able to see the LSE and its control area involved in the EEA 3, the amount of CBM that was used, when it was used and when it was no longer needed.