Effective Tuesday, August 26, the Midwest ISO is adjusting its maximum allowable quarter hour NSI change to 500 MW for quarter hour changes from 6:00 through 22:00 EST. Quarter hour NSI changes for other times will be limited to 600 MW per quarter hour (to be applied for the quarter hours 22:15 through 05:45 EST).

The Midwest ISO will also keep in place the limit of not allowing NSI to change more than 2000 MW per hour (i.e. the cumulative allowed change in four consecutive quarter hours, as described in the Physical Scheduling BPM, Section 7.1).

This change is consistent with discussions at the July 2008 Informational Forum and the August Market Subcommittee regarding the IMM's recommendation to limit acceptance of NSI changes based on its ability to ramp internal generation. Evaluation of ramp ability in the Midwest ISO energy market has indicated that limiting NSI changes to the values identified above are warranted at this time. The Midwest ISO will continue to evaluate this key parameter as it moves forward and will change this value as warranted in the future.