ATSI REALIGNMENT PROJECT QUEUE MIGRATION

The following is provided for informational purposes only.  The details of the ATSI generator queue migration will be contained in the integration filing currently scheduled for February/March 2011. Thus, the information below is subject to change.  This information applies to generator interconnections only, both existing and new.  Existing Transmission Service Requests in the MISO queue on the integration date delivering service to/from ATSI and to/from PJM will not need to be studied and will become internal PJM service upon integration.

New generator interconnection requests entering the queue between now and the integration date (scheduled for June 1, 2011) will be submitted to MISO under the MISO Tariff.  All Interconnection Requests will be studied by MISO and PJM based on how they applied to MISO (i.e., energy only or capacity and energy).  MISO and PJM will coordinate the studies under the cross border study process in the MISO/PJM Joint Operating Agreement.

Generators can be categorized as follows:

- Generators with a MISO or ATSI Interconnection Agreement (IA) and are or will be in service as of the integration date:  This group of generators will maintain the deliverability (i.e., capacity) rights granted under their current IAs.  To the extent any system upgrades are needed to ensure they are deliverable in PJM, such upgrades will be considered baseline upgrades in the ATSI territory, and ATSI shall have the responsibility for providing the upgrade.  In addition to the deliverability study, the PJM system will also be re-evaluated for transient stability and short circuit capability.  Any upgrades required to meet PJM criteria for stability or short circuit will be considered baseline upgrades in the ATSI territory and paid for by ATSI.

- Generators with a MISO or ATSI IA prior to the integration date but will not be in service as of the integration date:  This group of generators will maintain the deliverability rights granted under their current IAs.  If the Interconnection Request was submitted with MISO prior to FERC’s Order approving ATSI’s move to PJM (December 17, 2009), and any system upgrades for deliverability, including short circuit and transient study analysis, are needed to ensure that generation is deliverable in PJM in addition to those identified through the MISO study process, such incremental upgrades will be communicated to the generator and the costs for the upgrades shall be the responsibility of ATSI.  If the Interconnection Request was submitted with MISO on and after December 17, 2009, such incremental upgrades will be communicated to the generator by identifying such upgrades in the study reports and listing such upgrades in the MISO IA as potential upgrades contingent on integration, and the costs for the upgrades shall be the responsibility of the generator.

- Generators that are in the MISO study process but that will neither have an IA nor be in service as of the integration date:  All Interconnection Requests pending under the MISO Tariff at the time of integration shall be assigned the same priority date under the PJM Tariff.  These projects will be assigned PJM queue identifiers so that their priority dates relative to existing PJM queued generation can be easily determined.  All such generators will be integrated into the existing PJM queue effective on the integration date, and will be subject to the PJM Tariff, which would include applicable study agreements and tariffs.  On the integration date, PJM will assume the technical studies that have been started by MISO, and determine if the generating units qualify as both energy and capacity resources.  After the studies are complete, the generator will be required to pay for any system upgrades that are needed for the unit to qualify as a capacity resource under the PJM Tariff.